1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

X  Accept as requested			  X  Change to Existing Practice

Accept as modified below			      Status Quo

Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:					Per Recommendation:

X  Initiation					  X  Initiation

Modification					      Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

Principle 					      Principle

Definition 					      Definition

X  Business Practice Standard 			  X  Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 					      Code Value

X12 Implementation Guide			     X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:

Modify the OASIS Standards & Communications Protocols (S&CP) to address the postings of information on OASIS as directed by a regulatory order, such as the FERC Order 2003, Docket No. RM 02-1- 000, Standardization of Generator Interconnection Agreements and Procedures, Issued July 24, 2003.  Although the original request was specific to FERC Order 2003, this recommendation was developed to be more generic and would therefore handle future informational posting requirements as well.

Recommended Standards:

4.5 INFORMATION SUPPORTED BY WEB PAGE

When a regulatory order requires informational postings on OASIS and there is no OASIS S&CP template to support the postings or it is deemed inappropriate to use a template, there shall be a reference in INFO.HTM to the required information, including, but not limited to, references to the following:

  - A common source of interconnection wide curtailment and interruption information, such as the NERC Transmission Loading Relief (TLR) web site.

  - Information related to the Transmission Provider's methodology for computing and application of Capacity Benefit Margin (CBM) and Transmission Reliability Margin (TRM). If the Transmission Provider does not use CBM or TRM in their assessment of Available Transmission Capability (ATC), that information shall also be in INFO.HTM.

  - The location of the list of system studies conducted. There shall be a reference in INFO.HTM to the location of the company’s organizational chart, job descriptions and personnel names as referenced in Section 3.4 k.

  - Information on requesting the text file of the tariffs and service agreements.

For the purposes of this section, any link to required informational postings that can be accessed from INFO.HTM would be considered to have met the OASIS posting requirements, provided that the linked information meets all other OASIS accessability requirements.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

Request submitted by Bonneville Power Administration to review and investigate possible standards creation associated with OASIS posting requirements under regulatory orders, such as the FERC Order 2003, Docket No. RM 02-1- 000, Standardization of Generator Interconnection Agreements and Procedures, Issued July 24, 2003.

b.  Description of Recommendation:

Recommend acceptance as requested.

c.  Business Purpose:

The business practice standards are designed to support the informational postings as required by FERC.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

This request was discussed at the February 16-17, 2004 Information Technology Subcommittee (ITS) meeting (http://www.naesb.org/weq/weq_info_technology.asp), April 6, 2004 ITS and Electronic Scheudling Subcommittee (ESS) joint meeting  (http://www.naesb.org/weq/weq_info_technology.asp), May 13, 2004 OASIS 1A Task Force Meeting (http://www.naesb.org/weq/weq_oasis_1a.asp), May 26-27, 2004 ITS and ESS joint meeting (http://www.naesb.org/weq/weq_info_technology.asp), July 9, 2004 OASIS 1A Task Force Meeting (http://www.naesb.org/weq/weq_oasis_1a.asp), July 14 OASIS 1A Task Force Meeting (http://www.naesb.org/weq/weq_oasis_1a.asp), and July 28-29, 2004 ITS and ESS joint meeting (http://www.naesb.org/weq/weq_info_technology.asp).