- Comments Submitted by:  Susanne McFadden

- Puget Sound Energy Marketing

- Dated: 11/10/04; 5:21 PM

- 1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

X  Accept as requested			  X  Change to Existing Practice

Accept as modified below			      Status Quo

Decline

- 2.  TYPE OF DEVELOPMENT/MAINTENANCE

- Per Request:					Per Recommendation:

X  Initiation					  X  Initiation

Modification					      Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

Principle 					      Principle

Definition 					      Definition

X  Business Practice Standard 			  X  Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 					      Code Value

X12 Implementation Guide			     X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

- 3.  RECOMMENDATION

SUMMARY:	This recommendation modifies the OASIS Business Practices to establish business practice standards related to the “redirection” of transmission service.  These business practices address the provisions of Section 22 in the FERC Pro Forma Open Access Transmission Tariff related to the modification of Points of Receipt and/or Delivery for Firm Point-to-Point Transmission Service.

- Recommended Standards:

- Definitions to be added to the OASIS Business Practice standard

Capacity Available to Redirect – the granted capacity of the Parent Reservation at the time of customer confirmation (CAPACITY_GRANTED) less all confirmed reassignments (e.g., resales), confirmed redirects on a firm basis, confirmed redirects on a non-firm basis, displacements, and approved schedules.

Parent Reservation – an existing, confirmed reservation being modified by a Transmission Customer’s request to redirect, reassign, resale, etc.

- Business Practices to be added to the OASIS Business Practice standard

- Standard 9. Requirements for dealing with Redirects on a Firm basis.

9.1 – The Transmission Customer (TC) shall have the right to request modifications to Points of Receipt and/or Points of Delivery (including source or sink, where required) on a firm basis for a Confirmed Point-to-Point Firm Transmission Service reservation (i.e., Parent Reservation).  This will be referred to as a Redirect on a Firm basis.

9.1.1 – The TC may Redirect on a Firm basis any confirmed Firm Point-to-Point Parent Reservation regardless of the request type.

9.1.2 - A request to Redirect on a Firm basis shall be submitted to the primary Transmission Provider with a request type of REDIRECT.

9.1.3 - A request to Redirect on a Firm basis shall be queued and treated in the same manner as any other firm point to point request, subject to the other requirements of this standard.

9.1.4 - No additional deposit shall be required for a request to Redirect on a Firm basis.

9.2 - The TC shall be allowed to request a Redirect on a Firm basis for a portion or all of the Capacity Available to Redirect, even if the transmission scheduling rights on the Parent Reservation have been limited due to outages or other reliability-related events. An example is shown in Appendix B.

9.3 - The TC shall be allowed to request a Redirect on a Firm basis for a portion or all of the time period of the Parent Reservation (i.e., bound by the start/stop times of the Parent Reservation).  An example is shown in Appendix B.

9.3.1 – A request for Redirect on a Firm basis must be submitted, and is subject to all request timing requirements consistent with a reservation for Firm service of similar duration.

9.3.2 - A request for Redirect on a Firm basis must represent an established Firm Point-to-Point Service Increment (e.g., Daily, Monthly, etc.) offered by the Transmission Provider.

9.4 The TC’s rights on the Parent Reservation shall remain unaffected during the Transmission Provider evaluation of the request to Redirect on a Firm basis.

9.4.1 - If the request to Redirect on a Firm basis is denied for any reason, all rights and obligations shall remain per the Parent Reservation.  An example is shown in Appendix B.

9.4.2 - The TC shall be allowed to submit and have pending multiple requests for Redirects on a Firm basis against the same Capacity Available to Redirect.  The TP shall evaluate each such request with the knowledge that only those requests up to the Capacity Available to Redirect may ultimately be confirmed.  An example is shown in Appendix B.

9.5 - Upon confirmation of the request to Redirect on a Firm basis, the Capacity Available to Redirect shall be reduced by the amount of the redirected capacity for the time period of that Redirect.   An example is shown in Appendix B.

9.5.1 – The TC shall not confirm any request to Redirect on a Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect).  The TP shall have the right to block any such confirmation. An example is shown in Appendix B.

9.5.2 – The TC shall withdraw any request to Redirect on a Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED. (The TC should not have to go in and remove all the Accepted requests if the capacity to redirect is depleted.  TP’s OASIS should automatically supercede remaining requests.)

9.5.3 – Redirects on a Firm basis shall have all the rights and obligations of an original reservation for Firm service (with the exception of renewal/roll-over rights), including the rights to be Redirected on a Firm and/or Non-Firm basis.

9.6 - For the purposes of curtailment and other capacity reductions, confirmed Redirects on a Firm basis shall be treated comparably to all other types of Firm Point-to-Point Service.

9.6.1 - Curtailments or other capacity reductions to the remaining portion of the reserved capacity on the Parent Reservation shall not affect the Redirect reservation.

9.6.2 - Curtailments or other capacity reductions affecting the reserved capacity on the Redirect reservation shall not affect the Parent Reservation nor result in a reinstatement of capacity on the Parent Reservation. (…result in the automatic reinstatement… Should alos inclued “unless the TC submits a subsequent Redirect on a Firm Basis request”)

9.7 - Unless otherwise mutually agreed to by the primary provider and original customer,  a request for Redirect on a Firm basis does not impact the TC’s long term firm renewal rights (e.g., rollover or evergreen rights) on the original path, nor does it confer any renewal rights on the redirected path.

9.8 - Any differences in charges associated with the Redirect on a Firm basis will be settled in accordance with the Transmission Provider’s tariff.

9.8.1 - If not addressed in the Transmission Provider’s tariff or in a Service Agreement, a  credit on the Parent Reservation shall be computed as the total reservation charge divided by the total megawatt hours reserved times the megawatt hours redirected.  The redirected reservation shall be charged as if it were a reservation with a request type of ORIGINAL.

- Standard 10. Requirements for dealing with Redirects on a Non-Firm basis.

10.1 – The Transmission Customer (TC) shall have the right to request an alternate, or secondary, Point of Receipt and/or Point of Delivery (including source and sink, if required) on a non-firm basis for a Confirmed Point-to-Point Firm Transmission Service reservation (i.e., Parent Reservation).  This will be referred to as a Redirect on a Non-Firm basis.

10.1.1 – The TC may Redirect on a Non-Firm basis any confirmed Firm Point-to-Point Parent Reservation regardless of the request type.

10.1.2 - A request to Redirect on a Non-Firm basis shall be submitted to the primary Transmission Provider with a request type of REDIRECT.

10.1.3 - A request to Redirect on a Non-Firm basis shall be queued and treated in the same manner as any other non-firm point to point request, subject to the other requirements of this standard. (What does this imply? The TC is requesting secondary point- to-point service, not non-firm point-to-point service.  It is a “as available” service subordinate to all other services (exception is Buy At Market))

10.1.4 - Redirects on a Non-Firm basis shall have a service priority that is lower than non-firm hourly point-to-point service.

10.1.5 - Requests for Redirects on a Non-Firm basis shall specify the following transmission service attributes in their request:

- TS_CLASS=SECONDARY

- TS_TYPE=POINT_TO_POINT

TS_PERIOD, TS_WINDOW,and SERVICE_INCREMENT shall specify any valid value offered by the TP for Non-Firm Point-to-Point service.

10.1.6 – Requests for Redirects on a Non-Firm basis shall be submitted by the TC as pre-confirmed. (Why pre-confirmed? This limits a customer’s options.)

10.2 - The TC shall be allowed to request a Redirect on a Non-Firm basis for a portion or all of the Capacity Available to Redirect, even if the transmission scheduling rights on the Parent Reservation have been limited due to outages or other reliability-related events.  An example is shown in Appendix B.

10.3 - The TC shall be allowed to request a Redirect on a Non-Firm basis for a portion or all of the time period of the Parent Reservation (i.e., bound by the start/stop times of the Parent Reservation). An example is shown in Appendix B.

10.3.1 – A request for Redirect on a Non-firm basis must be submitted, and is subject to all request timing requirements consistent with reservations for Non-Firm Point-to-Point service of similar duration.

10.4 The TC’s rights on the Parent Reservation shall remain unaffected during the Transmission Provider evaluation of the request to Redirect on a Non-Firm basis.

10.4.1 - If the request to Redirect on a Non-Firm basis is denied for any reason, all rights and obligations shall remain per the Parent Reservation. An example is shown in Appendix B.

10.4.2 - The TC shall be allowed to submit and have pending multiple requests for Redirects on a Non-Firm basis against the same Capacity Available to Redirect.  The TP shall evaluate each such request with the knowledge that only those requests up to the Capacity Available to Redirect may ultimately be confirmed. An example is shown in Appendix B.

10.5 - Upon confirmation of the request to Redirect on a Non-Firm basis, the Capacity Available to Redirect shall be reduced by the amount of the redirected capacity for the time period of that Redirect. An example is shown in Appendix B.  (OATT says in 22.1(3) the TC shall retain all of their scheduling rights on the parent.  This statement limits the TC.)

10.5.1 – The TC shall not confirm any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect).  The TP shall have the right to block any such confirmation.

10.5.2 – The TC shall withdraw any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Non-Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED. (The TC should not have to go in and remove all the Accepted requests if the capacity to redirect is depeleted.  TP’s OASIS should automatically supercede remaining requests.)

10.5.3 – The TC shall have the right to request the TP to release capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all such requests, and reinstate the capacity on the Parent Reservation such that it may subsquently be scheduled, Redirected on a Firm or Non-Firm basis to a different path, resold, etc. (OATT says in 22.1 (3) the TC shall retain all of their scheduling rights on the parent.  This statement limits, the TC has to request to have their rights back.)

10.6 - For the purposes of curtailment and other capacity reductions, confirmed Redirects on a Non-Firm basis shall be treated comparably to all other types of Non-Firm Secondary Point-to-Point Service.

10.6.1 - Curtailments or other capacity reductions to the remaining portion of the reserved capacity on the Parent Reservation shall not affect the Redirect reservation.

10.7 – Any differences in charges associated with a Redirect on a Non-Firm basis will be settled in accordance with the Transmission Provider’s tariff.

10.7.1 – Unless otherwise provided for in the TP’s tariff, there shall be no charge to Redirect on a Non-Firm basis.

10.8 - TPs shall have the right, but are in no means obligated, to accept requests for Redirect on a Non-Firm basis based on the submission of an Electronic Tag (ETAG) using protocols compliant with Version 1.7.095 NERC Transaction Information System Working Group (TISWG) Electronic Tagging Functional Specification.  (If a TC can use E-Tag to request a Redirect on a Non-firm Basis, then the TC should also have the ability “release” capacity via E-Taf by referencing the parent reservation.)

10.8.1 - The TC submitting a Redirect on a Non-Firm basis via a tag shall be subject to the same transaction timing requirements specified for submission of such requests directly on OASIS.

10.8.2 - A TP accepting Redirects on a Non-Firm basis via ETAG shall allow a  TC to request redirected service for one or more path segments of the tag by designating:

(a) 1-NS as the transmission product code under the OASIS block,

(b) the OASIS reservation identifier of the Firm Parent Reservation to be redirected, and

(c) the secondary points of receipt and delivery being requested.

10.8.3 - A TP accepting Redirects on a Non-Firm basis via ETAG shall determine the amount of the redirect request from:

(a) The amount of the TP Product.

(b) If the TP Product is not specified, the MW amount at the POR or POD for that TP in the Loss Table in accordance with the TP’s tariff

(c) , if neither TP Product amount nor Provider Loss Table amounts are specified, the MW amount in the Energy Profile.

10.8.4 - A TP accepting Redirects on a Non-Firm basis via ETAG shall consider the ETAG as a pre-confirmed Redirect request on a Non-Firm basis that is to be processed on a comparable basis with all such requests made directly on OASIS, with all obligations associated with such a request to be borne by the TC holding the Parent Reservation (e.g., any ancillary services, charges or credits for redirect, etc.), and subject to all other requirements of this Standard.

10.8.5 - The OASIS queue time of a Redirect requested via ETAG shall be the TP’s ETAG Approval Service receipt time, unless a system failure requires the use of backup procedures, in which case the OASIS queue time shall be the time the ETAG is received by the TP. (How is the TP going to force the appearance and specified queue time into their OASIS?. How can this be comparable if some requests are on OASIS and other are off-OASIS)

10.8.6 - Once an ETAG designating 1-NS service becomes implemented, the TP shall consider the associated Redirect request(s) to be confirmed.

- Appendix B – Redirect Standards Examples

- Standard 9.2 and 10.2

The Capacity requested for Redirects on a Firm or Non-Firm basis must be within the Capacity Available to Redirect of the Parent Reservation.

T1

T2

Parent Reservation

X MWs

Valid Redirect

Redirect Request

Y MWs

T1

T2

T1

T2

Parent Reservation

X MWs

Invalid Redirect

Redirect Request

Z MWs

T1

T2

Valid Redirect

X MWs

Parent Reservation

X MWs

Redirect Request

T2

T1

T2

T1

T1

T2

Parent Reservation

X MWs

Valid Redirect

Redirect Request

Y MWs

T1

T2

Scheduling Limit

T1

T2

Parent Reservation

X MWs

Valid Redirect

Redirect Request

X MWs

T1

T2

Scheduling Limit

Invalid Redirect

X MWs

Parent Reservation

X MWs

Redirect Request

T2

T1

T2

T1

- Standard 9.3 and 10.3

The Start/Stop times requested for Redirects on a Firm or Non-Firm basis must be within the Start/Stop times of the Parent Reservation.

T1

T2

Parent Reservation

X MWs

Valid Redirect

Redirect Request

Y MWs

T1.3

T2

T1

T2

Parent Reservation

X MWs

Invalid Redirect

Redirect Request

X MWs

T1

T3

Valid Redirect

X MWs

Redirect Request

T1

T2

Parent Reservation

X MWs

T1

T1.6

Standard 9.4.1 and 10.4.1

Capacity Available to Redirect on the Parent Reservation is not impacted by a denied request for Redirect on a Firm or Non-Firm basis.

T1

T2

Parent Reservation

X MWs

Redirect Submitted

Redirect Request

Y MWs

T1

T2

T1

T2

Parent Reservation

X MWs

Redirect Denied

Redirect Request

Y MWs

T1

T2

DENIED

- Standard 9.4.2 and 10.4.2

Multiple requests for Redirect on a Firm or Non-Firm basis may be submitted for the same Capacity Available to Redirect on the Parent Reservation.

T1

T2

Parent Reservation

X MWs

Redirects Submitted

Redirect Request

X MWs

T1

T2

Scheduling Limit

T1

T2

T1

T2

Redirect Request

Redirect Request

Redirects Accepted

Redirect Request

X MWs

T1

T2

T1

T2

T1

ACCEPTED

T2

Redirect Request

Redirect Request

ACCEPTED

ACCEPTED

1

3

T1

T2

Parent Reservation

X MWs

Scheduling Limit

2

Standard 9.5 and 10.5

Confirmation of requests for Redirect on a Firm or Non-Firm basis reduces the Capacity Available to Redirect on the Parent Reservation.

T1

T2

Parent Reservation

X MWs

Redirect Submitted

Redirect Request

Y MWs

T1

T2

T1

T2

Parent Reservation

X-Y MWs

Redirect Confirmed

Redirect Request

T1

T2

Y MWs

CONFIRMED

- Standard 9.5.1 and 10.5.1

Confirmation of requests for Redirect on a Firm or Non-Firm basis that exceed  the remaining Capacity Available to Redirect on the Parent Reservation will be blocked.

T1

T2

Parent Reservation

X MWs

Redirects Submitted

Redirect Request

X MWs

T1

T2

Scheduling Limit

T1

T2

T1

T2

Redirect Request

Redirect Request

T1

T2

Parent Reservation

0 MWs

Redirect Confirmed

Redirect Request

X MWs

T1

T2

T1

T2

T1

CONFIRMED

T2

Redirect Request

Redirect Request

CONFIRMED

CONFIRMED

ACCEPTED

ACCEPTED

ACCEPTED

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

Using OASIS to process and record redirects of transmission service is a difficult task. There are many issues related to the redirect and resale functionality, but most are caused by provider business rules or vendor design choices. The primary issue concerns redirects of transmission service. The current OASIS standard does not facilitate primary provider approval of redirected transmission when that redirect is using resold (reassigned) transmission service. When transmission rights are resold to another customer, the customer on the original request is the seller on the resale request. In this case, the primary provider responsible for administering ATC no longer has approval rights for any future transactions, such as REDIRECTS, that use this resold or reassigned transmission service. This is only an issue when the 2nd customer wants to redirect transmission usage to a constrained path. Currently, unless the provider intervenes on the backend, that provider only has the option to deny this type of transaction when it is tagged.

b.  Description of Recommendation:

The standard recommendation addresses the “primary issue” stated in the Standard Request: the business practices related to requests for a Redirect of transmission service on either a Firm or Non-Firm basis.  The issue of  the treatment of secondary market resale requests for redirected service are addressed in a separate Standard Recommendation specific to Resales.

The OASIS S&CP discusses redirection of service to alternate points of receipt and delivery in Section 4.2.13.9.  This section did not explictly state to whom such requests must be submitted.  Redirected service requires an assessment of the transfer capability on the designated alternate points of receipt and/or delivery.  Only the primary transmission provider is in a position to make such an assessment an authorize the redirected service under the OATT.  Therefore, the OASIS S&CP is clarified in the recommended standard to explicitly require that all requests for redirected service must be submitted to the primary transmission provider for evaluation and approval.The recommended standard also addresses the settlement issue in the event that redirected service would increase or decrease the charges due to the transmission provider.

In support of the Recommendation Redirect of Transmission Service for a proposed business practice standard to the NAESB Executive Committee, please see the following sets of minutes:

| WEQ OASIS 1A Task Force | February 13, 2004 | http://www.naesb.org/pdf/weq_oasis1a_021304dm.pdf |
| --- | --- | --- |
|  | July 14, 2004 | http://www.gisb.org/pdf/weq_oasis1a_071404dm.doc |
| WEQ ESS | February 17-18, 2004 | http://www.naesb.org/pdf/weq_ess021704fm.doc |
| WEQ ESS/ ITS | April 6, 2004 | http://www.naesb.org/pdf/weq_ess_its040604fm.doc |
|  | May 26-27, 2004 | http://www.naesb.org/pdf/weq_ess_its052604dm.doc |
|  | July 28-29, 2004 | http://www.gisb.org/pdf/weq_ess_its072804fm.doc |
|  | August 17, 2004 | http://www.gisb.org/pdf/weq_ess_its081704fm.doc |
|  | September 2, 2004 | http://www.gisb.org/pdf/weq_ess_its090204fm.doc |
|  | September 29-30, 2004 | http://www.gisb.org/pdf/weq_ess_its092904dm.doc |
|  | October 6, 2004 |  |
|  | October 8, 2004 |  |

c.  Business Purpose:

The Business Practices will provide market participants with procedures for providing any necessary data for the Redirect of Transmission Service.  The current WEQ OASIS standard does not facilitate primary provider approval of redirected transmission when that redirect is using resold transmission service.  When transmission rights are resold to another customer, the customer on the original request is the seller on the resale request.  In this case, the primary provider responsible for administering ATC no longer has approval rights for any future transactions, such as redirects, that use this resold or reassigned transmission usage to a constrained path.

- Commentary/Rationale of Subcommittee(s)/Task Force(s):