Comments Submitted by:	Barb Kedrowski

We Energies

Dated: 11/11/04, 1:21 PM

Below are We Energies' comments on the WEQ 2004 Annual Plan Item 2 - OASIS 1A Enhancements - Redirects (Comments in red, text from standard in blue):

Standard 10 - Requirements for dealing with Redirects on a non-firm basis:

Section 10.1.6 - Requests for redirects on a non-firm basis shall be submitted by the TC as pre-confirmed.

We Energies' comment:  Why must it be preconfirmed?  Would it be possible to set an acceptable time interval for redirect request confirmation that would allow requests to be submitted without being preconfirmed?  Sometimes deals are done that encompass more than one transmission provider.  If TLR's are in effect on one TP's jurisdiction, the deal falls apart.  If  the redirect request is preconfirmed and it has been confirmed by the TP, it is no longer of any use since one segment of the deal can't flow.

Section 10.5.1 - The TC shall not confirm any request to Redirect on a non-firm basis that would exceed the Capacity Available to Redirect at that point in time.  The TP shall have the right to block any such confirmation.

We Energies' comment:  If the TC can submit multiple redirect requests that are over the level of the parent request, how does the TC know if they have excluded the capacity available to redirect if the TP is evaluating multiple requests?

Sections 10.1.6 and 10.5.1

We Energies comment:  When looking at these sections together, if a TC must pre-confirm a request and can have multiple competing redirect requests that are being evaluated, when the TC "accepts" a request it will automatically be confirmed in violation of 10.5.1.  This then raises the question on how the TC would notify the TP which competing redirect request has priority if more than one are deemed Ok.  If the requirement for pre-confirmation is removed, then the TC would be able to determine which request they would prefer to confirm.

Section 4.b Description of Recommendation (Supporting Documentation)

We Energies' comment:  Use of the word "an" instead of the word "and" in the sentence:  "Only the primary transmission provider is in a position to make such an assessment and authorize the redirected service under the OATT."

Thanks,

Barb Kedrowski 
Project Manager 
We Energies