Comment Form

TLR

#### Version 0 Draft 3

#### WEQBPS-006-000

# Posted October 25, 2004 – November 25, 2004

# Please submit comment form by November 25, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						: Ed Davis

Comments submitted on Behalf of Organization	: Entergy Services, Inc.

Email of Contact					: edavis@entergy.com

Phone Number on Contact				:  504-310-5884

## Comments on Definitions (List comments by Definition)

This NAESB Standard has many defined terms that have the same name as terms defined in the NERC Version 0 Standards Glossary. However, the definitions of these terms are different in the NAESB Standards than those same terms in the NERC V0 Glossary. The NAESB drafting teams did not have access to the NERC defined terms until NERC recently issued its V0 Glossary.

The industry potentially has terms defined by NAESB and NERC with different definitions which will lead to more confusion in the industry. For instance, the definition of “Reliability Coordinator” is very different in the NAESB Standards and the NERC V0 Glossary.

There is also the case that NAESB and NERC have different defined terms with the same meaning, word for word.

NAESB TLR Standard

Reliability Area - The collection of generation, transmission, and loads within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

NERC V0 GLOSSARY

Reliability Coordinator Area - The collection of generation, transmission, and loads

within the boundaries of the Reliability Coordinator. Its boundary coincides with one or more Balancing Authority Areas.

Therefore, Entergy strongly suggests those terms defined by NERC not be included in the NAESB Standards. However, if NAESB does include the NERC defined terms they should be included in NAESB Standards as reference only with specific wording that these terms are defined by NERC.

Specifically, we suggest NAESB delete from this Standard the following NERC defined terms:

Balancing Authority

Balancing Authority Area

Constrained Facility

Contract Path

Curtailment Threshold

Firm Transmission Service

Generator to Load Distribution Factor (GLDF)

Interchange Distribution Calculator (IDC)

Interchange Transaction

Interchange Transaction Tag (Tag)

Interconnection

Interconnection Reliability Operating Limit (IROL)

Load Shift Factor (LSF)

Native Load

NERC

Network Integration Transmission Service

Non-Firm Transmission Service

Point-to-Point Transmission Service

Purchasing-Selling Entity

Reliability Coordinator Information Service

Reallocation

Reliability Area (same definition as Reliability Coordinator Area)

Reliability Coordinator

Sink Balancing Authority

System Operating Limit

Transfer Distribution Factor

Transmission Customer

Transmission Loading Relief

Transmission Operator

Transmission Service

Transmission Service Provider

Other defined terms are so close it is hard to tell the difference, and is the difference material to the industry. For instance, this Standard includes the definition

NAESB Defined Term

Generation Shift Factor (GSF) – A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or monitored flowgate.

NERC Defined Term

Generator Shift Factor (GSF) -  A factor to be applied to a generator’s expected change in output to determine the amount of flow contribution that change in output will impose on an identified transmission facility or Flowgate.

The only difference between a NAESB “Generation Shift Factor” and a NERC Generation Shift Factor is whether a flowgate is a “monitored flowgate” (NAESB) or an unmonitored “Flowgate” (NERC).

Also note both defined terms use the same acronym “GSF”. When the industry sees “GSF” should they use the NAESB or NERC interpretation?

Comments on Requirements (List comments by Requirement Number)

None

Comments on Appendices (List comments by Appendix Subsection)

None

### General Comments

None