Comment Form

Time Error

#### Version 0 Draft 3

#### WEQBPS-004-000

# Posted October 25, 2004 – November 25, 2004

# Please submit comment form by November 25, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						: Alan Johnson

Comments submitted on Behalf of Organization	: Mirant

Email of Contact					: alan.r.johnson@mirant.com

Phone Number on Contact				: (678) 579-3108

## Comments on Definitions (List comments by Definition)

- With the exception of Leap Second and WECCNet, all of the definitions differ from those contained within NERC’s Version 0 Draft 3 Glossary.  Although I would agree that the “gist” of the definitions is generally the same, I believe that the definitions should be identical to minimize confusion.  Given that the terms are primarily reliability in nature and that the Version 0 concept is “no changes”, NAESB should incorporate the applicable NERC definitions into this business practice.

- Proposed definition for WECCNet, which was left blank.

WECCNet – a messaging system used by the Western Electric Coordinating Council (WECC) for use by participating utility’s dispatchers and network administrators.

Comments on Requirements (List comments by Requirement Number)

1.1 	Current NERC policy calls for notification to the NERC Resources Subcommittee, not the Interconnection Time Monitor.  In the spirit of Version 0 (i.e., no policy changes) suggest either i) substituting Interconnection Time Monitor with NERC Resources Subcommittee or ii) adding “and the NERC Resources Subcommittee” after Interconnection Time Monitor

7.0	Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3 that reads as follows:

“Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following methods:”

  - Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3.1 which reads as follows:

“The Balancing Authority shall offset its frequency schedule by 0.02 Hertz, leaving the Frequency Bias Setting normal; or”

  - Suggest replacing this standard with the following language from NERC standard BAL-004-0, R3.2 which reads as follows:

“The Balancing Authority shall offset its Net Interchange Schedule (MW) by an amount equal to the computed bias contribution during a 0.02 Frequency Deviation  (i.e., 20% of the Frequency Bias Setting).”

### General Comments

NERC reliability standard BAL-004-0, Time Error Correction, requirement R2, references this NAESB business practice.  As such, it should be compatible with the NERC standard and existing NERC policy (Policy 1D).  Acceptance of the changes proposed above will meet that objective.

Thank you for the opportunity to comment