Comment Form

ACE Special Cases

#### Version 0 Draft 3

#### WEQBPS-003-000

# Posted October 25, 2004 – November 25, 2004

# Please submit comment form by November 25, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						: Alan Johnson

Comments submitted on Behalf of Organization	: Mirant

Email of Contact					: alan.r.johnson@mirant.com

Phone Number on Contact				: (678) 579-3108

## Comments on Definitions (List comments by Definition)

Suggest that the definitions of the following terms should be modified to match the definitions contained within NERC’s Glossary of Terms Used in Reliability Standards, Version 0-Draft 3:

Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Dynamic Schedule, Interchange Schedule, Interconnection, and Pseudo-Tie.

Believe that the use of identical terms would minimize confusion.

Comments on Requirements (List comments by Requirement Number)

1.2.2	Please replace “actual tie flows” with “Net Interchange Schedule”.

    - Please replace “Balancing Authority” with “Balancing Authority Area”.

    - Please replace “Balancing Authority” with “Balancing Authority Area”.

    - Please replace “Balancing Authority” with “Balancing Authority Area”.

Comments on Appendices (List comments by Appendix Subsection)

- Looks good.  Consistent with examples found in the existing policy (Policy 1, Appendix 1A, section B)

### General Comments