Comment Form

Inadvertent Interchange

#### Version 0 Draft 3

#### WEQBPS-005-000

# Posted October 25, 2004 – November 25, 2004

# Please submit comment form by November 25, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						: Alan Johnson

Comments submitted on Behalf of Organization	: Mirant

Email of Contact					: alan.r.johnson@mirant.com

Phone Number on Contact				: (678) 579-3108

## Comments on Definitions (List comments by Definition)

- Consideration should be given to matching defined terms to those within NERC’s Glossary of Terms Used in Reliability Standards-Draft 3.  Specifically referring to the definitions for Area Control Error (ACE), Balancing Authority (BA), Balancing Authority Area, Interchange Schedule, and Interconnection.

- Suggest replacement of “CPS” and its definition with the following: “Control Performance Standard (CPS) – The reliability standard that sets the limits of a Balancing Authority’s Area Control Error over a specified time period.”

- In the definition of Inadvertent Interchange should capitalize the first letter of “Net Actual Interchange” and “Net Scheduled Interchange”, as they are defined terms.

Comments on Requirements (List comments by Requirement Number)

    - NERC Policy 1.F.5.1.1, from which this requirement is taken, refers the user to Policy 3 for Interchange Scheduling Requirements.  This requirement makes no reference to the appropriate NERC standard or NAESB business practice that has been translated from the relevant portion(s) of NERC Policy 3.  As such, the proposed requirement appears to be incomplete without this important detail.  The complication here is that the relevant sections are spread over several NERC standards and NAESB business practices.

1.1.1.2	NERC Policy 1.F.5.1.1.2, from which this requirement is taken, notes that the agreement on a schedule must be in accordance with NERC Policy 3.  This requirement makes no reference to the appropriate NERC standard or NAESB business practice that is comparable to the relevant portion of Policy 3.  As such, the proposed requirement appears to be incomplete without this important detail.  The proper reference may be NERC standard INT-003-0, Interchange Transaction Implementation.

Comments on Appendices (List comments by Appendix Subsection)

- Looks good.  Taken verbatim from existing NERC policy (Policy 1, Appendix 1F.C)

### General Comments