Comment Form

Inadvertent Interchange

#### Version 0 Draft 3

#### WEQBPS-005-000

# Posted October 25, 2004 – November 29, 2004

# Please submit comment form by November 29, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						:  Linda Horn

Comments submitted on Behalf of Organization	:  Wisconsin Electric Power Company (d/b/a :  We Energies)

Email of Contact					:  linda.horn@we-energies.com

Phone Number on Contact				:  414-221-2274

## Comments on Definitions (List comments by Definition)

All terms and their definitions should be identical to NERC approved definitions for those terms.  Any terms not covered in the NERC Glossary should be defined in the NAESB Glossary and that definition should be carried throughout all the standards.

Comments on Requirements (List comments by Requirement Number)

Line 54, Section 1.1 Energy “in-kind” payback – This should include the fact that NERC issued waivers that allow financial payback for inadvertent energy.  The Midwest ISO will hold an inadvertent waiver for the energy markets that are scheduled to commence on March 1, 2005.

Line 75, Section 1.2 Other payback methods – NERC Version 0 accommodates waivers for alternate methods; this standard should also.  Should agreement be granted from all zones (areas) within a footprint of the ISO?RTO?  How would NAESB grant waivers for other payback mechanisms?  Is there a process?

Comments on Appendices (List comments by Appendix Subsection)

### General Comments