Comment Form

Time Error

#### Version 0 Draft 3

#### WEQBPS-004-000

# Posted October 25, 2004 – November 29, 2004

# Please submit comment form by November 29, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						:  Linda Horn

Comments submitted on Behalf of Organization	:  Wisconsin Electric Power Company (d/b/a :  We Energies)

Email of Contact					:  linda.horn@we-energies.com

Phone Number on Contact				:  414-221-2274

## Comments on Definitions (List comments by Definition)

All terms and their definitions should be identical to NERC approved definitions for those terms.  Any terms not covered in the NERC Glossary should be defined in the NAESB Glossary and that definition should be carried throughout all the standards.

Line 50, WECCNet – missing definition

Comments on Requirements (List comments by Requirement Number)

### General Comments