Comment Form

ACE Special Cases

#### Version 0 Draft 3

#### WEQBPS-003-000

# Posted October 25, 2004 – November 29, 2004

# Please submit comment form by November 29, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						:  Linda Horn

Comments submitted on Behalf of Organization	:  Wisconsin Electric Power Company (d/b/a :  We Energies)

Email of Contact					:  linda.horn@we-energies.com

Phone Number on Contact				:  414-221-2274

## Comments on Definitions (List comments by Definition)

All terms and their definitions should be identical to NERC approved definitions for those terms.  Any terms not covered in the NERC Glossary should be defined in the NAESB Glossary and that definition should be carried throughout all the standards.

Broaden the definition of a pseudo-tie to match NERC Version 0 definition.

Comments on Requirements (List comments by Requirement Number)

Line 60, Business Practice Requirements – Include a statement that all transferred load must be metered.

Line 137, Section 3. Load or Generation Transfer by Telemetry – Include a statement that dynamic scheduling or pseudo-ties can be used for telemetered transfer of load or generation from one BA to another.

Line 63, Section 1. Jointly Owned Units – Use the terminology from NERC Version 0 - Jointly owned units (JOU) must be accounted for properly by all owners. The following examples illustrate the methodology. CONTROL AREA X and CONTROL AREA Y each have a unit in their CONTROL AREA Jointly owned by both CONTROL AREAS. Unit 1 is in CONTROL AREA X and unit 2 is in CONTROL AREA Y. The ACE equation for CONTROL AREA X must reflect its ownership of both units. Two components are required: one to reflect X’s ownership in unit 2 and one to reflect Y’s ownership of unit 1. CONTROL AREA Y’s ACE equation will likewise have two components, one for its ownership in unit 1 and one for X’s ownership of unit 2. If fixed schedules aren’t used, JOUs may be handled as a pseudo-tie or a dynamic schedule.

Comments on Appendices (List comments by Appendix Subsection)

### General Comments