Comment Form

Coordinate Interchange

#### Version 0 Draft 3

#### WEQBPS-002-000

# Posted October 25, 2004 – November 29, 2004

# Please submit comment form by November 29, 2004 to:

# mailto:naesb@naesb.org, fax: 713-356-0067

## Contact Information (Must be Provided)

Contact Name						:  Linda Horn

Comments submitted on Behalf of Organization	:  Wisconsin Electric Power Company (d/b/a :  We Energies)

Email of Contact					:  linda.horn@we-energies.com

Phone Number on Contact				:  414-221-2274

## Comments on Definitions (List comments by Definition)

All terms and their definitions should be identical to NERC approved definitions for those terms.  Any terms not covered in the NERC Glossary should be defined in the NAESB Glossary and that definition should be carried throughout all the standards.

Comments on Requirements (List comments by Requirement Number)

Line 14 – Applicability – Include a statement for the exemption that the Midwest ISO does the source and sink scheduling.  Need to recognize the NERC Enhanced Scheduling waiver for Midwest ISO.  In the Midwest ISO footprint, the Balancing Authority handles only two types of schedules - dynamic schedules and carved-out grandfathered agreements.

Line 415 – incorrect spelling of the word “entity”

Line 437 to 438 – This statement is incorrect.  NERC policy states that if a communication failure with a neighboring CA is experienced, both CA’s control to the last known good interchange schedule.  Also, this is a reliability statement and should be addressed by NERC, not NAESB business practices.

Line 453 – Reports – Add a sentence to the end of the paragraph in Lines 454-456 that states, “The reports are Net Exchange, Schedule Detail, Reservation Usage and Recovery Process and are described below.”  Also include the frequency that each report should be completed.

Comments on Appendices (List comments by Appendix Subsection)

### General Comments