via email and posting

TO:	NAESB Wholesale Electric Quadrant Executive Committee, WEQ Members and Posting for Interested Parties

FROM: 	NAESB Inadvertent Interchange Payback Task Force

RE:	IIPTF Report Discussing Task Force Results

DATE:		October 11, 2005

This is the final report of the Inadvertent Interchange Payback Task Force (IIPTF) to advise the Wholesale Electric Quadrant (WEQ) Executive Committee that the task force has determined the NAESB Version 0 Inadvertent Interchange Payback Standard is an appropriate solution for the settlement of inadvertent interchange and request that the task force be disbanded.

History

The IIPTF was established in March 2003 to develop standards to define the alternatives that may be used to settle Inadvertent Interchange, consistent with 2003 WEQ Annual Plan Item 5.  As noted in the standards request, the inadvertent interchange settlement standards would mitigate the potential financial gain that misuse of the payback-in-kind methodology allows.  The request for standards suggested that the development of the standards would provide benefit to the industry because it would incent good behavior of balancing actual output and scheduled output within a reliable average limit and reduce the possibility of inadvertent accumulation.  The IIPTF worked diligently over the course of 27 months, and considered five core proposals.

Accomplishments & Deliverables

The IIPTF has reviewed many different proposals for the settlement of Inadvertent Interchange and determined that the NAESB Version 0 Inadvertent Interchange Payback Standard is an adequate solution given the current NERC and regulatory environment.  Although the task force did not develop a new standard, it did develop the following ancillary deliverables:

1) 	a library of published work papers discussing each of the settlement proposals;

2) increased industry awareness of potential settlement solutions through timely reports to the WEQ Executive Committee; and

3) 	further analysis of the energy price component identified in NERC Joint Inadvertent Interchange Task Force (JIITF) Whitepaper

4)  a way to coordinate/schedule payback under the Western Interconnection's Automatic Time-Error Cooorection (WATEC) in order to reconcile WATEC with the NERC ACE equation without modifying WATEC payback actions.

Process & Procedures

The IIPTF has met a total of 41 times over 58 days.  The IIPTF used the work of the NERC JIITF as the initial model for development of the standards.

Although the task force used the JIITF Whitepaper as a starting point for development, the task force also explored alternatives to those solutions contained in the whitepaper.  During its deliberations, the IIPTF discussed the following proposals:

- Financial Settlement of a Frequency Control Component

- Native Market Pricing of an Energy Component including a Transmission Congestion Component

- Wide Open Load Following (WOLF)

- Western Electricity Coordinating Council (WECC) Automatic Time Error Control (WATEC) (Option 2)

- Option 1

- NAESB Version 0 Inadvertent Interchange Payback Standard

Financial Settlement of a Frequency Control Component:  Balancing Authorities' monthly average contribution to frequency error, in terms of their Inadvertent Interchange per Hertz of frequency deviation, would be assessed for purposes of monthly settlement.  Those contributions settle exactly across the interconnection, between the BAs who were the net contributors to frequency error, and the BAs who were the net offsetters of frequency error.  The settlement price (per megawatt) of inadvertent interchange for its contribution to frequency is some fixed-value times frequency error.  This settlement price is the best estimate of what a market price for Inadvertent would be in an eventual market for trading NERC Control Performance Standard deviation allowances.  Developed by the NERC JIITF and proposed by Mr. Illian and Mr. Blohm.

Many IIPTF participants did not feel comfortable with a "multipart" price or with settlement of frequency contribution separate from energy.  "Option 1" below was an attempt to roll this into a "single" price for settlement of frequency contribution and energy (including transmission congestion) combined. Several IIPTF participants did not feel comfortable with a megawatt-per-hertz measure of FCC because as originally presented its price would rise exponentially with frequency deviation.  The price per megawatt of FCC was later shown to rise linearly with frequency deviation, but this did not alleviate the pricing and implementability concerns on the part of several IIPTF members.

Native Market Pricing of an Energy Component including a Transmission Congestion Component:  All North American ISOs, RTOs and FERC have concluded that transmission constraints result in market prices for energy that are different from market location to market location and have used centralized calculations to discover these price differences and provide them for market settlement.  Native Market Pricing would provide equivalent pricing for areas that do not use a centralized calculation to derive these local market prices.  Native Market Pricing instead depends upon the independent Native Market to derive the correct price through arbitrage, and then uses that Native Market Price in the settlement.  The price for the energy would be the local spot market price or be the cost basis for the local schedule-4 tariff.  This would include any price/cost differences attributable to congestion.  Since this kind of pricing could result in either over or under collected revenues for an interconnection, a balancing algorithm was developed to assure balance settlement.  This algorithm was based upon the amount of inadvertent contributed by each Native Market and it was demonstrated that using this balancing algorithm would maintain the marginal price differences necessary to properly represent the price differences due to the transmission constraints.  Unfortunately, Native Market Pricing alone lacks any frequency control incentive, and therefore, is viable only when combined with an incentive mechanism such as the Frequency Control Component.  When the Frequency Control Component was eliminated from consideration, Native Market Pricing was also doomed because of the loss of the correct incentive to provide good frequency control.  Proposed by Mr. Illian and Mr. Blohm.

Some IIPTF participants did not like the need for an entity to manage the likely periodic overcollection for the energy that results from different local energy prices, and to redistribute pro-rata the overcollection, and the credit issues involved.  Several IIPTF members took issue with default risk of financial settlement.  Several IIPTF members observed that the actor hurting frequency is paying his own energy price, which incents bad frequency control while attempting to assure good congestion management.

Wide Open Load Following (WOLF) Proposal:  WOLF sets real time prices for unscheduled flows of electricity using a formula (driven by frequency error) to modify a base energy price to reflect reliability concerns. WOLF uses a formula that escalates exponentially with frequency error.  The reliability constants are the frequency deviations associated with a ten-fold change in price.  WOLF uses a similar formula to modulate the base energy price for time error and cumulative time error, thus reflecting changes in basic fuel costs while eliminating the time error.  WOLF prices can be geographically differentiated to reflect transmission constraints and line losses.

Many IIPTF participants did not feel comfortable with WOLF for not allowing negative prices.  There was also concern about high price escalation and lack of coordination between the scheduled energy market price and WOLF pricing.

Western Electricity Coordinating Council (WECC) Automatic Time Error Control (WATEC) (Option 2) Proposal:  The WATEC methodology is based on the principle that when a Balancing Authority experiences some type of operational problem that prevents its net scheduled interchange from matching its net actual interchange the prevailing Interconnection’s system frequency changes.  The other Balancing Authorities in the Interconnection will respond to correct the system frequency through their individual frequency bias term in their ACE equation.

The Balancing Authority causing the frequency error is said to have created “primary time error”. The other Balancing Authorities in the Interconnection responding to correct system frequency are said to have created “secondary time error”.

Time error is directly related to inadvertent interchange.  All Balancing Authorities have procedures in place to determine their hourly inadvertent interchange.  Converting hourly inadvertent interchange into “primary inadvertent interchange” a Balancing Authority can observe just that portion of the Interconnection’s time error that they alone caused.

When all Balancing Authorities feedback this portion of “primary inadvertent interchange” into their ACE equation they continuously correct for just their own errors.  The detailed derivation and explanation of the WECC ACE Equation used for control and inadvertent interchange payback are located on the WECC website www.wecc.biz.WATEC was supported by Mr. Henery.

Some IIPTF participants found WATEC to trade off adding new frequency error by timely unilateral payback, against economic fairness.  While WATEC was found to eliminate much of the accumulation of Inadvertent Interchange allowed by the current Version 0 Standard, it was also found to allow for the same immediate economic advantage-taking as the current Version 0 Payback Standard.   WATEC requires 100 percent participation and there were questions on whether 100 percent participation would be achievable in the East.

Option 1 Proposal: The proposed Option 1 Inadvertent Interchange Settlement Business Practice is modeled after the East Central Area Reliability Council (ECAR) Inadvertent Settlement Tariff. Option 1 uses a Frequency Bandwidth as an indicative measure where Inadvertent accumulated when the hourly average frequency is OUTSIDE the bandwidth, the settlement of the Inadvertent is financial. When Inadvertent is accumulated when the hourly average frequency is within the Frequency Bandwidth, the settlement of the Inadvertent is in kind (as it is settled today). The proposed Frequency Bandwidth is +/- 20 mHz around scheduled frequency (typically 59.98 mHz to 60.02 mHz).  The proposed financial component, paid to the entity responding appropriately, is the greater of $100.00 per MWh or provable Market Price of the entity responding appropriately. In addition, the proposal allows for the entity responding appropriately to recover costs associated with taking generation offline in response to a HIGH frequency situation.  Option 1 was proposed by Mr. Cox, Mr. Reed and Mr. Goss.

Some IIPTF members found that practically all Inadvertent Interchange would fall within the deadband contained in this option where settlement is no different than the current Version 0 Inadvertent Interchange Payback Standard.  For the small amount of extreme Inadvertent Interchange lying outside the deadband, this option could have an unintended negative impact on reliability by causing upward drift of scheduled frequency, and violate the congestion-cost management requirement embedded in FERC tariffs.

NAESB Version 0 Inadvertent Interchange Payback Standard: The default status quo that carries forward portions of the old NERC Policy 1F related to the settlement of accumulated Inadvertent. The Version 0 Business Practice defines the Payback in Kind structure where, Inadvertent accumulated during On-Peak hours, must be paid back during On-Peak hours.  Inadvertent accumulated during Off-Peak hours must be paid back during Off-Peak hours. The Version 0 Business Practice also allows for other methods of settlement of Inadvertent as agreed to by all members of the Interconnect.

Some IIPTF members opposed the Version 0 standard because modern market pricing is much more granular than on-peak and off-peak and therefore continues to allow economic abuse.  Furthermore, the lack of a payback time-frame retains the incentive to accumulate Inadvertent Interchange accounts in order sometimes to avoid the uncompensated cost of fulfilling control obligations.

Conclusion

IIPTF participants recognize that significant effort was expended by NAESB and its member organizations to develop an Inadvertent Interchange settlement standard that would mitigate the potential financial gain that misuse of the payback-in-kind methodology does not prevent.  However, a majority of the task force members determined that, at this time, none of the proposed solutions considered by the task force is better than the payback-in-kind methodology for the Eastern Interconnect (as embodied in the NAESB Version 0 Inadvertent Interchange Payback Standard.)  Each of the proposed solutions considered has one or more significant implementation hurdles to overcome, including but not limited to: data acquisition and integrity; pricing; credit; funding; 100% participation of the affected interconnection; and the task force’s opinion that because WATEC uses strictly reliability parameters, it should be developed in the NERC reliability environment.

The Inadvertent Interchange Payback “WATEC Option” and the “Option 1” were presented to the industry for consideration, to determine a preference, and to generate comments.  The industry posting generated minimal responses which did not support either option.  With the lack of industry direction for a new “inadvertent interchange payback” standard the IIPTF has inferred that the industry is satisfied with the requirements within the current NAESB Version 0 Inadvertent Interchange Business Practice Standard.

Supporting Documentation

| Appendix I: | List of IIPTF Meetings |
| --- | --- |
| Appendix II: | Frequency Control Component |
| Appendix III: | Local Native Pricing |
| Appendix IV: | WOLF |
| Appendix V. | WATEC (Option 2) |
| Appendix VI: | Option 1 |
| Appendix VII: | NAESB Version 0 Inadvertent Interchange Payback Standard |
| Appendix VIII: | Summary of Industry Posting for Comment of “WATEC Option” and “Option 1” |

Appendix I:  List of IIPTF Meetings

This appendix contains a list of IIPTF meetings and conference calls where 2003 WEQ Annual Plan Item 6 - IIP was discussed.  Links to the individual meeting minutes and any workpapers discussed during the meetings are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

| Date | Event/Location |
| --- | --- |
| August 19, 2005 | Conference Call with Web Conferencing |
| August 4, 2005 | Conference Call with Web Conferencing |
| July 21, 2005 | Conference Call with Web Conferencing |
| July 7, 2005 | Conference Call with Web Conferencing |
| May 5, 2005 | Conference Call with Web Conferencing |
| April 12-13, 2005 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| February 23-24, 2005 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| January 19-20, 2005 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| December 7-8, 2004 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| November 3-4, 2004 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| October 19-20, 2004 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| September 22-23, 2004 | Meeting held in Houston, TX hosted by NAESB (with Web Conferencing) |
| August 25-26, 2004 | Meeting held in Colorado Springs, CO hosted by El Paso Corporation |
| August 13, 2004 | Conference Call with Web Conferencing |
| July 26-27, 2004 | Meeting held in Las Vegas, NV hosted by NAESB |
| July 13, 2004 | Conference Call |
| July 1, 2004 | Conference Call |
| June 23-24, 2004 | Meeting held in Houston, TX hosted by NAESB |
| May 26-27, 2004 | Meeting held in Houston, TX hosted by NAESB |
| May 5-6, 2004 | Meeting held in Juno Beach, FL hosted by Florida Power & Light |
| April 1-2, 2004 | Meeting held in Houston, TX hosted by NAESB |
| February 26-27, 2004 | Meeting held in Houston, TX hosted by NAESB |
| January 22-23, 2004 | Meeting held in Dallas, TX hosted by American Electric Power |
| December 10-11, 2003 | Meeting held in Houston, TX hosted by NAESB |
| November 3, 2003 | Meeting held in Houston, TX hosted by NAESB |
| October 6, 2003 | Meeting held in Tempe, AZ hosted by NAESB |
| September 15-16, 2003 | Meeting held in Austin, TX hosted by NAESB |
| August 20, 2003 | Conference Call |
| August 6, 2003 | Meeting held in Philadelphia, PA hosted by PECO |
| August 4, 2003 | NERC/NAESB IIPTF Organizational Meeting held in Philadelphia, PA |
| July 23, 2003 | Conference Call |
| July 9, 2003 | Meeting held in Colorado Springs, CO hosted by El Paso Western Pipelines |
| June 18, 2003 | Conference Call |
| June 4, 2003 | Meeting held in Washington, DC hosted by EEI |
| May 8, 2003 | Meeting held in Houston, TX hosted by NAESB |
| April 29, 2003 | Meeting held in Houston, TX hosted by NAESB |
| April 9, 2003 | Meeting held in Ft. Lauderdale, FL hosted by Florida Power & Light |
| March 31, 2003 | Conference Call |
| February 27, 2003 | Conference Call |
| February 19, 2003 | Meeting held in New Orleans, LA hosted by NAESB |
| February 13, 2003 | Conference Call |

Appendix II:  Frequency Control Component Proposal

This appendix contains a list of links to documents discussing the Frequency Control Component Proposal.  Additional information on the proposal is available in the subcommittee minutes from the meetings where this proposal was discussed and the work papers associated with those meetings.  All of the documents are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

Frequency Control Component Proposal Links:

Recommendations for the Wholesale Electric Industry of North America: Inadvertent Interchange, Draft 5d, May 10, 2002.  A White Paper Prepared by the NERC Joint Inadvertent Interchange Task Force

http://www.naesb.org/pdf/weq_mos012403w5.pdf

Defining Good and Bad Inadvertent, presented by Mr. H. Illian

http://www.naesb.org/pdf/weq_iiptf021903w1.pdf

Public Utilities Fortnightly Article, authored by Mr. R. Blohm

http://www.naesb.org/pdf/weq_iiptf102704w7.pdf

Appendix III:  Local Native Pricing Proposal

This appendix contains a list of links to documents discussing the Local Native Proposal.  Additional information on the proposal is available in the subcommittee minutes from the meetings where this proposal was discussed and the work papers associated with those meetings.  All of the documents are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

Local Native Pricing Proposal Links:

Recommendations for the Wholesale Electric Industry of North America: Inadvertent Interchange, Draft 5d, May 10, 2002.  A White Paper Prepared by the NERC Joint Inadvertent Interchange Task Force

http://www.naesb.org/pdf/weq_mos012403w5.pdf

Native-Market-Pricing for Inadvertent Interchange, presented by Mr. H. Illian

http://www.naesb.org/pdf/weq_iiptf040104w6.pdf

Matrix of Outcomes for 5 Different Ways of Settling the Energy Component of Inadvertent Interchange, presented by Mr. R. Blohm

http://www.naesb.org/pdf/weq_iiptf012204w7.pdf

Assuring Balanced Settlement for Inadvertent Interchange, presented by Mr. H. Illian

http://www.naesb.org/pdf/weq_iiptf062304w2.doc

Marginal Energy Settlement of Inadvertent Interchange Using Native Prices, presented by Mr. H. Illian and Mr. R. Blohm

http://www.naesb.org/pdf/weq_iiptf062304w3.doc

Appendix IV:  Wide Open Load Following Proposal

This appendix contains a list of links to documents discussing the Wide Open Load Following Proposal.  Additional information on the proposal is available in the subcommittee minutes from the meetings where this proposal was discussed and the work papers associated with those meetings.  All of the documents are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

Wide Open Load Following (WOLF) Proposal Links:

WOLF Pricing, presented by Mr. M. Lively

http://www.naesb.org/pdf/weq_iiptf121003w3.pdf

Appendix V:  Western Electricity Coordinating Council Automatic Time Error Control Proposal

This appendix contains a list of links to documents discussing the Western Electricity Coordinating Council Automatic Time Error Control (WATEC) Proposal.  Additional information on the proposal is available in the subcommittee minutes from the meetings where this proposal was discussed and the work papers associated with those meetings.  All of the documents are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

Western Electricity Coordinating Council Automatic Time Error Control (WATEC) Proposal Links:

WECC Procedure for Time Error Control, submitted by Mr. N. Henery

http://www.naesb.org/pdf/weq_iiptf050504w2.pdf

Automatic Time Error Control presentation, presented by Mr. N. Henery

http://www.naesb.org/pdf/weq_iiptf072604w5.ppt

Conforming WECC Auto Time Error Correction to CPS1, presented by Mr. H. Illian

http://www.naesb.org/pdf/weq_iiptf102704w4.doc

Practical Meaning of Conforming WECC Auto Time Error Correction to CPS1, presented by Mr. R. Blohm

http://www.naesb.org/pdf/weq_iiptf101904w4.doc

Draft IIPTF Standard (Option 2), distributed for informal industry comment on December 10, 2004

http://www.naesb.org/pdf/weq_iiptf121004w3.doc

Appendix VI:  Option 1 Proposal

This appendix contains a list of links to documents discussing the Option 1 Proposal.  Additional information on the proposal is available in the subcommittee minutes from the meetings where this proposal was discussed and the work papers associated with those meetings.  All of the documents are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

Option 1 Proposal Links:

Discussion Paper, presented by Mr. Reed

http://www.naesb.org/pdf/weq_iiptf012204w10.pdf

Draft IIPTF Standard (Option 1), distributed for informal industry comment on December 10, 2004

http://www.naesb.org/pdf/weq_iiptf121004w1.doc

Appendix VII:  NAESB Version 0 Inadvertent Interchange Payback Standard

This appendix contains a link to the NAESB Version 0 Inadvertent Interchange Payback Standard.

NAESB Version 0 Inadvertent Interchange Payback Standard Links:

NAESB WEQ Inadvertent Interchange Payback Standards - WEQBPS – 005-000, January 15, 2005

http://www.naesb.org/pdf2/weq_bklet_011505_iip_mc.pdf

Appendix VIII:  Summary of Industry Posting for Comment of “WATEC Option” and “Option 1”

This appendix contains a list of links to documents discussing the Industry Posting for Comment of “WATEC Option” and “Option 1”, including the IIPTF’s response to the industry comments.  Additional information on the comments is available in the subcommittee minutes from the meetings where the comments were discussed and the work papers associated with those meetings.  All of the documents are available on the NAESB website at http://www.naesb.org/WEQ/weq_iiptf.asp.

Summary of Industry Posting for Comment of “WATEC Option” and “Option 1” Links:

Request for Comments on Inadvertent Interchange Settlement “Version 1” Business Practices, distributed December 10, 2004

http://www.naesb.org/pdf/weq_iiptf121004w5.doc

Draft IIPTF Standard (Option 1), distributed for informal industry comment on December 10, 2004

http://www.naesb.org/pdf/weq_iiptf121004w1.doc

Draft IIPTF Standard (Option 2), distributed for informal industry comment on December 10, 2004

http://www.naesb.org/pdf/weq_iiptf121004w3.doc

IIPTF Response to Comments Submitted on IIPTF Option 1

http://www.naesb.org/pdf2/weq_iiptf121004a1.doc

IIPTF Response to Comments Submitted on IIPTF Option 2

http://www.naesb.org/pdf2/weq_iiptf121004a2.doc

All of the IIPTF work papers are available for public download from the NAESB website at http://www.naesb.org/weq/weq_iiptf.asp.

The IIPTF’s reports to the WEQ Executive Committee are available as part of the WEQ Executive Committee minutes from March 2003 to August 2005.

A listing of meetings and conference calls is provided in Appendix 1 to this report.