1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

Accept as requested				  X  Change to Existing Practice

X  Accept as modified below			      Status Quo

Decline

2.  TYPE OF MAINTENANCE

Per Request:					Per Recommendation:

Initiation					  X  Initiation

Modification					      Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

Principle (x.1.z)				      Principle (x.1.z)

Definition (x.2.z)				  X  Definition (x.2.z)

Business Practice Standard (x.3.z)		  X  Business Practice Standard (x.3.z)

Document (x.4.z)				      Document (x.4.z)

Data Element (x.4.z)				      Data Element (x.4.z)

Code Value (x.4.z)				      Code Value (x.4.z)

X12 Implementation Guide			      X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:

Add the following NAESB WEQ and NAESB WGQ Definitions:

D1F, D2F, D3F

Add the following NAESB WEQ and NAESB WGQ Standards:

S1BF, S2XF, S3XF, S16F

Add the following NAESB WEQ Standards:

S13F, S15F

Add the following NAESB WGQ Standard:

S14F

STANDARDS LANGUAGE:

Proposed NAESB WEQ and WGQ Definition:

D1F	Power Plant Operator (PPO) is the term used to describe the entity(ies) that has responsibility for gas requirements  for a natural gas-fired electric generating facility(ies) and is responsible for coordinating natural gas deliveries with the appropriate Transportation Service Provider(s) (TSP) to meet those requirements.  The PPO performs a number of coordinated activities, including, but not limited to, power plant operations, unit dispatch, natural gas procurement and/or gas transportation arrangements.  Because each PPO is structured differently, specific responsibilities within each PPO should be determined by the PPO and the point of contact for the PPO should be communicated to the TSP(s). This definition applies to NAESB WEQ Standard Nos. [D2, S1B, S2X, S3X, S13, S15, and S16] and NAESB WGQ Standard Nos. [D2, S1B, S2X, S3X, S14, and S16].

Proposed NAESB WEQ and WGQ Definition:

D2F	A Power Plant Operator’s Facility is the term used to describe the natural gas-fired electric generating unit(s) under the direct control of the Power Plant Operator.  This definition applies to NAESB WEQ Standard Nos. [S2X and S3X] and NAESB WGQ Standard Nos. [S2X and S3X].

Proposed NAESB WEQ and WGQ Definition:

D3F	Balancing Authority (BA) is the term used by the Wholesale Electric Quadrant to describe the entity responsible for integrating electric resource plans ahead of time, for maintaining electric load-interchange-generation balance within its metered boundaries, and for supporting electric interconnection frequency in real time.  In certain circumstances, a BA may be a Regional Transmission Organization or Independent System Operator.  This definition applies to NAESB WEQ Standard Nos. [S15 and S16] and NAESB WGQ Standard No. [S16].

Proposed NAESB WEQ and WGQ Standard:

S1BF	The Transportation Service Provider (TSP) / Power Plant Operator (PPO) communication standards set forth in NAESB WEQ Standard Nos. [D1, D2, D3, S1B, S2X, S3X, S13, S15, and S16] and NAESB WGQ Standard Nos. [D1, D2, D3, S1B, S2X, S3X, S14, and S16] do not convey any rights or services beyond or in addition to those contained in the TSP’s tariff and/or general terms and conditions and/or do not impose any obligations that would otherwise be inconsistent with the requirements of applicable regulatory authorities, including affiliate code of conduct requirements.  These communication standards should be used in addition to the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP’s tariff or general terms and conditions, the latter will prevail.

Proposed NAESB WEQ and WGQ Standard:

S2XF	The Power Plant Operator (PPO) and the Transportation Service Provider(s) (TSP) that is directly connected to the PPO’s Facility(ies) should establish procedures to communicate material changes in circumstances that may impact hourly flow rates. The PPO should provide projected hourly flow rates as established in the TSP’s and PPO’s communication procedures.

Proposed NAESB WEQ and WGQ Standard:

S3XF	Subject to the conditions of NAESB WEQ Standard No. [S1B] and NAESB WGQ Standard No. [S1B], this standard applies to a Power Plant Operator (PPO) and the Transportation Service Provider (TSP) to whose system the PPO facility(ies) is directly connected or with whom the PPO is a Service Requester.

A PPO should not operate without an approved scheduled quantity pursuant to the NAESB WGQ standard nomination timeline and scheduling processes or as permitted by the TSP’s tariff and/or general terms and conditions, and/or contract provisions.  However, if the PPO reasonably determines that it has circumstances requiring the need to request gas scheduling changes outside of the above-referenced nomination and scheduling processes and the affected TSP(s) supports the processing of such changes, the PPO should provide its requested daily and hourly flow rates to the TSP(s) (1) as established in  the TSP’s and PPO’s communication procedures pursuant to NAESB WEQ Standard No. [S2X] and NAESB WGQ Standard No. [S2X] and/or (2) as specified in the TSP’s(s’) tariff or general terms and conditions.

Based upon whether or not the PPO’s request can be accommodated in accordance with the appropriate application of the affected TSP’s(s’) tariff requirements, contract provisions, business practices, or other similar provisions, and without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements and/or general system operations, the PPO and all of the affected TSPs should work together to resolve the PPO’s request.

Where the affected TSP determines that it is feasible to provide the PPO with changes in flow rates without additional communications, no additional communications are required.  These procedures will govern such communications unless the applicable parties mutually agree to create alternative communication procedures.

Proposed NAESB WEQ Standard:

S13F	The Regional Transmission Organizations, Independent System Operators, independent transmission operators, and/or Power Plant Operators should sign up to receive operational flow orders and other critical notices from the appropriate gas Transportation Service Provider(s), pursuant to NAESB WGQ Standard Nos. 5.2.2, 5.3.35, and 5.3.37, unless the party(ies) needing the information has arranged to receive it through an alternative communication process(es).

Proposed NAESB WGQ Standard:

S14F	A Transportation Service Provider should provide Regional Transmission Organizations (RTO), Independent System Operators (ISO), any other appropriate independent transmission operators (ITO), and Power Plant Operators (PPO) with notification of operational flow orders and other critical notices through the RTO / ISO / ITO / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2, and 5.3.35 – 5.3.38.

Proposed NAESB WEQ Standard:

S15F	Unless otherwise prohibited by agreement, tariff, or protocol rules, a Power Plant Operator should, upon request, provide pertinent information concerning the service level (i.e., firm or interruptible) of its procured gas transportation and the performance obligation (i.e., firm (fixed or variable quantity) or interruptible) of its procured gas supply to the appropriate independent Balancing Authority and/or Reliability Coordinator.

Proposed NAESB WEQ and WGQ Standard:

S16F	Regional Transmission Organizations, Independent System Operators, other independent transmission operators, independent Balancing Authorities and/or Regional Reliability Coordinators should establish written operational communication procedures with the appropriate gas Transportation Service Provider(s) and/or Power Plant Operator(s).  These procedures should be implemented when an extreme condition could occur, as defined in such procedures.

These procedures will govern unless the applicable parties in the gas and electric industry mutually agree to create alternative written communication procedures that are more appropriate and meet the parties’ collective regional operational needs.

Training on and testing of such communication procedures should occur periodically.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

Develop standards for the daily operational communications between pipelines and power plants. These communications standards would include anticipated power generation fuel requirements for the upcoming day as well as notification anytime plans change.  Likewise standards for pipeline communications for any operating problems that might hinder power plants from receiving required contractual quantities when needed would be developed.

These standards would be used for operational communications between power plants and pipelines.

b.  Description of Recommendation:

Triage Subcommittee

See the Triage Subcommittee results for the supporting documentation, discussion, and voting records for the following date:

08/31/2004

Executive Committee

See the Executive Committee final minutes and transcript for the supporting documentation, discussion, and voting records for the following date:

08/31/2004

Business Practices Subcommittee

See the Business Practices Subcommittee (BPS) meeting minutes and attachments for the supporting documentation, discussion, and voting records for the following dates:

12/01-02/2004

01/24-25/2005

Executive Committee

See the Executive Committee final minutes and transcript for the supporting documentation, discussion, and voting records for the following date:

02/08/2005

Business Practices Subcommittee

See the Business Practices Subcommittee (BPS) meeting minutes and attachments for the supporting documentation, discussion, and voting records for the following dates:

02/09-10/2005

03/01-02/2005

03/21-22/2005

04/06-07/2005

04/18-19/2005

04/25-26/2005

Executive Committee

See the Executive Committee final minutes and transcript for the supporting documentation, discussion, and voting records for the following date:

05/26/2005

05/31/2005

c.  Business Purpose:

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):