1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

X  Accept as requested			  X Change to Existing Practice

Accept as modified below			      Status Quo

Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:					Per Recommendation:

Initiation					      Initiation

X Modification					   X  Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

Principle 					      Principle

Definition 					      Definition

X Business Practice Standard 			  X Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 				                   Code Value

X12 Implementation Guide			     X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:	Adopt modification to the NAESB Business Practice Standard for Transmission Loading Relief (TLR) that addresses regional differences concerning market flows for the Southwest Power Pool (SPP).  These modifcations have been made to Appendix D of the Business Practice as Section B.  Section A of Appendix D includes similar differences for both PJM and MISO as agreed to by NERC through its former waiver process.  These urgent changes were requested by NERC to accommodate the scheduled SPP market opening date of May 1 and to coincide with changes made to NERC IRO-006-1 (which will become IRO-006-2 once the changes are approved). Making these modifications will keep NAESB and NERC in “lock-step” as they continue efforts in joint standards development.

Background information on the  NERC/NAESB separation of commercial business practice and reliability standards may be found in the summary of NAESB Recommendation for R04013A.

Recommended Standards:

Please see Attachment posted at http://www.naesb.org/pdf2/r06002_rec_attachment.doc.

4.  SUPPORTING DOCUMENTATION

- Description of Request:

Modify the NAESB pre-split Version 0 TLR business practices to remain consistent with the NERC pre-split Version 0 TLR reliability standards (IRO-006-1).

NERC is requesting a modification to the NERC Transmission Loading Relief (TLR) procedure (Reliability Standard IRO-006 Attachment 1) to expand the scope of values accepted by the Interchange Distribution Calculator (IDC) to include Market Flows for SPP regional differences.  Market Flows represent the impacts on flowgates of energy dispatched in a market, such as that operated by a Regional Transmission Organization or Independent System Operator, that are not tagged as an interchange transactions.  Allowing Market Flow impacts to be represented in the IDC allows markets to participate in the Eastern Interconnection transmission loading relief method on a basis equivalent to that of tagged interchange transactions.  The reliability benefit is that these market resources then are able to participate in the reduction of flows on a specified flowgate during a transmission loading relief event.  The proposed change is similar to the regional differences that currently exist for MISO and PJM.  To accomdate these changes, it was revealed during the meetings referenced below that the necessary change in the NAESB business practices was to Appendix D of the post-split TLR Business Practice Standards (adopted by the WEQ Executive Committee on November 29, 2005).  The proposed revision to the standard has been endorsed by the NERC Operating Reliability Subcommittee.

- Description of Recommendation:

Modify the TLR Business Practice Standard as recommended.

- Business Purpose:

To accommodate regional differences in regards to market flows for SPP and to stay in “lock-step” with NERC changes to reliability standard for TLRs found in IRO-006-1.  These changes will reflect current implementation of such market flows in the SPP market.

- Commentary/Rationale of Subcommittee(s)/Task Force(s):

Discussion on this recommendation can be found in the following minutes:

| WEQ BPS minutes |  |
| --- | --- |
| February 7-8, 2006 | Final Minutes |
| February 22, 2005 | Draft Minutes |
| March 3, 2005 |  |
| March 10, 2005 |  |