North American Energy Standards Board

Request for Initiation of a NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

or

Enhancement of an Existing NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

Instructions:

1.	Please fill out as much of the requested information as possible.  It is mandatory to provide a contact name, phone number and fax number to which questions can be directed.  If you have an electronic mailing address, please make that available as well.

2.	Attach any information you believe is related to the request.  The more complete your request is, the less time is required to review it.

3.	Once completed, send your request to:

Rae McQuade

NAESB, President

1301 Fannin, Suite 2350

Houston, TX  77002

Phone:  713-356-0060

Fax:      713-356-0067

by either mail, fax, or to NAESB’s email address, naesb@naesb.org.

Once received, the request will be routed to the appropriate subcommittees for review.

Please note that submitters should provide the requests to the NAESB office in sufficient time so that the NAESB Triage Subcommittee may fully consider the request prior to taking action on it.  It is preferable that the request be submitted a minimum of 3 business days prior to the Triage Subcommittee meetings.  Those meeting schedules are posted on the NAESB web site at http://www.naesb.org/monthly_calendar.asp.

North American Energy Standards Board

Request for Initiation of a NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

or

Enhancement of an Existing NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

Date of Request:   ___2-26-2007_______________

1.  Submitting Entity & Address:

_______NEVP/SPPC____________________

_______6100 NEIL RD.________________________________

_______P.O. BOX 10100________________________________

_______ RENO, NV  89520________________________________

2.  Contact Person, Phone #, Fax #, Electronic Mailing Address:

Name 	:     	_ MARILYN FRANZ ___________________

Title 	:     	TRANSMISSION SERVICES STAFF CONSULTANT

Phone :  	__775-834-5388_____________________

Fax 	:	__775-834-4296____________________

E-mail	:	__mfranz@sppc.com__________________

- Title and Description of Proposed Standard or Enhancement:

Title:

__Dynamic Schedule Adjust by Balancing Authorities__________________________

Description:

Dynamic Schedules currently have zero impact on the Net Scheduled Interchange  (NSI) until the hour completes.  NERC Standard INT-001-2 R1.1 states that “Dynamic Schedules are to be tagged at the expected average MW profile for each hour.”  The Transmission Allocation values are used to hold transmission capacity for dynamic generation as projected by the PSE.  Once the hour completes, the hourly integrated value must be entered into the Dynamic Schedule Tag for proper NSI totals.  Currently only the Tag Author can Adjust the tag.  In the West the Reliability Entities-Balancing Authorities (BA’s) receive the integrated values from the plants.  The hourly integrated number needs to be entered as soon as possible after the hour completes in order for Inadvertent to calculate accurately and the value is best entered directly by the BA.  This Standard Request is to allow BA’s to Adjust Dynamic Schedule Transaction Type Tags within the ATF changes rules.

4.  Use of Proposed Standard or Enhancement (include how the standard will be used, documentation on the description of the proposed standard, any existing documentation of the proposed standard, and required communication protocols):

Purpose:  To ensure Dynamic Schedule Transaction Type Tags are updated with an hourly integrated value by either a PSE Adjust or by a Balancing Authority Adjust (or electronic upload communicated from the BA’s EMS) up or down to provide an accurate and efficient method for impacting Inadvertent calculations.

_______________________________________________________________________

5.  Description of Any Tangible or Intangible Benefits to the Use of the Proposed Standard or Enhancement:

Tangible benefits will include updating NSI in a more timely and accurate fashion than having the Tag Author of a Dynamic Schedule Adjust enter a value passed over to them, thereby ensuring Hourly Inadvertent calculations are being accurately calculated for the previous hour.

_______________________________________________________________________

6.  Estimate of Incremental Specific Costs to Implement Proposed Standard or Enhancement:

There are no estimated costs with this proposed standard.  Vendors will need to make changes as prescribed by the Standard.

_______________________________________________________________________

7.  Description of Any Specific Legal or Other Considerations:

Historically Dynamic Schedule Hourly Integrated Values have been filled in by the BA’s as part of the BA’s NSI.  This should be seamless going forward once values are propagated from the EMS.

_______________________________________________________________________

8.  If This Proposed Standard or Enhancement Is Not Tested Yet, List Trading Partners Willing to Test Standard or Enhancement (Corporations and contacts):

_N/A________________________________________________________________________

9.  If This Proposed Standard or Enhancement Is In Use, Who are the Trading Partners :

_N/A________________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

10.  Attachments (such as : further detailed proposals, transaction data descriptions, information flows, implementation guides, business process descriptions, examples of ASC ANSI X12 mapped transactions):

DYN SCH –BOTTOM OF HOUR –

BA’s EMS

HOURLY INTEGRATED

VALUE TO TAG

DYN SCH -

AVG MW TOP OF HOUR

DYN SCH SIGNAL

-

BA’s EMS