- Proposed Revised NAESB WGQ Standard No. 4.3.90

The Transportation Service Provider (TSP) should provide on its Informational Postings Web Site daily average gas quality information for prior gas day(s), to the extent routinely collected and readily available, for location(s) that are representative of mainline gas flow.  To the extent that a TSP monitors tariff-based gas quality provisions for locations representative of mainline gas flow by non-electronic methods (e.g., spot sample), such information should be posted as soon as practicable.  The gas quality information posted pursuant to this standard is operational in nature.

For purposes of this standard, “readily available” is that data which is currently available in electronic format or would be available electronically with minor enhancement(s) to existing data collection, processing and reporting capability.

The gas quality information should be reported in units as specified in the tariff or general terms and conditions.  Gas quality information not specified in the TSP’s tariff or general terms and conditions should be posted using units determined by the TSP.

The information available for the identified location(s) should be provided in a downloadable format.  In any event, all applicable parties’ compliance with gas quality requirements is in accordance with the TSP’s tariff or general terms and conditions.

The followingListed below are examples of gas quality attributes that could be included in posting for the applicable Gas Day(s) and Location(s):

- Heating Value

- Interchangeability index(ices)/factor(s)

- Hydrocarbon liquid drop out control parameter(s)/factor(s)

- Hydrocarbon components, % of C1 – Cnn, as used in determining Heating Value

- Specific Gravity

- Water

- Nitrogen

- Carbon Dioxide

- Oxygen

- Hydrogen

- Helium

- Total Sulfur

- Hydrogen Sulfide

- Carbonyl Sulfide

- Mercaptans

- Mercury and/or any other contaminants being measured

- Other pertinent gas quality information that is specified in the TSP’s tariff or the general terms and conditions.

- Proposed modifications to NAESB WGQ Standard No. 4.3.92:

4.3.92	Data provided pursuant to NAESB WGQ Standard No. 4.3.90 should be provided in a tabular downloadable file to be described by the Transportation Service Provider.  The first row of the file should contain the column headers and data should begin on the second row of the file.  In addition, one of the columns should contain the applicable Gas Day.

- Proposed NAESB WGQ Standard 4.3.x1.

4.3.x1	For data provided pursuant to NAESB WGQ Standard 4.3.90, where a Transportation Service Provider (TSP) does not provide a Wobbe Number for location(s) that are representative of mainline gas flow, upon notification from a Service Requestor of its desire to begin discussing the interchangeability of gas supplies, should endeavor to calculate a Wobbe Number for such location(s).  Within 90 days of such notification, but no later than the initiation of discussions to develop tariff-based gas quality interchangeability provisions, a TSP should provide a Wobbe Number for location(s) that are representative of mainline gas flow.

Where a TSP uses an alternative method to characterize interchangeability, it may substitute or supplement the Wobbe Number with the applicable data.  Where no above-mentioned notification is received by the TSP or where the above mentioned discussions lead to a conclusion that tariff based gas quality interchangeability provisions are not necessary, a TSP may satisfy this standard by providing a Heating Value and Specific Gravity.

- Proposed NAESB WGQ Standard 4.3.x2:

- 4.3.x2	For data provided pursuant to NAESB WGQ Standard No. 4.3.90, a Transportation Service Provider (TSP) with tariff-based gas quality provisions for the control of hydrocarbon liquid drop out should measure or calculate a 1) Cricondentherm Hydrocarbon Dew Point (CHDP) or 2) C6+GPM for the location(s) that are representative of mainline gas flow.  If applicable, the TSP should provide the control parameter specified within its tariff.  Where a TSP uses an alternative approach to control hydrocarbon liquid drop out, it may substitute the appropriate control parameter.

- Proposed NAESB WGQ Standard 4.3.x3:

4.3.x3	Data provided pursuant to NAESB WGQ Standard No. 4.3.90 should be made available in a single download for one and/or all location(s) representative of mainline gas flow as posted for a given date range within the most recent three month period.

Inserted from Pipeline segment work paper for the 1/12/07 BPS.

Inserted from Pipeline segment work paper for the 1/12/07 BPS.

Originated from LDC segment work paper as 4.2.x1 and revised during the 1/12/07 BPS meeting.

Inserted from Pipeline segment work paper for the 1/12/07 BPS and additional revisions.