# S1C (LDC) *NEW*

Prior to the effective day of flow, the PPO should communicate its requested initial hourly operational flow needs for a gas day to the TSP directly connected to the PPO’s facility.

S1C (Pipeline)

The pipeline segment does not believe that this proposed standard is necessary as it, as a concept, is covered in the pipeline revised S2 (1).

Proposed Standard S3A – (Committee)

A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  However, at power plant delivery locations, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to daily scheduled quantities outside the standard nomination cycle(s), the PPO should immediately notify the Transportation Service Provider (TSP) of such requirements, and the PPO and TSP should work together to resolve the disposition of the specified requirements (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions.

At power plant delivery locations where the TSP provides contract / tariff services that allow non-uniform hourly flows or at locations where the PPO may request non-uniform hourly flows, the PPO and the TSP should use the following communication procedures:

- The PPO should communicate its request for anticipated daily and hourly requested gas flows to the TSP’s designated contact.

- The TSP should:

  - Accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow gas flow based on conditions at the time of the request, without impacting services that have been previously scheduled, anticipated flows, firm contract requirements, and/or general system operations.

  - Notify the PPO if a previously requested gas flow can no longer be allowed.

Such communication should include the applicable Service Requester Contract, the receipt and/or delivery location(s), the effective gas day, the requested gas flow quantity(s) by hour and the total requested gas flow quantity for the gas day.

In the event of conflicts between this standard and the TSP’s tariff or general terms and conditions, the latter will prevail.

S3A (LDC)

A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  At power plant delivery locations where the Transportation Service Provider (TSP) supports non-uniform hourly flows, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to daily scheduled quantities outside the standard nomination cycle(s), the PPO should immediately notify the all affected TSPs of such needs including requested hourly flow changes, and the PPO and TSP(s) should work together to resolve the disposition of the specified requests (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions of all affected TSP(s).  The PPO and the TSP should use the following communication procedures:

- As soon as any changes (the threshold of change to be determined by the TSP and PPO) to requested operational flow needs are known, a PPO should communicate such changes.

- The TSP directly connected to the PPO’s facility should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations.

- If at any time the PPO’s requested revised operational flow needs cannot be allowed, the TSP directly connected to such PPO’s facility should notify the PPO as soon as practicable.

- In the event that the TSP directly connected to the PPO can not accommodate the PPO’s request for daily and hourly flow changes without corresponding changes from the upstream delivery entity, the PPO has the following option.  The PPO can notify the appropriate contractual party that is upstream of the directly connected TSP of the PPO’s additional needs.  The contractual party and the upstream delivery entity should work together with the directly connected TSP to resolve the disposition of the specified requests based upon the appropriate application of tariff requirements, business practices, or other similar provisions.

- In all PPO/TSP communications the following information should be provided: the applicable service requester contract(s), the applicable receipt and delivery location(s), the effective date, the requested gas flow quantity(s) by day and hour, and, as necessary, the upstream TSP(s) and the appropriate upstream contractual party.

- If a TSP affirms a PPO’s specific request to allow gas flow, the PPO must nominate as soon as possible on all affect TSP(s) and no later than the next scheduled nomination cycle in order to continue flow.

S3A (Pipeline)

A Service Requester submitting a request for gas delivery should use the NAESB WGQ standard nomination timeline and scheduling processes.  However, at power plant delivery locations where the Transportation Service Provider (TSP) provides contract / tariff services that may allow non-uniform hourly flows, when a Power Plant Operator (PPO) identifies an operational need for increases or reductions to daily scheduled quantities outside of the standard nomination cycle(s), the PPO should immediately notify the TSP that is directly connected to the PPO’s Facility(ies) of such needs. The PPO and the TSP should work together to resolve the disposition of the specified needs (e.g., submitting a nomination) based upon the appropriate application of tariff requirements, business practices, or other similar provisions.

The PPO and the TSP that is directly connected to the PPO’s Facility(ies) should use the following communication procedures:

- The PPO should communicate its request for anticipated daily and hourly gas flows to the TSP that is directly connected to the PPO’s Facility(ies).

- The TSP that is directly connected to the PPO’s Facility(ies) should:

- Accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting services that have been previously scheduled, anticipated flows, no-notice services, firm contract requirements, and/or general system operations.

- If at any time the PPO’s requested daily and hourly operational flow needs can no longer be allowed, the TSP that is directly connected to the PPO should notify the PPO as soon as practicable.

- In all PPO/TSP communications, the following information should be provided: the applicable service requester contract(s), the applicable receipt and delivery location(s), the effective date, the requested gas flow quantity(s) by day and hour, and, as necessary, the upstream TSP and the appropriate upstream contractual party. procedures, nominate as soon as possible and but no later than the

Such communication should include the applicable Service Requester Contract, the receipt and/or delivery location(s), the effective gas day, the requested gas flow quantity(s) by hour and the total requested gas flow quantity for the gas day.

In the event of conflicts between this standard and the TSP’s tariff or general terms and conditions, the latter will prevail.

S3A (Southern Company)

Comment: we are supportive of S3A as proposed on 4/4 by the Pipeline Segment.  While we may be open to certain grammatical changes to improve readability, we believe the essential elements of S3 should remain as proposed by the Pipeline segment.

S3A (Modified Arizona Public Service and Salt River Project) (WEQ and WGQ)

At power plant delivery locations where the TSP requires scheduling of flows on a daily quantity basis but may allow non-uniform hourly flows to the extent operationally possible, the TSP should alert the PPO if system conditions warrant enhanced control.  The TSP and PPO should establish a threshold of variation from normal PPO hourly profile that requires communication in these conditions.  When notified of system conditions warranting enhanced control the Power Plant Operator (PPO) should communicate any change to the normal hourly profile that exceeds the established threshold.

- Each PPO should communicate its normal PPO hourly profile and the timeframe or season for which it applies.

- The PPO should identify and communicate actual or anticipated flow rate changes that will exceed the established threshold directly to the TSP.

- The communication of hourly operational flow requirements, provided above, should only address variations in hourly operational flow rates that exceed the threshold for previously scheduled daily quantities and should not include changes in such daily quantities.

- In all communications the following information should be included: the applicable delivery location(s), the effective date, the forecasted operational flow quantity(s) by hour, and the appropriate contract number, when necessary.

S3X (WEQ and WGQ)

Under no circumstances should a Power Plant Operator (PPO) operate without an approved schedule pursuant to NAESB WGQ standard nomination timeline and scheduling processes except as provided for in this standard.  In the event a PPO identifies the need to schedule gas outside the NAESB WGQ standard nomination timeline and scheduling processes, the PPO and Transportation Service Provider (TSP) should work together to resolve the PPOs additional needs based on the appropriate application of the TSPs tariff requirements, business practices, or other procedures.

S7 (Pipeline) *NEW*

When engaging in communications described in NAESB WGQ Standard No. [S1B], [S2], and [S3A] and NAESB WEQ Standard No. [S1B], [S2], and [S3A], the Power Plant Operator (PPO) should communicate with the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies).  If the TSP determines that flow variations are operationally feasible, the PPO should, as necessary, notify the appropriate contractual party on the delivery entity that is upstream of the TSP that is directly connected to the PPO’s Facility(ies).  Such contractual party and the upstream delivery entity should work together with the TSP that is directly connected to the PPO’s Facility(ies) to resolve the disposition of the specified requirements based upon the appropriate application of tariff requirements, business practices or other similar provisions.

Proposed S7X (LDC) *NEW*(WEQ and WGQ)

When engaging in communications described in NAESB WGQ Standard No. [S2] and [S3A] and NAESB WEQ Standard No. [S2] and [S3A]:

1.  The Power Plant Operator (PPO) should communicate with the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies).  Should the TSP that is directly connected to the PPO’s Facility(ies) determine that flow variations are not operationally feasible unless the upstream delivery entity(ies) makes changes to the hourly flow rate, and the upstream delivery entity(ies) supports such process; (a) the directly connected TSP contacts the upstream delivery entity(ies) regarding the change; (b) the PPO may notify the appropriate contractual party(ies) on the delivery entity(ies) upstream of the TSP that is directly connected to the PPO’s Facility(ies) of the PPO’s additional needs.  Such contractual party(ies) and the upstream delivery entity(ies) should work together with the TSP that is directly connected to the PPO’s Facility(ies) to resolve the disposition of the specified requests based upon the appropriate application of tariff requirements, business practices or other similar provisions.

2. The TSP should accept or deny the PPO’s specific request based on the TSP’s contract / tariff provisions and/or the TSP’s ability to allow the requested gas flow based on conditions at the time of the request, without adversely impacting other scheduled services, anticipated flows, no-notice services, firm contract requirements, and/or general system operations.

3. If a TSP affirms a PPO’s specific request to allow gas flow, the PPO must nominate as soon as possible on all affect TSP(s) and no later than the next scheduled nomination cycle in order to continue flow.

S7 (Southern Company)

Comment: we are supportive of S7 as proposed on 4/4 by the Pipeline Segment.  Any changes below are strictly grammatical. To the extent S7 is a WGQ only standard, the distinction made below between “gas” TSP and “electric” TSP can be removed.

When engaging in communications described in NAESB WGQ Standard No. [S2] and [S3A] and NAESB WEQ Standard No. [S2] and [S3A], the Power Plant Operator (PPO) should communicate with the gas Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies).  If the gas TSP determines that flow variations are operationally feasible, the PPO should notify the appropriate contractual party and the specified upstream delivery entity.  The contractual party and the upstream delivery entity should work together with the gas TSP directly connected to the PPO’s Facility(ies) to resolve the disposition of the specified requirements based upon the appropriate application of tariff requirements, business practices or other similar provisions.

S8 (Pipeline) *NEW*

Where a Power Plant Operator’s Facility is directly connected to a Transportation Service Provider (TSP) that is regulated by a state or local agency, the Power Plant Operator should engage in communications analogous to those described in NAESB WGQ Standard No. [S1B], [S2],  and [S3A] and NAESB WEQ Standard No. [S1B], [S2], and [S3A], as specified in that TSP’s operating protocols/procedures, tariff or general terms and conditions.

S8 (LDC)

Withdrawn

S8 (Southern Company)

Comment: we are supportive of S8 as proposed on 4/4 by the Pipeline Segment. Any changes below are strictly grammatical. To the extent S8 is a WGQ only standard, the distinction made below between “gas” TSP and “electric” TSP can be removed.

Where a Power Plant Operator’s (PPO’s) Facility is directly connected to a gas Transportation Service Provider (TSP) that is regulated by a state or local agency, the PPO should engage in communications analogous to those described in NAESB WGQ Standard No. [S2] and [S3A] and NAESB WEQ Standard No. [S2] and [S3A], as specified in that gas TSP’s operating protocols/procedures, tariff or general terms and conditions.

Preamble submitted by G. Brown, CASIO

Draft 1 (Before S13)

The intent of these communications procedure standards is that the applicable parties in the gas and electric industry will use such standards to establish an appropriate communications procedure that will be implemented at times when concerns about power plant fuel supply could affect the reasonable operation of the electric grid.  These standards will govern such activities unless the applicable parties in the gas and electric industry mutually agree to create alternative communication procedures that are more appropriate, and meet their collective regional operational needs.

Draft 2 - S12 (WEQ and WGQ): - could also be a “principle”

WEQ S13, S15, S16, and WGQ S14 and S16 prescribe communications procedure standards.  These procedures will be implemented at times when concerns about power plant fuel supply could affect the reasonable operation of the electric grid.  These procedures will govern such communications unless the applicable parties mutually agree to create alternative communications procedures that are more appropriate, and meet the parties’ collective regional operational needs.

D3 – Independent Balancing Authority (IBA) – is a term used to describe a balancing authority (The Balancing Authority (BA) definition is - the entity responsible for integrating resource plans ahead of time, for maintaining load-interchange-generation balance within a Balancing Authority Area, and for supporting Interconnection frequency in real time.  Since this is a definition, there is no standard number assigned.  I pulled this definition from the NAESB WEQ Coordinate Interchange Standards - WEQBPS - 002-000 document), as defined by NAESB WEQ Standard no [xx], that neither owns or contractually controls generation, is affiliated with generation, nor arranges fuel supply for the generation in its region.