INCORPORATION OF COMMENTS

- Comments on Baseline Business Practices (R04005-A)

  - Comments by Entergy

  - Comments by WE Energies

  - Comments by Hydro-Quebec TransEnergie

- Comments on Multiple Requests (R04006-B)

  - Comments by First Energy

  - Comments by Hydro-Quebec TransEnergie

  - Comments by Southern Company Bulk Power Operations

- Comments on Redirects (R04006-C)

  - Comments by First Energy

  - Comments by Southern Company Bulk Power Operations

  - Comments by WE Energies

  - Comments by Puget Sound Energy

- Comments on Baseline Business Practices (R04005-A)

  - Comments by Entergy

Submitted by:  Edward Davis

September 20, 2004

Entergy suggests that expansion of the Pro Forma Tarrif and OASIS requirements since the initial issuances make the following wording not specific to the provision of transmission service. Therefore, we suggest the following changes to the draft:

“Standard 1: Provision of Open Access Transmission Service. All transmission providers shall provide open access transmission service in accordance with the following requirements.

Applicability

Standard 1 applies to any public utility that owns, operates, or controls facilities used for the transmission of electric energy in interstate commerce and to transactions limited to the provision of open access transmission service performed under the pro forma tariff required under currently applicable regulations.”

Entergy suggests expanding the legitimate reasons for denying access to include the provision of false information, as follows:

  - Standard 3.1:  All entities or persons using OASIS shall register the identity of their organization (including DUNS number) or person at the OASIS Home Page at http://www.tsin.com.  Registration identification shall include the parent entity (if any) of the registrant.  Registration shall be a prerequisite to OASIS usage and renewed annually and whenever changes in identification occur and thereafter.  An entity or person not complying with this requirement or providing false information may be denied access by a transmission provider to that transmission provider’s OASIS node.

  - Comments by WE Energies

For all documents, definition of terms should be consistent with the NAESB Glossary and between documents. Inconsistencies were found in the definition of Affiliate, Transmission Customer, Firm Transmission, Non-firm Transmission, Point-to-Point Transmission Service, Network Service .

P. 10 of R04005-A, Standard 1.8 - A definition of "significant amount" is needed.

Thank you for the opportunity to comment.

Barb Kedrowski , Project Manager , We Energies

  - Comments by V. Bissonnette, Hydro-Quebec TransEnergie

HYDRO-QUÉBEC TRANSÉNERGIE COMMENTS

September 20, 2004

NAESB must prepare Business Standards that could apply internationally, meaning to Canadian entities also. This requires some adaptation work to this Recommendation.

The term "Commission" as defined in this Recommendation refers to FERC. That term should be replaced by "Appropriate Regulating Authority" (or some other term) and should be defined as the entity which has regulating authority over a given Transmission Provider. The whole document should then be revised with this international intent in mind (for example, this simplifies 1.5(f) that would then apply to "Appropriate regulating authorities staff" and the introduction to Standard 4.1 could be simplified to read only "All reservations and price…." Instead of "Consistent with FERC policy and regulations, all reservations and price…").

A Transmission Provider is not necessarily a "public utility". The definition should be broadened to include all possibilities and specify that it is used for those who provide Open Access to their electrical transmission System. As written the definition seems to encompass even systems which do not offer such access. The term "interstate" is also limiting regarding the international nature of a Business Standard. We also question that a Transmission Provider is not necessarily operating "interstate" even in the U.S. As a first try, the resulting definition for Transmission Provider could then read: "An entity that owns, operates or control facilities used for the transmission of electric energy and that offers open access transmission service over those facilities".

Submitted by Victor Bissonnette

Délégué commercial

Direction Commercialisation

Hydro-Québec TransÉnergie

II	Comments on Multiple Requests (R04006-B)

- Comments by First Energy

Denial of Service – the act of  intentionally or unintentionally  denying service to other OASIS customers by consuming OASIS cyber resources in such a way that OASIS performance is degraded and the market’s ability to operate is impeded.  (The name didn’t fit the definition.)

Queue Hoarding – this is the act, intentionally or unintentionally, of not confirming or withdrawing an accepted service request within the time limit specifed by the e-tag rules. .

Standard 8. Requirements for dealing with multiple, identical transmission service requests.

8.1 Denial of Service -  OASIS system administrators or Transmission Providers shall have the right to institute programs for the detection and mitigation of Denial of Service (DoS) events based on recognized standard industry practices. (the word attacks here implies an intentional event while the definition states a cause can be unintentional)

8.1.2 The Transmission Provider will have the right to suspend the user’s access to the OASIS system when it is determined that the user has casued two or more DoS events.

8.1.3 The user’s access to OASIS will be reinstated when they can demonstrate the problem that caused the DoS events has been corrected.

8.2.1 The Transmission Provider will have the right to suspend the user’s access to the OASIS system when it is determined that the user has casued two or more Queue Flooding events.

8.2.2 The user’s access to OASIS will be reinstated when they can demonstrate the problem that caused the Queue Flooding events has been corrected.

8.3.3 The Transmission Provider will have the right to suspend the user’s access to the OASIS system when it is determined that the user has casued two or more Queue Hoarding events.

8.3.4 The user’s access to OASIS will be reinstated when they can demonstrate the problem that caused the Queue Hoarding events has been corrected.

- Comments by Hydro-Quebec TransEnergie

Naesb weq recommendation r04006-B Oasis 1A Enhancements – Multiple Requests

Hydro-québec transénergie comments

November 5, 2004

The term "Commission" is defined as "the Federal Energy Regulatory Commission" and it is used only in "4. SUPPORTING DOCUMENTATION", Section d. Since the NAESB Standards should have an international intent, we propose to remove this definition and replace "Commission" by FERC (as is done elsewhere in the document) in this Section d.

Our comments on the definition of "Transmission Provider" stated for Recommendation R04005 also apply: A Transmission Provider is not necessarily a "public utility". The definition should be broadened to include all possibilities and specify that it is used for those who provide Open Access to their electric Transmission System. As written the definition seems to encompass even systems which do not offer such access. The term "interstate" is also limiting regarding the international nature of a Business Standard. We also question that a Transmission Provider is not necessarily operating "interstate" even in the U.S. As a first try, the resulting definition for Transmission Provider could then read: "An entity that owns, operates or control facilities used for the transmission of electric energy and that offers open access transmission service over those facilities".

Remove the "Responsible party", "Reseller" and "Wholesale merchant function" definitions as those terms are not used in the document.

Submitted by Victor Bissonnette

Délégué commercial

Direction Commercialisation Hydro-Québec TransÉnergie

- Comments by Southern Company Bulk Power Operations

Multiple Requests Southern Company Bulk Power Operations

Comments Submitted by: Southern Company’s Bulk Power Operations

Dated: 11/08/04; 3:56 PM via email

Redirects and Multiple Submissions

1) Standard 8, Section 8.3.2 references a time limitation imposed by the Transmission Provider in the event of Queue Hoarding. This restriction states “…in no event shall the TP impose such restrictions that would set the confirmation time limit to expire any earlier than 30 minutes before the pro forma scheduling deadline.” This restriction puts an undue burden on the TP’s and the TC’s to approve and accept the rest of the queued reservations within only a 30 minute window. The Business Practice Standards for OASIS Transactions (Order 638), Standard 4.13 already specifies timing requirements for OASIS requests.  Specifically in that standard, Table 4-2 Footnote 2 states “Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override preexemption deadlines.” This footnote already allows the TP to set the TC response deadlines to accommodate multiple reservation requests and yet minimize the impacts on scheduling deadlines due to queue hoarding. Therefore, the Southern Company transmission organization (“Southern Company Transmission”) recommends that the EC delete this confirmation time limit restriction (i.e., the last sentence in Section 8.3.2) from the standard.

2) Standard 9, Section 9.8.1 references a calculation for a default charge on a firm redirect and a default credit on the Parent Reservation, “if not addressed in the Transmission Provider’s tariff”. All tariff rate calculations are submitted by each Transmission Provider to FERC for approval and should not be addressed here. Southern Company Transmission suggests that the EC delete this section (9.8.1) in its entirety.

3) Standard 10, Section 10.1.5 needs to be reworded. As presently worded, the standard seems to imply that Transmission Providers might have to offer additional service increments of Secondary Point-to-Point service. Southern Company Transmission suggests that the EC revise the wording “...offered by the TP for Non-Firm Point-to-Point service." to “…offered by the TP for Non-Firm Secondary Point-to-Point service.” (emphasis added).

4) Standard 10, Section 10.5.3 references a “release” mechanism for Redirect on a Non-Firm basis. This proposed release mechanism has not yet been developed in support of this standard. Given the potential design complications that will likely arise in retrofitting a “release” mechanism into existing OASIS applications, as well as the likelihood of further automation requirements for verification of redirect capacity available on the Parent Reservation, Southern Company Transmission suggests that the EC consider a 6 months time frame for implementation of Standard 10.  Some reasonable implementation period is necessary for an orderly transition which allows a Transmission Provider to remain in compliance with all applicable standards at any point in time.

5) Standard 10, Section 10.5.3 needs additional clarification, with respect to the rights and obligations of the TC and TP concerning a request for “release” of a confirmed non-firm redirect reservation.  Some redundant wording can also be eliminated, in regard to the future use of the re-instated capacity on the Parent Reservation.  Southern Company Transmission suggests that Section 10.5.3 be revised as follows:

10.5.3 – The TC shall have the right to request the TP to release unscheduled capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all valid requests for release, and reinstate the released capacity to the Parent Reservation.

III.	Comments on Redirects (R04006-C)

- Comments by First Energy

- Definitions to be added to the OASIS Business Practice standard

Parent Reservation –  the original, existing, confirmed reservation being modified by a Transmission Customer’s request to redirect, reassign, resale, etc.

- Business Practices to be added to the OASIS Business Practice standard

- Standard 9. Requirements for dealing with Redirects on a Firm basis.

9.1 – The Transmission Customer (TC) shall have the right to request modifications to Points of Receipt and/or Points of Delivery (including source or sink, where required) on a firm basis for a Confirmed Point-to-Point Firm Transmission Service reservation (i.e., Parent Reservation) providing the original path of the transaction is utilized for the Redirect.   This will be referred to as a Redirect on a Firm basis.

9.1.3 - A request to Redirect on a Firm basis shall be queued and treated in the same manner as any other firm point to point request providing the original path of the transaction is maintained and subject to the other requirements of this standard.

9.1.5 – The TC shall not submit a request for a Redirect on a Firm basis that exceeds the Capacity Available for Redirect.

9.2 - The TC shall be allowed to request a Redirect on a Firm basis for a portion or all of the Capacity Available to Redirect, even if the transmission scheduling rights on the Parent Reservation have been limited due to outages or other reliability-related events. An example is shown in Appendix B.  (Ed – I am of the opinion that the request should be allowed, but a refusal should also be allowed if the request will worsen the reliability condition.  However, if a TP sold transmission on a firm basis the entity purchasing the transmission capacity should be able to use the capacity up to the limits provided by a firm reservation such that the TP may be required to shed firm load to load the schedule.  I think the bottom line here is that the TP sold transmission capacity that they didn’t have if they have to shed firm load to allow the transaction to go forward.)

9.4.2 - The TC shall be allowed to submit and have pending multiple requests for Redirects on a Firm basis up to and not exceeding the  Capacity Available to Redirect.  The TP shall evaluate the requests for Redirects in the order they are received and will confirm only the requests up to and not exceeding the Capacity Available to Redirect..  An example is shown in Appendix B.

9.5 - Upon confirmation of the request or requests to Redirect on a Firm basis, the Capacity Available to Redirect shall be reduced by the amount of the total of the redirected capacity for the time period of that Redirect.   An example is shown in Appendix B.

10.1.7 – The TC shall not submit a request for a Redirect on a non-Firm basis that exceeds the Capacity Available for Redirect.

10.4.2 - The TC shall be allowed to submit and have pending multiple requests for Redirects on a Non-Firm basis up to and not exceeding the  Capacity Available to Redirect. The TP shall evaluate the requests for Redirects in the order they are received and will confirm only the requests up to and not exceeding the Capacity Available to Redirect  An example is shown in Appendix B.

- Appendix B – Redirect Standards Examples

These examples need a lot of work.  They do not clearly represent the principles described in 9 and 10 above.  These examples would be clearer if they included the parent reservation prior to the redirect, the redirect, and then the effect of the redirect on the parent reservation.  Sort of a before and after or cause and effect view.

b.	Comments by Southern Company Bulk Power Operations

Dated: 11/08/04; 3:56 PM via email

Redirects and Multiple Submissions

1) Standard 8, Section 8.3.2 references a time limitation imposed by the Transmission Provider in the event of Queue Hoarding. This restriction states “…in no event shall the TP impose such restrictions that would set the confirmation time limit to expire any earlier than 30 minutes before the pro forma scheduling deadline.” This restriction puts an undue burden on the TP’s and the TC’s to approve and accept the rest of the queued reservations within only a 30 minute window. The Business Practice Standards for OASIS Transactions (Order 638), Standard 4.13 already specifies timing requirements for OASIS requests.  Specifically in that standard, Table 4-2 Footnote 2 states “Confirmation time limits are not to be interpreted to extend scheduling deadlines or to override preexemption deadlines.” This footnote already allows the TP to set the TC response deadlines to accommodate multiple reservation requests and yet minimize the impacts on scheduling deadlines due to queue hoarding. Therefore, the Southern Company transmission organization (“Southern Company Transmission”) recommends that the EC delete this confirmation time limit restriction (i.e., the last sentence in Section 8.3.2) from the standard.

2) Standard 9, Section 9.8.1 references a calculation for a default charge on a firm redirect and a default credit on the Parent Reservation, “if not addressed in the Transmission Provider’s tariff”. All tariff rate calculations are submitted by each Transmission Provider to FERC for approval and should not be addressed here. Southern Company Transmission suggests that the EC delete this section (9.8.1) in its entirety.

3) Standard 10, Section 10.1.5 needs to be reworded. As presently worded, the standard seems to imply that Transmission Providers might have to offer additional service increments of Secondary Point-to-Point service. Southern Company Transmission suggests that the EC revise the wording “...offered by the TP for Non-Firm Point-to-Point service." to “…offered by the TP for Non-Firm Secondary Point-to-Point service.” (emphasis added).

4) Standard 10, Section 10.5.3 references a “release” mechanism for Redirect on a Non-Firm basis. This proposed release mechanism has not yet been developed in support of this standard. Given the potential design complications that will likely arise in retrofitting a “release” mechanism into existing OASIS applications, as well as the likelihood of further automation requirements for verification of redirect capacity available on the Parent Reservation, Southern Company Transmission suggests that the EC consider a 6 months time frame for implementation of Standard 10.  Some reasonable implementation period is necessary for an orderly transition which allows a Transmission Provider to remain in compliance with all applicable standards at any point in time.

5) Standard 10, Section 10.5.3 needs additional clarification, with respect to the rights and obligations of the TC and TP concerning a request for “release” of a confirmed non-firm redirect reservation.  Some redundant wording can also be eliminated, in regard to the future use of the re-instated capacity on the Parent Reservation.  Southern Company Transmission suggests that Section 10.5.3 be revised as follows:

10.5.3 – The TC shall have the right to request the TP to release unscheduled capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all valid requests for release, and reinstate the released capacity to the Parent Reservation.

c.	Comments by WE Energies

Comments Submitted by:	Barb Kedrowski

Dated: 11/11/04, 1:21 PM

Below are We Energies' comments on the WEQ 2004 Annual Plan Item 2 - OASIS 1A Enhancements - Redirects (Comments in red, text from standard in blue):

Standard 10 - Requirements for dealing with Redirects on a non-firm basis:

Section 10.1.6 - Requests for redirects on a non-firm basis shall be submitted by the TC as pre-confirmed.

We Energies' comment:  Why must it be preconfirmed?  Would it be possible to set an acceptable time interval for redirect request confirmation that would allow requests to be submitted without being preconfirmed?  Sometimes deals are done that encompass more than one transmission provider.  If TLR's are in effect on one TP's jurisdiction, the deal falls apart.  If  the redirect request is preconfirmed and it has been confirmed by the TP, it is no longer of any use since one segment of the deal can't flow.

Section 10.5.1 - The TC shall not confirm any request to Redirect on a non-firm basis that would exceed the Capacity Available to Redirect at that point in time.  The TP shall have the right to block any such confirmation.

We Energies' comment:  If the TC can submit multiple redirect requests that are over the level of the parent request, how does the TC know if they have excluded the capacity available to redirect if the TP is evaluating multiple requests?

Sections 10.1.6 and 10.5.1

We Energies comment:  When looking at these sections together, if a TC must pre-confirm a request and can have multiple competing redirect requests that are being evaluated, when the TC "accepts" a request it will automatically be confirmed in violation of 10.5.1.  This then raises the question on how the TC would notify the TP which competing redirect request has priority if more than one are deemed Ok.  If the requirement for pre-confirmation is removed, then the TC would be able to determine which request they would prefer to confirm.

Section 4.b Description of Recommendation (Supporting Documentation)

We Energies' comment:  Use of the word "an" instead of the word "and" in the sentence:  "Only the primary transmission provider is in a position to make such an assessment and authorize the redirected service under the OATT."

Thanks,

Barb Kedrowski 
Project Manager 
We Energies

- Comments by Puget Sound Energy

- Comments Submitted by:  Susanne McFadden

- Puget Sound Energy Marketing

- Dated: 11/10/04; 5:21 PM

- REDIRECTS R04006-C

9.5.2 – The TC shall withdraw any request to Redirect on a Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED. (The TC should not have to go in and remove all the Accepted requests if the capacity to redirect is depleted.  TP’s OASIS should automatically supercede remaining requests.)

9.6.2 - Curtailments or other capacity reductions affecting the reserved capacity on the Redirect reservation shall not affect the Parent Reservation nor result in a reinstatement of capacity on the Parent Reservation. (…result in the automatic reinstatement… Should alos inclued “unless the TC submits a subsequent Redirect on a Firm Basis request”)

10.1.3 - A request to Redirect on a Non-Firm basis shall be queued and treated in the same manner as any other non-firm point to point request, subject to the other requirements of this standard. (What does this imply? The TC is requesting secondary point- to-point service, not non-firm point-to-point service.  It is a “as available” service subordinate to all other services (exception is Buy At Market))

10.1.6 – Requests for Redirects on a Non-Firm basis shall be submitted by the TC as pre-confirmed. (Why pre-confirmed? This limits a customer’s options.)

10.5 - Upon confirmation of the request to Redirect on a Non-Firm basis, the Capacity Available to Redirect shall be reduced by the amount of the redirected capacity for the time period of that Redirect. An example is shown in Appendix B.  (OATT says in 22.1(3) the TC shall retain all of their scheduling rights on the parent.  This statement limits the TC.)

10.5.1 – The TC shall not confirm any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect).  The TP shall have the right to block any such confirmation.

10.5.2 – The TC shall withdraw any request to Redirect on a Non-Firm basis that would exceed the Capacity Available to Redirect at that point in time (i.e., at the time of attempted confirmation and over the time interval of the Redirect). The TP shall have the right to withdraw their acceptance of any request to Redirect on a Non-Firm basis that cannot be confirmed due to limitations in the Capacity Available to Redirect by setting the OASIS standard STATUS data element to the value of SUPERSEDED. (The TC should not have to go in and remove all the Accepted requests if the capacity to redirect is depeleted.  TP’s OASIS should automatically supercede remaining requests.)

10.5.3 – The TC shall have the right to request the TP to release capacity associated with a confirmed request to Redirect on a Non-Firm basis and reinstate that capacity to the Parent (Firm) Reservation.  The TP shall honor all such requests, and reinstate the capacity on the Parent Reservation such that it may subsquently be scheduled, Redirected on a Firm or Non-Firm basis to a different path, resold, etc. (OATT says in 22.1 (3) the TC shall retain all of their scheduling rights on the parent.  This statement limits, the TC has to request to have their rights back.)

10.8 - TPs shall have the right, but are in no means obligated, to accept requests for Redirect on a Non-Firm basis based on the submission of an Electronic Tag (ETAG) using protocols compliant with Version 1.7.095 NERC Transaction Information System Working Group (TISWG) Electronic Tagging Functional Specification.  (If a TC can use E-Tag to request a Redirect on a Non-firm Basis, then the TC should also have the ability “release” capacity via E-Taf by referencing the parent reservation.)

10.8.5 - The OASIS queue time of a Redirect requested via ETAG shall be the TP’s ETAG Approval Service receipt time, unless a system failure requires the use of backup procedures, in which case the OASIS queue time shall be the time the ETAG is received by the TP. (How is the TP going to force the appearance and specified queue time into their OASIS?. How can this be comparable if some requests are on OASIS and other are off-OASIS)