via email

TO:	Interested Industry Participants

- FROM: 	Rae McQuade, NAESB President

RE:	NAESB Summary from the 3-31-05 Meeting of the Gas-Electric Interdependency Task Force

DATE:		April 5, 2005

Dear Gas-Electric Interdependency Task Force,

A meeting/conference call was held on March 31 to discuss the steps the GEIC should take to prepare for the June report to the FERC regarding energy day issues.  More extensive notes from the meeting should be available shortly.  The following notes resulted from the conference call.

| TOPIC | - NOTES |
| --- | --- |
| Opening Remarks: | - Ms. Kennedy read the antitrust advice, the agenda was adopted, and the members and observers introduced themselves. |
| Discussion Framework: | - The reason for the meeting was noted as the Board Committee determining how to best highlight the issues surrounding the gas-electric interdependencies – some of which are policy issues or are not related to standards development. - As the issues are identified, they should be classified as (1) requiring policy direction and decisions from regulatory agencies or other groups, (2) appropriate for review for NAESB standards development, (3) appropriate to be forwarded to NERC for consideration for reliability standards development, and (4) appropriate for review as regional issues. Other categorizations were discussed but could be collapsed into these 4 groupings. - The review of the effort underway by the Energy Day Subcommittee of NAESB and the progress to date by the NAESB GEIC was reviewed. - The need for the GEIC to prepare a portion of the report to be forwarded to the FERC in June was noted and supported. |
| Review of relationship to work already completed by NERC: | - The comparison to the work done by NERC and the seven recommendations approved by the NERC Board of Trustees on June 15, 2004 was highlighted. Much of the current NAESB energy day work underway at this time may be linked to one or more of these recommendations (Recommendations 2, 3 and 7). This should be stressed in the report to be drafted. - Recommendation 1 — NERC Regions should include in their regional assessment program a review of the impact of any fuel transportation infrastructure1 interruption that could adversely impact electric system reliability. - Recommendation 2 — NERC reliability coordinators or their delegates, subject to appropriate treatment of commercially sensitive information, should develop regular, real-time communications with pipeline operators about disturbances that could adversely impact the reliability of either the electric systems or the gas pipeline. - Recommendation 3 — For planning purposes, gas pipeline outages that could have an adverse impact on the reliability of the electric systems must be coordinated with the electric industry so that plans to mitigate any impacts to the electric systems may be developed. - Recommendation 4 — NERC should develop a reliability standard relating fuel infrastructure reliability to resource adequacy. - Recommendation 5 — NERC should include analysis of fuel infrastructure contingencies that could adversely impact the reliability of the electric systems in the NERC planning standards. - Recommendation 6 — NERC should establish a monitoring system that tracks fuel infrastructure contingencies that have, or could have, an adverse impact on electric system reliability. - Recommendation 7 — NERC should, in concert with other energy industry organizations, formalize communications between the electric industry and the gas transportation industry for the purposes of education, planning, and emergency response. 1 The focus of the GEITF was on gas transportation. However, interruptions to fuel delivery systems other than for gas could also have an adverse impact on electric system reliability. |
| Other points made in the discussion: | - The Energy Day subcommittee should include participants that are from the business development functions of the organizations to provide input and guidance on possible ways to address the communication issues. - Some of the issues may be regional in identification but more global in application. - Gas pipelines do not curtail according to end use, as do local distribution companies. Pipeline capacity curtailment is strictly based on contract. This may cause concerns in conditions of extreme unanticipated demand. - The disconnect between gas and electric markets now will become more evident in 2008-2010, and requires regional/state planning to ensure adequate gas access for gas-fired generators. Florida has done this level of planning. - The disconnect between the real time market timing and the timing for the day ahead service constructs, including gas nomination timelines, is problematic in conditions of unanticipated demand. - While there is strong gas-electric communication on a company to company basis to maintain the business functions of access to gas for gas-fired electric generation, a more uniform way of communication may add efficiency to the market. |
| Discussion Results: | Joel Dison and other participants summarized the points made and issues identified during the meeting as: - Gas-fired generators are not communicating well with the pipelines (read that: they either come online without nomination of pipeline capacity or because they don't take delivery of their gas nominations evenly across the 24 hour period, it causes operational issues for the pipelines). - Some gas fired generators will come online even when the pipeline tells them the pipeline cannot support their burns. - Generally speaking, burning gas without authorization and/or replacing the gas back into the pipeline timely is an issue. - The electric market designs allow generators to earn "capacity"credit without firm gas transportation and actually financially incent them NOT to buy firm transportation - yet the political realities do not take into account that this may result in fuel transportation unavailability. - The relative timelines of RTO markets and gas nominations creates a situation in which a generator can actually pay for FIRM gas transportation and yet only get lower-quality secondary service. - The ISO/RTO Council has expressed concern that NAESB should not alter their market timelines through standard development as this is a regional implementation – not a national concern. - On cold days (i.e. on peak gas consumption days) there is not enough interruptible transportation to meet the gas demand served through that type of transportation. - By statutory design, the gas industry builds pipelines and capacity based on FIRM contracts, not end use electric demand. - Pipelines cannot create pipeline reserve without contracts because: (a) no cost recovery, (b) dilutes the value of firm transportation market, and ( c) further encourages use of interruptible service (thus sending the wrong price signals to the market). - Gas LDC's purchase their own "reserve" capacity in the form of additional FIRM pipeline service, but electric regulators have not been willing to give electric utilities cost recovery for the same level of "reserve" transportation for a peaking generator. - Even if reserve capacity exists, pipeline tariffs are not flexible enough to create the necessary service products to match the operational requirements of peaking generators i.e., collect more than a firm approved tariff for a service that a peaking generator is willing to pay. - If society is not willing to pay for firm transportation for peaking capacity, then regulators may want to consider, at the state and local level, an emergency response program that determines whether - at times of peak gas demand - it is better to curtail electric demand or perhaps curtail other gas customers so that gas generators can be served for the "better social good." - Some pipelines may not break down the volumes at meters where there is more than one contract volume due to the confidential nature and market sensitivity of the information. This information may be necessary for grid operations where the gas is used for power generation. - In CAISO’s comments, they discussed having network of informed people who they could contact apparently any time. This may be applicable on other than a regional basis, such that all operating area should have “HOT LINES” between key offices within that that operating area and possibly adjoining connected areas to support informed and timely decision making. |
| Action Items: | - The task force should categorize the above issues in the following four groupings: (1) requiring policy direction and decisions from regulatory agencies or other groups, (2) appropriate for review for NAESB standards development, (3) appropriate to be forwarded to NERC for consideration for reliability standards development, and (4) appropriate for review as regional issues. - The task force should edit or add additional issues that were overlooked during the discussion. - A draft report should be prepared by the NAESB office and circulated for task force comment, and would include the issues, the categorization, the correlation to the NERC recommendations and the results from the Energy Day standards development. This report packaged with the Energy Day communications business practices would be reviewed and approved by the Board at its June 16th meeting prior to submittal to the FERC and other interested government agencies. - A meeting will be scheduled for late April to review the draft report/framework and comments received. |