via email and posting

TO:		NAESB WEQ Members and Interested Industry Participants

- FROM: 	DeDe Kirby, Meeting/Project Manager

RE:		Wholesale Electric Quadrant Request for Comments

DATE:		March 24, 2006

An industry comment period begins today, March 24, 2006, and ends on April 23, 2006 for one WEQ recommendation:

Recommendation R05007 (Review the NAESB WEQ "Version 0" business practice standards and remove any references to ERCOT)) - http://naesb.org/pdf2/r05007_rec.doc

All interested parties, regardless of membership status within NAESB are eligible to submit comments for consideration.  The WEQ Executive Committee will review this recommendation and consider it for vote as a NAESB Wholesale Electric Quadrant standard on May 9, 2006, and in that consideration will review all submitted comments.

All comments received by the NAESB office by end of business on April 23rd will be posted on the Home Page (http://www.naesb.org/request.asp) and forwarded to the WEQ EC members for their consideration.  If you have difficulty downloading the recommendation, please call the NAESB office at (713) 356-0060.  The recommendation is also attached for your convenience.

- Best Regards,

- DeDe Kirby

cc:  Rae McQuade, Executive Director

NAESB Wholesale Electric Quadrant Members as of March 24, 2006

| Organization | Segment | Contact | Sub-Segment |
| --- | --- | --- | --- |
| ACES Power Marketing LLC | m | Roy J. True | muni |
| Alabama Electric Cooperative, Inc. | d | Kenneth J. Skroback | muni |
| Ameren Services | m | Shawn Schukar | iou |
| American Electric Power Service Corp. | m | Barbara Radous Joseph Hartsoe Phil Cox | iou |
| American Electric Power Service Corp. | t | John Stough Michael Desselle | iou |
| American Municipal Power - Ohio, Inc. | d | Pat Frazier Chris Norton | muni |
| American Public Power Association | d | Allen Mosher | muni |
| American Transmission Company LLC | t | Julie Voeck | itc |
| Aquila, Inc. | g | Greg Emery | iou |
| Arizona Public Service Company | t | Mark W. Hackney | iou |
| Basin Electric Power Cooperative | g | Jason Doerr | muni |
| Basin Electric Power Cooperative | m | David Raatz | nd |
| Basin Electric Power Cooperative | t | Dan Klempel | muni |
| Bonneville Power Administration | d | Sydney D. Berwager | other |
| Bonneville Power Administration | g | Francis Halpin | fed |
| Bonneville Power Administration | m | Brenda Anderson | fed |
| Bonneville Power Administration | t | Barbara Rehman | fed |
| BP America Inc. | e | Jeanne Zaiontz | lind |
| Calpine Corporation | g | William Taylor Jim Stanton | merc |
| Central Electric Power Cooperative | d | Arthur Fusco | muni |
| ChevronTexaco Energy Research and Technology | e | Carol Guthrie | sgen |
| Cinergy | e | John Procario | enduse |
| Cinergy | g | Walt Yeager | iou |
| Cinergy | m | Walt Yeager | iou |
| Cleco Power, LLC | t | Keith Comeaux | iou |
| Comprehensive Energy Services | e | Jim Templeton | enduse |
| Conectiv Energy Supply, Inc. | g | Gloria Ogenyi | merc |
| Conectiv Energy Supply, Inc. | m | Gloria Ogenyi | iou |
| Consolidated Edison Company of New York, Inc. | t | Scott Butler | iou |
| Constellation Generation Group | g | Michael Gildea | merc |
| Consumers Energy Company | d | Andrew C. Dotterweich Frank Johnson | iou |
| Consumers Energy Company | g | Steven L. Gaarde Andrew C. Dotterweich John J. Dellas | iou |
| Dairyland Power Cooperative | t | Chuck Callies | muni |
| Department of the Interior, US Bureau of Reclamation | g | Deborah M. Linke | fed |
| Dominion Energy Marketing, Inc. | g | Louis Oberski | iou |
| Duke Energy Corp. | d | Ollie Frazier | iou |
| Dynegy Power Marketing, Inc. | g | Barry Huddleston | merc |
| Edison Electric Institute | n | David Owens Dave Dworzak | n |
| Edison Mission Marketing & Trading, Inc. | g | William Roberts | m |
| Electric Reliability Council of Texas (ERCOT) | n | Sam R. Jones Ray Giuliani | n |
| ElectriCities of North Carolina (North Carolina Eastern Municipal Power Agency) | g | Gregory Locke | muni |
| Electricity Consumers Resource Council (ELCON) | e | John Anderson John Hughes | lind |
| Empire District Electric Company, The | t | Bary K. Warren | iou |
| Energy East Management Corporation | t | Marjorie Perlman | iou |
| Entergy Services, Inc. | m | James M. (Jimmy) Smith | iou |
| Entergy Services, Inc. | t | Edward J. Davis John H. Zemanek Narinder Saini | iou |
| Exelon Corporation - PECO Energy | d | John McCawley | iou |
| Exelon Generation - Power Team | m | Jack Crowley | iou |
| ExxonMobil Gas Marketing | e | Steve Sayuk Mark Scheel Mark Ulrich | sgen |
| FirstEnergy Solutions Corp. | m | Edward C. Stein | iou |
| Florida Municipal Power Agency | d | Steven H. McElhaney | muni |
| Florida Municipal Power Agency | g | Robert C. Williams | muni |
| Florida Power & Light Company | m | Gerry Yupp Raleigh Nobles | iou |
| Florida Power & Light Company | t | Marty Mennes | iou |
| Florida Reliability Coordinating Council | t | Linda D. Campbell | at large |
| Georgia Transmission Corporation | t | Patrick McGovern Mark Temple | muni |
| Hydro - Quebec Transenergie | t | Victor Bissonnette | fed |
| Idaho Power Company | t | Robert Gumm | iou |
| Imperial Irrigation District | m | Kim M. Kiener Frank M. Barbera | muni |
| Imperial Irrigation District | t | Juan Carlos Sandoval Javier Esparza | muni |
| Indiana Muncipal Power Agency | g | Dick Foltz | muni |
| International Transmission Company | t | Jim D. Cyrulewski | itc |
| Maryland People's Counsel | e | Mike Tomczak | comres |
| Michigan Electric Transmission Company LLC | t | Charles V. Waits | itc |
| Michigan Public Power Agency | d | James R. Nickel Daniel E. Cooper | muni |
| Midwest Independent Transmission System Operator | n | William (Bill) Phillips | n |
| Minneapolis Consulting Group | e | Mike Prickett | enduse |
| Missouri River Energy Services | d | Brian Zavesky | muni |
| Modesto Irrigation District | t | Roger Van Hoy | muni |
| National Association of Regulatory Utility Commissioners | e | Lou Ann Westerfield | reg |
| National Grid USA | t | Herbert Schrayshuen Peter Flynn Mary Ellen Paravalos | itc |
| National Rural Electric Cooperative Assoc. | d | Barry Lawson | muni/coop |
| Navigant Consulting, Inc. | m | Richard G. Smead | at large |
| New York State Dept. of Public Service | e | William Heinrich | reg |
| New York State Reliability Council | d | P. Donald Raymond | at large |
| North American Electric Reliability Council (NERC) | d | Donald M. Benjamin Larry Kezele Tom Vandervort Bill Blevins | at large |
| North Carolina Electric Membership Corporation | d | David Beam | muni |
| North Carolina Electric Municipal Power Agency #1 | d | Andrew Fusco | muni |
| North Carolina Electric Municipal Power Agency #1 | m | Clay A. Norris | muni |
| Northeast Utilities Service Company | t | David Boguslawski Calvin A. Bowie | iou |
| Oglethorpe Power Corporation | g | Billy Ussery | muni |
| Ohio Consumers Council | e | Randy Corbin | comres |
| Ontario Power Generation | g | Barry Green | merc |
| Ontario Power Generation | m | Ron Robinson | niou |
| Open Access Technology International, Inc. | e | Kevin Burns | at large |
| Open Access Technology International, Inc. | t | Paul R. Sorenson | at large |
| Otter Tail Power Company | t | Daryl Hanson Larry Larson | iou |
| PacifiCorp | g | Greg Maxfield | iou |
| PacifiCorp | m | Edison G. Elizeh | iou |
| PacifiCorp | t | Jim Hicks Mark Maher | iou |
| PHI Power Delivery | t | Ken Gates | iou |
| Platte River Power Authority | t | Terry L. Baker | muni |
| Portland General Electric | m | Terri Peschka | iou |
| PPL Electric Utilities Corporation | t | Ray Mammarella | iou |
| Progress Energy | t | Verne Ingersoll Phillip W. Lewis | iou |
| Progress Energy (Regulated) | m | James Eckelkamp | iou |
| PSEG Energy Resources and Trade LLC | m | James D. Hebson | iou |
| PSEG Power LLC | g | Thomas M. Piascik | merc |
| Public Service Electric and Gas Company | d | Colin J. Loxley | iou |
| Public Service Electric and Gas Company | t | Jeffrey C. Mueller | iou |
| Puget Sound Energy, Inc. | t | George Marshall Bob Harshbarger | niou |
| Qualedi, Inc | g | Stephen A. Morocco | at large |
| Sacramento Municipal Utility District | d | Robert D. Schwermann | muni |
| Sacramento Municipal Utility District | g | Thomas Ingwers | muni |
| Salt River Project Agricultural Improvement and Power District | d | Wendy Weathers Mark B. Bonsall | other |
| Salt River Project Agricultural Improvement and Power District | t | Steve Cobb | fed |
| Seminole Electric Cooperative, Inc. | g | Lane Mahaffey | muni |
| South Carolina Electric & Gas Company | t | S. Porcher Stoney | iou |
| Southeastern Power Administration | g | Bob Goss | fed |
| Southern California Edison | t | Weston Williams | iou |
| Southern California Edison Company | g | Thomas Watson | iou |
| Southern Company Services, Inc. | d | Gary Rozier Mark Crosswhite Greg Butrus | iou |
| Southern Company Services, Inc. | g | Roman Carter | iou |
| Southern Company Services, Inc. | m | Joel Dison | iou |
| Southern Company Services, Inc. | t | R.D. (Dean) Ulch John Lucas James Y. Busgin Rebecca Martin | iou |
| Southwest Power Pool | n | Carl Monroe | n |
| Southwest Transmission Cooperative, Inc. | t | Larry D. Huff | muni |
| Southwestern Power Administration | t | Stanley L. Mason | fed |
| SUEZ Energy Marketing NA, Inc. | m | Ken Lackey Cesar Seymour | niou |
| Sunflower Electric Power Corporation | t | L. Earl Watkins | muni |
| Tenaska, Inc. | g | Scott Helyer | merc |
| Tennessee Valley Authority | d | Cindy Herron CH Asst. (Dawn Arnorld) | other |
| Tennessee Valley Authority | g | Kathy York | fed |
| Tennessee Valley Authority | m | Clyde Harmon | fed |
| Tennessee Valley Authority | t | Mitchell Needham W. Terry Boston | fed |
| TRANS-ELECT, INC. | t | Paul D. McCoy | itc |
| Tri-State Generation and Transmission Association, Inc. | t | Bruce Sembrick | muni |
| TXU Electric Delivery | t | Ellis Rankin Debbie McKeever | iou |
| TXU Energy | m | Elizabeth Howland Mike Grim | niou |
| UBS Energy LLC | m | Suzanne Calcagno | niou |
| Vermont Public Power Supply Authority | g | William J. Gallagher | muni |
| We Energies (Wisconsin Electric) | d | Linda Horn | iou |
| We Energies (Wisconsin Electric) | g | James R. Keller | iou |
| Western Area Power Administration | m | Jeffrey Ackerman | fed |
| Western Area Power Administration | t | Mark Fidrych | fed |
| Western Electricity Coordinating Council (WECC) | t | Michael Wells Louise McCarren | at large |
| Williams Power Company | g | Ron Mucci | at large |
| Wisconsin Public Power Inc. | d | Mike Stuart | muni |
| Wisconsin Public Service Corporation | g | William Bourbonnais Charles W. Severance Neal Balu | iou |
| Xcel Energy Inc. | m | Steven J. Beuning | iou |

1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

X   Accept as requested			   x  Change to Existing Practice

Accept as modified below			      Status Quo

Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:					Per Recommendation:

Initiation					      Initiation

Modification					      Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

Principle 					      Principle

Definition 					      Definition

x   Business Practice Standard 			 X   Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 					      Code Value

X12 Implementation Guide			     X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

Adopt modifications made to the “Version 0” WEQ Business Practices to remove references to ERCOT where applicable.

SUMMARY:

- In April 2005, the Electric Reliability Council of Texas (ERCOT) submitted a request to NAESB to remove “ERCOT” references from the NAESB WEQ standards (referred to as “Version 0”).  During discussions in the WEQ BPS, it was identified that certain “ERCOT” references should remain.  Modifications were made to the following business practices: Manual Time Error Correction Standards (WEQBPS-006) and Inadvertent Interchange Payback Standards (WEQBPS-007).  No changes were made to Area Control Error (ACE) Equation Special Cases Standards (WEQBPS-005), Transmission Loading Relief (Eastern Interconnection Standards) (WEQBPS-008), or Coordinate Interchange Standards (WEQBPS-004).

- ERCOT representatives agreed with making no changes to WEQBPS-005 and WEQBPS-008 and agreed to direct requested changes to Coordinate Interchange Business Practice R05001 when it was posted for its formal 30 day comment period.  The following is a summary of the detailed changes:

- Area Control Error (ACE) Equation Special Cases Standards (WEQ-005):  The first and only reference to ERCOT was found in the definition of “Interconnection.”  ERCOT representatives agreed that this reference should remain.

- Manual Time Error Correction Standards (WEQ-006) (please see attachment below for redlines)  The reference to “ERCOT” in the definition of “Interconnection” was kept.  References to “ERCOT” in the timing table under requirement 006-5 were deleted.  ERCOT already included this information in its local procedure standards.

- Inadvertent Interchange Payback Standards (WEQ-007) (please see attachment below for redlines to appendix A “Inadvertent On and Off Peak Periods”)  The reference to “ERCOT” in the definition of “Interconnection” was kept.  The references to “ERCOT” were deleted from the on and off peak table under appendix A “Inadvertent On and Off Peak Periods.”  It was agreed in the BPS that this timing table did not apply to ERCOT.

- Transmission Loading Relief (Eastern Interconnection Standards) (WEQ-008) The only reference in the standard is included in the definition of “Interconnection.”  Therefore, no changes were made to TLR.

Coordinate Interchange Standards (WEQ-004).  The BPS directed ERCOT to direct any changes in comment form when Recommendation R05001 (Coordinate Interchange) is posted for its formal 30 day comment period.  R05001 is an updated modified version of Coordinate Interchange that incorporates the Version 0 changes – therefore, the proper venue for these changes is to Recommendation R05001.

Recommended Standards:

Please see below attachment.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

Review the NAESB WEQ business practice standards that address coordinate interchange (WEQBPS-002-000), area control error (ACE) special cases (WEQBPS-003-000), manual time error correction (WEQBPS-004-000), inadvertent interchange payback (WEQBPS-005-000), and transmission loading relief (Eastern Interconnection) (WEQBPS-006-000) and remove any references to the Electric Reliability Council of Texas (ERCOT).  The above-referenced NAESB WEQ standards are generally referred to as the ‘Version 0’ standards.

In 2004, NAESB and the North American Electric Reliability Council (NERC) initiated a process to review the current NERC Operating Policies and develop two sets of ‘Version 0’ standards for the industry – NERC reliability standards and NAESB business practice standards.  NAESB’s ‘Version 0’ standards are a translation of the business practice aspects of the NERC Operating Policies.  References to ERCOT that were contained in the NERC Operating Policies were maintained during the translation, and those references should be removed from the NAESB ‘Version 0’ standards.  Removing references to ERCOT is appropriate because ERCOT has its own standards and procedures that are under the exclusive jurisdiction of Texas regulatory authorities and ERCOT governance structure.  NAESB standards reports to the Federal Energy Regulatory Commission (FERC) should not include references to ERCOT standards because the FERC does not have regulatory jurisdiction over ERCOT.

b.  Description of Recommendation:

See above.

c.  Business Purpose:

To remove “ERCOT” references from the Version 0 WEQ Business Practices where applicable.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

The following minutes provide additional commentary:

| WEQ BPS Meeting Date | Minutes |
| --- | --- |
| February 7-8, 2006 | Final Minutes |
| February 22, 2006 | Final Minutes |
| March 10, 2006 | Final Minutes |

007-A	Appendix A

Inadvertent Interchange On and Off Peak Periods

## 1.	On-Peak and Off-Peak Hours (Monday Through Sunday)

On and Off-Peak designation. The hourly inadvertent energy created by a Balancing Authority is classified as either On-Peak or Off-Peak inadvertent. The peak designation assigned is a function of hour of day, day of week, time zone, prevailing time (standard or daylight savings), and special holiday status.

Daylight Saving Time. The On-Peak to Off-Peak and Off-Peak to On-Peak boundary hours are unaffected by transitions to or from daylight savings time. If a Balancing Authority remains on either standard or daylight savings time throughout the year, their inadvertent accounting practices shall use prevailing time.

On-peak hours. Each Interconnection has a reference time zone and standardized On-Peak and Off-Peak periods. On-Peak periods are summarized in the table below for each Interconnection. Sundays and special holidays are designated to be Off-Peak periods for the entire day. Hours for Monday through Saturday that are not shown in the table below are also designated as Off-Peak hours.

## 2.	On-Peak Hours For Monday Through Saturday In Hour-Ending Format

| Interconnection | Reference Time Zone | Hour Ending |  |
| --- | --- | --- | --- |
|  |  | From | To |
| Eastern | Central | 0700 | 2200 |
| Western | Pacific | 0700 | 2200 |

## 3.	Off-Peak Holidays for the Eastern and Western Interconnections

There are six identified U.S. holidays each year:

New Year’s Day

Memorial Day

Independence Day

Labor Day

Thanksgiving Day

Christmas Day

If any of these holidays fall on a Sunday, the following Monday will be considered an Off-Peak day. Otherwise, the Off-Peak day will be the holiday itself.

Manual Time Error Correction

Purpose:

Interconnection frequency is normally scheduled at 60.00 Hz and controlled to that value. The control is imperfect and over time the frequency will average slightly above or below 60.00 Hz resulting in mechanical electric clocks developing an error relative to true time. This Standard specifies the procedure to be used for reducing the error to within acceptable limits of true time.

Applicability:

Balancing Authorities, Interconnection Time Monitor

006-0	Definitions:

Balancing Authority (BA) – The entity responsible for integrating resource plans ahead of time, maintaining load-interchange-generation balance within a Balancing Authority Area, and supporting Interconnection frequency in real time.

Balancing Authority Area - An electrical system bounded by interconnection (tie-line) metering and telemetry, where the Balancing Authority controls (either directly or by contract) generation to maintain its Interchange Schedule with other Balancing Authority Areas and contributes to frequency regulation of the Interconnection.

Frequency Bias Setting - A value, in MW/0.1 Hz, set into a Balancing Authority’s AGC equipment to represent a Balancing Authority’s response to a frequency deviation.

Interchange Schedule - The planned energy exchange between two adjacent Balancing Authorities.

Interconnection – Any one of the three major electric system networks in North America: Eastern, Western, and ERCOT.

Interconnection Time Monitor – An entity that monitors Time Error and initiates and terminates Time Error Corrections.

Leap Second - A Leap Second is a second of time added to Coordinated Universal Time to make it agree with astronomical time to within 0.9 seconds. Historically, Leap Seconds are implemented as needed on June 30th or December 31st. (National Institute of Standards and Technology)

Time Error – Accumulated time difference between time based on Interconnection frequency and the National Bureau of Standards time.

Time Error Correction - An offset to the Interconnection’s scheduled frequency to correct for accumulated Time Error.

WECCNet – a messaging system used by the Western Electric Coordinating Council (WECC) for use by participating utility’s dispatchers and network administrators.

Business Practices Requirements:

006-1	Each Balancing Authority shall participate in Time Error Correction  unless it is operating      asynchronously to its Interconnection.

006-1.1	Balancing Authorities operating asynchronously who establish their own time error control bands, shall notify the Interconnection Time Monitor of the bands being utilized, and shall also provide notification if they are changed.

006-2	An Interconnection Time Monitor shall exist for each Interconnection.

006-3	The Interconnection Time Monitor shall calibrate its time error device at least annually against the National Bureau of Standards time.

006-4	Time Error initiation. Time error corrections shall start and end on the hour or half-hour, and notice shall be given at least one hour before the time error correction is to start or stop. Time Error corrections shall last at least one hour, unless terminated by a Reliability Coordinator. Time Error corrections for fast time shall not be initiated between 0400-1100 Central Time. All Balancing Authorities within an Interconnection shall make all Time Error corrections directed by the Interconnection Time Monitor for its Interconnection. All Balancing Authorities within an Interconnection shall make Time Error Corrections at the same rate.

006-5	Interconnection time monitoring. Each Interconnection Time Monitor shall monitor time error and shall initiate or terminate corrective action orders according to the following table:

| ### Time (seconds) | Initiation |  |  | Termination |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | East | # West |  | East | West |  |
| Slow | 10 | 2 |  | 6 | 0.5 |  |
| Fast | +10 | +2 |  | +6 | 0.5 |  |

006-6	Time Error Correction labeling. Time error correction notifications shall be labeled alphabetically on a monthly basis (A-Z, AA-AZ, BA-BZ,…).

006-7	Time correction offset. Each Balancing Authority, when requested, shall participate in a Time Error Correction by one of the following two methods:

006-7.1	Frequency offset. The Balancing Authority may offset its frequency schedule in accordance to the directives of the Interconnection Time Monitor, leaving the Frequency Bias Setting normal,

006-7.2	Schedule offset. If the frequency schedule cannot be offset as directed by the Interconnection Time Monitor, the Balancing Authority may offset its net Interchange Schedule (MW) by an amount equal to the computed bias contribution during an equivalent frequency deviation`.

006-8	Interconnection Time Error notification. On the first day of each month, the Interconnection Time Monitor shall issue a notification of time error accurate to within 0.01 second to all Reliability Coordinators within the Interconnection to assure uniform calibration of time standards.

006-9	Western Interconnection time error notification. Within the Western Interconnection,  the Interconnection Time Monitor shall provide the accumulated time error (accurate to within 0.001 second) to all Balancing Authorities on a daily basis at 1400 PDT/PST using the WECCNet. The alphabetic designator shall accompany time error notification if a time error correction is in progress.

006-10	After the premature termination of a manual time correction, a slow time correction can be reinstated after the frequency has returned to 60 Hz or above for a period of ten minutes. A fast time correction can be reinitiated after the frequency has returned to 60 Hz or lower for a period of ten minutes. At least one hour shall elapse between the termination and re-initiation notices.

006-11	Time correction on reconnection. When one or more Balancing Authorities have been separated from the Interconnection, upon reconnection, they shall adjust their time error devices to coincide with the time error of the Interconnection Time Monitor. The Balancing Authorities shall notify the Interconnection Time Monitor they are ready to receive the necessary adjustment to time error as soon as possible after reconnection.

006-12	Leap Seconds. Balancing Authorities using time error devices that are not capable of automatically adjusting for Leap Seconds shall arrange to receive advance notice of the Leap Second and make the necessary manual adjustment in a manner that will not introduce an improper Interchange Schedule into their control system.