To:		NAESB Wholesale Electric Quadrant Members

From:		WEQ Executive Committee

Subject:	Minor Correction to NAESB TLR Business Practice Standards adopted in Final Action R06002

Date:		May 8, 2007

3.6.2.3 The Reliability Coordinator shall curtail or reallocate Interchange Transactions utilizing Firm Transmission Service and ask for relief from the Transmission Provider’s Native Load and untagged Network Integration Transmission Service as identified in requirement 3.6.2.2 to allow the start of additional Interchange Transactions utilizing Firm Transmission Service provided those transactions were submitted in accordance to the NERC-approved tag submission deadline for Reallocation during TLR level 5a