1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

Accept as requested				  X  Change to Existing Practice

X  Accept as modified below			      Status Quo

Decline

2.  TYPE OF MAINTENANCE

Per Request:					Per Recommendation:

Initiation					  X  Initiation

Modification					      Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

Principle (x.1.z)				      Principle (x.1.z)

Definition (x.2.z)				  X  Definition (x.2.z)

Business Practice Standard (x.3.z)		  X  Business Practice Standard (x.3.z)

Document (x.4.z)				      Document (x.4.z)

Data Element (x.4.z)				      Data Element (x.4.z)

Code Value (x.4.z)				      Code Value (x.4.z)

X12 Implementation Guide			      X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:

Add the following NAESB WEQ and NAESB WGQ Definitions:

D1, D2, D3

Add the following NAESB WEQ and NAESB WGQ Standards:

S1B, S2X, S3X, S7X, S16

Add the following NAESB WEQ Standards:

S13, S15

Add the following NAESB WGQ Standard:

S14

STANDARDS LANGUAGE:

Proposed NAESB WEQ and WGQ Definition:

D1	Power Plant Operator is the term used to describe the entity that has direct control over the gas requirements (e.g., burn rates) for a natural gas-fired electric generating facility(ies) and is responsible for coordinating natural gas deliveries with the appropriate Transportation Service Provider(s) to meet those requirements.  This definition applies to NAESB WEQ Standard Nos. [D2, S1B, S2X, S3X, S7X, S13, and S15, ] and NAESB WGQ Standard Nos. [D2, S1B, S2X, S3X, S7X, S14,].

Proposed NAESB WEQ and WGQ Definition:

D2	A Power Plant Operator’s Facility is the term used to describe the natural gas-fired electric generating unit(s) under the direct control of the Power Plant Operator.  This definition applies to NAESB WEQ Standard Nos. [S2X, S3X, and S7X] and NAESB WGQ Standard Nos. [S2X, S3X, and S7X].

Proposed NAESB WEQ and WGQ Definition:

D3	Balancing Authority is the term used by the Wholesale Electric Quadrant to describe the entity responsible for integrating electric resource plans ahead of time, for maintaining electric load-interchange-generation balance within its metered boundaries, and for supporting electric interconnection frequency in real time.  This definition applies to NAESB WEQ Standard Nos. [S15].

Proposed NAESB WEQ and WGQ Definition:

D4	Essential Non-Conforming Nomination is the term used to describe a request by a PPO, in the event it identifies a need, to schedule gas outside of the standard NAESB WGQ standard nomination timeline and scheduling processes or as permitted by the TSP’s tariff and/or general terms and conditions, and/or contract provisions.  Essential Non-Conforming Nominations may be submitted by the PPO between 6:00 p.m. and 8:00 p.m. CST and no later than one hour prior to the end of the Gas Day. This definition applies to NAESB WEQ Standard Nos. [S1B, S2X, S3X, S7X] and NAESB WGQ Standard Nos. [S1B, S2X, S3X, S7X]

#### Proposed NAESB WEQ and WGQ Standard:

S1B	The Transportation Service Provider (TSP) / Power Plant Operator (PPO) communication standards set forth in NAESB WEQ Standard Nos. [D1, D2, D3, D4, S1B, S2X, S3X, S7X, S13, S15,] and NAESB WGQ Standard Nos. [D1, D2, D3, D4, S1B, S2X, S3X, S7X, S14, and] do not convey any rights or services beyond or in addition to those contained in the TSP’s tariff and/or general terms and conditions and/or do not impose any obligations that would otherwise be inconsistent with FERC regulations, including affiliate code of conduct requirements.  These communication standards should be used in addition to the NAESB WGQ standard nomination timeline and scheduling processes for the TSP’s contract / tariff services.  In the event of a conflict between any of these communication standards and the TSP’s tariff or general terms and conditions, the latter will prevail.

Proposed NAESB WEQ and WGQ Standard:

S2X	The Power Plant Operator (PPO) and the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies) should establish, to the extent not already in place,procedures to communicate material changes in circumstances that may impact the natural gas supply required to maintain the necessary level of operation of the Power Plant Operator’s Facility.  .

Proposed NAESB WEQ and WGQ Standard:

S3X	This standard applies to a Power Plant Operator (PPO) and the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies) subject to NAESB WEQ Standard No. [S1B] and NAESB WGQ Standard No. [S1B].  A PPO should not operate without an approved schedule pursuant to the NAESB WGQ standard nomination timeline and scheduling processes or as permitted by the TSP’s tariff and/or general terms and conditions, and/or contract provisions, except as provided for in this standard.  In the event that a PPO identifies the need to submit an Essential Non-Conforming Nomination  , the PPO should provide to the TSP the information as required pursuant to the TSP’s tariff, general tariff terms and conditons, contract provisions, business practices, and/or information as established in the TSP’s and PPO’s communication procedures.  The PPO and the TSP should work together to resolve the PPO’s request in a timely fashion.  The resolution of the PPO’s Essential Non-Conforming Nomination should be based upon whether or not it can be accommodated in accordance with the contract provisions, business practices, or other similar provisions, and without materially and adversely impacting other scheduled servicesno-notice services, firm contract requirements, and/or general system operations.  Where the TSP determines that it is feasible to confirm the PPO’s Essential Non-Conforming Nomination without additional communications, none are required.

Proposed NAESB WEQ and WGQ Standard:

S7X	Subject to NAESB WEQ Standard No. [S1B] and NAESB WGQ Standard No. [S1B], when engaging in communications described in NAESB WEQ Standard Nos. [S2X and S3X] and NAESB WGQ Standard Nos. [S2X and S3X]:

The Power Plant Operator (PPO) should communicate with the Transportation Service Provider (TSP) that is directly connected to the PPO’s Facility(ies) (Directly Connected TSP).  To the extent that  the Directly Connected TSP requires that the upstream delivery entity(ies)needs to makes changes to support the PPO’s Essential Non-Conforming Nomination, the PPO should cause  the upstream delivery entity(ies) to deliver to the TSP the required quantities and ensure that the conformation of such delivery by the upstream delivery entity(ies) be communicated to the TSP in a timely fashion.

Conditioned upon the ability of such TSP(s) to confirm the PPO’s Essential Non-Conforming Nomination  based on conditions at the time of the request, as well as the ability of the supplier(s) to effect any required changes necessary, the TSP(s) should confirm or deny the PPO’s Essential Non-Conforming Nomination in a timely fashion .

- These procedures will govern such communications unless the applicable parties mutually agree to create alternative communication procedures that are more appropriate.

Proposed NAESB WEQ Standard:

S13	The Regional Transmission Organizations, Independent System Operators, independent transmission operators, and/or Power Plant Operators should sign up to receive operational flow orders and other critical notices from the appropriate gas Transportation Service Provider(s), pursuant to NAESB WGQ Standard Nos. 5.2.2, 5.3.35, and 5.3.37, unless the party(ies) needing the information has arranged to receive it through an alternative communication process(es).

Proposed NAESB WGQ Standard:

S14	Upon request, a Transportation Service Provider should provide Regional Transmission Organizations (RTO), Independent System Operators (ISO), any other appropriate independent transmission operators (ITO), and Power Plant Operators (PPO) with access to receive notification of operational flow orders and other critical notices through the RTO / ISO / ITO / PPO’s choice of Electronic Notice Delivery mechanism(s) as set forth in NAESB WGQ Standard Nos. 5.2.1, 5.2.2, and 5.3.35 – 5.3.38.

Proposed NAESB WEQ and WGQ Standard:

S15	Regional Transmission Organizations (RTOs), Independent System Operators (ISOs), other independent transmission operators (ITOs), and/or independent Balancing Authorities (BAs) should establish operational communication procedures with the appropriate gas Transportation Service Provider(s) (TSP) and/or Power Plant Operator(s).  These procedures should be invoked when either:

- the RTOs, ISOs, ITOs, and/or independent BAs anticipate conditions that could create a substantial risk for the electric generation capacity to be insufficient to meet near-term electric demand which may be alleviated by gas-fired generation; or,

- the TSP anticipates conditions that could create a substantial risk for the gas system to be insufficient to meet near-term gas demand.

Training on and testing of such communication procedures should occur periodically. These procedures will govern such communications unless the applicable parties in the gas and electric industry mutually agree to create alternative communication procedures that are more appropriate and meet the parties’ collective regional operational needs.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

Develop standards for the daily operational communications between pipelines and power plants. These communications standards would include anticipated power generation fuel requirements for the upcoming day as well as notification anytime plans change.  Likewise standards for pipeline communications for any operating problems that might hinder power plants from receiving required contractual quantities when needed would be developed.

These standards would be used for operational communications between power plants and pipelines.

b.  Description of Recommendation:

Triage Subcommittee

See the Triage Subcommittee results for the supporting documentation, discussion, and voting records for the following date:

08/31/2004

Executive Committee

See the Executive Committee final minutes and transcript for the supporting documentation, discussion, and voting records for the following date:

08/31/2004

Business Practices Subcommittee

See the Business Practices Subcommittee (BPS) meeting minutes and attachments for the supporting documentation, discussion, and voting records for the following dates:

12/01-02/2004

01/24-25/2005

Executive Committee

See the Executive Committee final minutes and transcript for the supporting documentation, discussion, and voting records for the following date:

02/08/2005

Business Practices Subcommittee

See the Business Practices Subcommittee (BPS) meeting minutes and attachments for the supporting documentation, discussion, and voting records for the following dates:

02/09-10/2005

03/01-02/2005

03/21-22/2005

04/06-07/2005

04/18-19/2005 (draft)

04/25-26/2005 (draft)

c.  Business Purpose:

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):