|  | Order 890 Work Plan |  |  |  |
| --- | --- | --- | --- | --- |
| Order Cite | Action Item/Work Plan | Action Item Home | Target Dates | Status |
| ATC GROUP ASSIGNMENTS (ESS/ITS and BPS) |  |  |  |  |
| 243, 244, 246 | - Business Practice Standards complementary to NERC Reliability Standards for Existing Transmission Commitment (ETC) to create a “consistent approach for determining the amount of transfer capability a transmission provider may set aside for its native load and other committed uses”, including the elements of ETC for full implementation of the NERC MOD-001 reliability standard* - Paragraphs 243, 244, and 246 will require coordination with the NERC Order 890 reliability standards development - *Posting requirements for ETC assigned to ESS/ITS (see 2008 AP 2(a)(vi)(4) and Order 890 WP, Group 6) - Order 890-A: - 63. The Commission also found that inclusion of all requests for transmission service in ETC would likely overstate usage of the system and understate ATC. The Commission therefore found that reservations that have the same point of receipt (POR) (generator) but different point of delivery (POD) (load), for the same time frame, should not be modeled in the ETC calculation simultaneously if their combined reserved transmission capacity exceeds the generator’s nameplate capacity at the POR. The Commission directed public utilities, working through NERC, to develop requirements in MOD-001 that lay out clear instructions on how these reservations should be modeled. The Commission also concluded that some elements of ETC are candidates for business practices instead of reliability standards and directed public utilities, working through NAESB, to develop business practices necessary for full implementation of the MOD-001 reliability standard. - 151. We decline to impose additional posting requirements regarding ETC uses, as requested by EPSA and Powerex. In Order No. 890, the Commission required transmission providers to make available all data used to calculate ATC for constrained paths and any system planning studies or specific network impact studies performed for customers. This would include information regarding ETC uses, including grandfathered agreements, that affect ATC calculations or study results. EPSA and Powerex fail to demonstrate that it is necessary to require the posting of additional information regarding ETC uses to verify the accuracy of the transmission provider’s ATC calculations. We note in response to Powerex that, if any new service taken upon expiration of a pre-Order No. 888 contract, the terms and conditions of the transmission provider’s OATT would apply. | WEQ 2008 Annual Plan Item 2(b)(ii)(1) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: July, 2008 RATIFICATION: August, 2008 | The NAESB ESS/ITS and BPS are working to draft complementary business practices to the NERC MOD028, MOD029, and MOD030, which includes ETC. The NERC team has determined that there is not a need for explicit posting of ETC values; the ESS/ITS and BPS supports the decision. ESS/ITS/BPS will look at the NERC MODs to determine if additional business practices are needed for ETC components. |
| 293 | - Business practice standards for accounting for counterflows. These standards will be included in the ATC business practice standards (Paragraph 293 will require coordination with the NERC Order 890 reliability standards development) | WEQ 2008 Annual Plan Item 2(b)(ii)(2) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: July, 2008 | The ESS/ITS and BPS have created a list of items that are considered post-backs to be used in the creation of post back requirements. NERC has requested that NAESB practices address post-back requirements. (8/16/07) On March 11-12, 2008, the ESS/ITS and BPS passed motions to define high level concepts for counterflows and post backs. Draft standards are being developed by sub-teams. Subcommittee voted recommendation for counterflows and Postbacks out of subcommittee on May 15, 2008 |
| 257 | - Capacity Benefit Margin (CBM) Business Practices - Business practice standards to set forth “how the CBM value shall be determined, allocated across transmission paths, and used” and how transmission providers will “reflect the set-aside of transfer capability as CBM in the development of the rate for point-to-point transmission service.” (Paragraph 257 will require coordination with the NERC Order 890 reliability standards development) - Order 890-A: - 68. The Commission directed public utilities, working through NERC and NAESB, to develop clear standards and business practices for how the CBM value is determined, allocated across transmission paths and flowgates, and used. To ensure that CBM is used for its intended purpose, the Commission provided that CBM shall only be used to allow an LSE to meet its generation reliability criteria. The Commission rejected requests to allow CBM to be used to meet reserve-sharing needs, explaining that TRM is the appropriate category for that purpose. Public utilities were directed to work with NAESB to develop an OASIS mechanism that will allow for auditing of CBM usage. - 83. The Commission did not mandate a particular methodology for allocating CBM over transmission paths and flowgates in Order No. 890. We therefore reject Southern’s argument that development of a consistent methodology for calculating CBM would be harmful to LSEs because reserve needs vary from area to area. While we expect the NERC and NAESB process to produce a consistent and transparent process for setting aside and allocating CBM based on LSE requests, we decline to prescribe a specific method for how CBM should be obtained or allocated or otherwise determine the amount of capacity that the transmission provider has to set aside in response to requests from multiple LSEs. | - WEQ 2008 Annual Plan Item 2(b)(iii)(1) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: July, 2008 | The ESS/ITS and BPS have begun identifying complementary business practices to NERC MOD004. The ESS/ITS and BPS have identified the NAESB business practice standards that may be needed to address CBM, including where the CBM value shall be posted; how to allocate priority use of CBM; how to allocate the amount of CBM; the ability to audit CBM usage; a new request type on OASIS to distinguish a CBM reservation; and for the posting of CBM on the OASIS systemdata template. |
| 262 | - Business practice standards that include an OASIS mechanism to “allow for auditing of CBM usage.” (Paragraph 262 does not require coordination with the NERC Order 890 reliability standards development) - Order 890-A: - 68. The Commission directed public utilities, working through NERC and NAESB, to develop clear standards and business practices for how the CBM value is determined, allocated across transmission paths and flowgates, and used. To ensure that CBM is used for its intended purpose, the Commission provided that CBM shall only be used to allow an LSE to meet its generation reliability criteria. The Commission rejected requests to allow CBM to be used to meet reserve-sharing needs, explaining that TRM is the appropriate category for that purpose. Public utilities were directed to work with NAESB to develop an OASIS mechanism that will allow for auditing of CBM usage. | - WEQ 2008 Annual Plan Item 2(b)(iii)(2) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: July, 2008 RATIFICATION: August, 2008 | The ESS/ITS and BPS are continuing to evaluate and review the templates and practices for CBM, including auditing of CBM usage. 8/16/07 If we are using existing templates and the existing templates have corresponding “Audit Templates”, additional work may not be needed. |
|  | - Any additional business practice standards needed to complement the NERC CBM reliability standards (MOD004) created as a result of this effort. (This item is a catchall section in case there are areas where business practices are needed as a result of the NERC CBM reliability standards. This item will require coordination with the NERC Order 890 reliability standards development). | - WEQ 2008 Annual Plan Item 2(b)(iii)(3) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2ND Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: July 2008 | The ESS/ITS and BPS have begun identifying complementary business practices to NERC MOD004. |
| 272 | - Transmission Reliability Margin (TRM): Business Practice Standards to complement the NERC reliability standards for TRM (Paragraph 272 will require coordination with the NERC Order 890 reliability standards development) | - WEQ 2008 Annual Plan Item 2(b)(iv) (1) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: N/A | The ESS/ITS and BPS have begun identifying complementary business practices to NERC MOD008. The ESS/ITS and BPS are continuing to evaluate and review the templates and practices for TRM, 8/16/07 The ESS/ITS and BPS determined no additional standards needed to be developed for this item and voted for the co-chairs to develop recommendation and post formal comments 3/31/08. Recommendation posted for 30-day formal comment period on April 8th. |
| 273 | - The TRM business practice standards will include specification of the appropriate uses of TRM and when transmission providers may set aside TRM (Paragraph 273 will require coordination with the NERC Order 890 reliability standards development) Order 890-A: 94. The Commission clarifies that NERC was not directed to identify an actual number or a particular methodology to include in the TRM standards, MOD-008-0 and MOD-009-0. The Commission’s intent was to require NERC and NAESB to include consistent criteria and guidelines in the calculation and uses of TRM by transmission providers. Likewise, in response to Southern’s concern regarding flexibility to use something other than the ratings reduction method discussed in Order No. 890, we clarify that the ratings reduction method is only an example of a simple method that could be used. Our intent is not to prohibit a transmission provider from using a more sophisticated method, so long as it is consistent with the reliability standards developed by NERC. | - WEQ 2008 Annual Plan Item 2(b)(iv)(2) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: NA | The ESS/ITS and BPS have begun identifying complementary business practices to NERC MOD008. The ESS/ITS and BPS are continuing to evaluate and review the templates and practices for TRM, 8/16/07 The ESS/ITS and BPS determined no additional standards needed to be developed for this item and voted for the co-chairs to develop recommendation and post formal comments 3/31/08. Recommendation posted for 30-day formal comment period on April 8th. |
|  | - Any additional business practice standards needed to complement the NERC TRM reliability standards (MOD008) created as a result of this effort (This item is a catchall section in case there are areas where business practices are needed as a result of the NERC TRM reliability standards. This item will require coordination with the NERC Order 890 reliability standards development). | - WEQ 2008 Annual Plan Item 2(b)(iv)(3) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: N/A | The ESS/ITS and BPS have begun identifying complementary business practices to NERC MOD008. The ESS/ITS and BPS are continuing to evaluate and review the templates and practices for TRM, 8/16/07 The ESS/ITS and BPS determined no additional standards needed to be developed for this item and voted for the co-chairs to develop recommendation and post formal comments 3/31/08. Recommendation posted for 30-day formal comment period on April 8th. |
| 301 | Business Practice Standards for ATC and AFC Calculation Methodologies to complement the NERC reliability standards created for ATC and AFC Methodologies (NERC MOD001 (Available Transfer Capability); NERC MOD028 (Network Response Available Transfer Capability); NERC MOD029 (Rated System Path Available Transfer Capability); and NERC MOD030 (Flowgate Network Response Available Transfer Capability)): - Business practice standards to address the frequency and posting requirements for all ATC components that are complementary to the related NERC reliability standards (Paragraph 301 will require coordination with the NERC Order 890 reliability standards development) - Order 890-A: 53. We clarify in response to NorthWestern that TRM may be used to accommodate the procurement of ancillary services used to provide service under the pro forma OATT. We deny as premature EPSA’s and Williams’ requests for clarification regarding the realtime determination and posting of ATC and AFC values, as well as posting of utilization of transmission provider’s own system ETC. In Order No. 890, the Commission required an exchange of the data both for short and long-term ATC/AFC calculation that will increase the accuracy of ATC calculations.33 The Commission also required that ATC be recalculated by all transmission providers on a consistent time interval, and in a manner that closely reflects the actual topology of the system, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data, and that NERC/NAESB revise the related reliability standard and business practices accordingly.34 EPSA and William should address their concerns through the NERC and NAESB processes implementing these requirements. - 60. Order No. 890 requires NERC and NAESB to develop a single set of ATC-related standards that will apply to all transmission providers, including RTOs and ISOs. We understand that the NERC ATC standard drafting team includes representatives from various industry sectors, including RTOs/ISOs, and we encourage NYISO to participate in the standard development process to provide NERC an opportunity to address its concerns. To the extent NYISO feels its concerns are not address in this process, it should bring the issue to the Commission’s attention on review of the resulting reliability standards. - 101. The Commission directed public utilities, working through NERC and NAESB, to revise reliability standard MOD-001 to require ATC to be recalculated by all transmission providers on a consistent time interval and in a manner that closely reflects the actual topology of the system, e.g., generation and transmission outages, load forecast, interchange schedules, transmission reservations, facility ratings, and other necessary data. The Commission stated that this process must also consider whether ATC should be calculated more frequently for constrained facilities. - 104. The Commission agrees with Powerex that the standards adopted through the NERC and NAESB processes should serve as minimum or "no less frequent than" requirements to recalculate ATC. Transmission providers also must update their ATC calculation when they receive substantial and material changes in data, such as updated load forecasts, changes in topology and dispatch patterns, which may be more frequent than the NERC and NAESB standards would otherwise require. In the absence of substantial and material changes in data, transmission providers are not required to update ATC on a more frequent basis than the minimum frequency that the NERC and NAESB standards require, once implemented. The Commission will consider the adequacy of the time frame for ATC updates on review of these standards. - 148. In Order No. 890, the Commission required transmission providers to make available, upon request, all data used to calculate ATC, TTC, CBM and TRM for any constrained posted path. We believe that this adequately addresses Constellation’s request for access to modeling data used by the transmission provider. Specifically, we expect transmission providers to make available, upon request and subject to appropriate confidentiality protections and CEII requirements, the following modeling data: (1) load flow base cases and generation dispatch methodology; (2) contingency, subsystem, monitoring, change files and accompanying auxiliary files; (3) transient and dynamic stability simulation data and reports on flowgates which are not thermally limited; (4) list of transactions used to update the base case for transmission service request study; (5) special protection systems and operating guides, and specific description as to how they are modeled; (6) model configuration settings; (7) dates and capacities of new and retiring generation; (8) new and retired generation included in the model for future years; (9) production cost models (including assumptions, settings, study results, input data, etc.), subject to reasonable and applicable generator confidentiality limitations; (10) searchable transmission maps, including PowerWorld or PSSE diagrams; (11) OASIS names to Common Names table and PTI bus numbers; and, (12) flowgate and interface limits including limit category (thermal, steady state or transient, voltage or angular). We decline, however, to require the transmission provider to post this information on OASIS, as Constellation suggests. We conclude that making this information available on request provides sufficient transparency for customers without unduly burdening the transmission provider. - 149. With regard to the modeling support information sought by Constellation, we believe much of this information should already be stated in each transmission provider’s Attachment C. In Order No. 890, the Commission required each transmission provider to set forth in the Attachment C to its OATT the ATC calculation methodology used by the transmission provider. To the extent necessary, we clarify that the step-by-step modeling study methodology and criteria for adding or eliminating flowgates (permanent and temporary) is part of the ATC methodology that must be stated in the transmission provider’s Attachment C. We direct any transmission provider that has failed to include this information in its Attachment C to include that information as part of the compliance filing directed in section II.C. If the transmission provider has already satisfied this obligation in a previous compliance filing, it should refer to that filing instead. - 150. We deny as premature Constellation’s request to require OASIS postings of additional model benchmarking and forecasting data/TSR study audit data. Such information would be utilized in the process of updating and benchmarking models to actual events, which is the subject of ongoing efforts to modify relevant reliability standards from the MOD and facilities design, connections and maintenance (FAC) groups. - 152. We deny TDU Systems’ request to require transmission providers to grant customers access to proprietary modeling software used to calculate ATC values. The Commission believes at this time that the requirements of Order No. 890 are sufficient to achieve the Commission’s transparency goals without further requiring the disclosure of proprietary software. | - WEQ 2008 Annual Plan Item 2(b)(v)(1) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: N/A | The ESS/ITS and BPS has drafted several sets of language and is in the process of coordinating alignment with the NERC ATC Drafting Team. The ESS/ITS and BPS are drafting documents that will facilitate agreement on concepts/scope. The ESS/ITS and BPS determined no additional standards needed to be developed for this item and voted for the co-chairs to develop recommendation and post formal comments 4/16/08. Recommendation posted for 30-day formal comment period on April 23rd. |
| 310 | - Business practice standards for data exchange for ATC modeling complementary to the related NERC reliability standards including any OASIS posting requirements to achieve the data exchange (Paragraph 310 will require coordination with the NERC Order 890 reliability standards development) | - WEQ 2008 Annual Plan Item 2(b)(v)(2) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: N/A | NERC will be addressing data exchange standards and will identify any new OASIS posting requirements or template query requirements which are needed in order to facilitate data exchange for ATC modeling On March 13, 2008 the ESS/ITS and BPS determined the work associated to this item has been completed by NERC and recommended no further action be taken by NAESB. Recommendation posted for 30-day formal comment period on March 17th. If the “decline” recommendation is approved by the EC the recommendation will not require membership ratification. |
| 369 | - Business practice standards that will set forth how transmission providers will post “explanations of the reason for a change in monthly and yearly ATC values on a constrained path.” The standards will include a requirement that the transmission provider post the reason for the change in a narrative form. The posted information will include “the (1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network).” (Paragraph 369 will not require coordination with the NERC Order 890 reliability standards development) - Although not specified in the WEQ 2008 AP, it is expected that this standard will also contain requirements associated with annotations when ATC remains at zero for six months or longer. - Order 890-A: - 124. We believe that E.ON U.S. overestimates the burden of complying with this requirement. Since TTC standardization is ongoing, it is impossible to identify with precision the steps that will need to be taken to comply with the posting requirement. The appropriate forum to raise concerns regarding the burden of particular TTC calculation requirements is in the NAESB standards development process. In any event, we would expect that the posting of narratives for changes in monthly and yearly ATC values as a result of a 10 percent change in TTC will be triggered mainly by topology changes resulting from transmission lines and generator in-service status, as well as new facilities additions, that are reported on OASIS. 125. We clarify in response to Southern that transmission providers do not need to list each and every circumstance or occurrence that impacts TTC values from the previous month or year and, instead, may list the primary events that give rise to the update. Again, we expect that TTC changes will generally result from topology changes and, therefore, the primary reasons for an update would be changes in schedules of transmission or generation additions, prolonged outages, or changes in maintenance schedules causing a TTC change of 10 percent. We agree with Southern that the transmission provider should post these narrative explanations on OASIS via a template and data element that is to be defined by NAESB. We direct transmission providers, working through NAESB, to develop the OASIS functionality necessary for such postings. Pending completion of this work by NAESB, we direct transmission providers to post these narrative explanations as comments on OASIS. | - WEQ 2008 Annual Plan Item 2(b)(v)(3) | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd Quarter, 2008 | Voted out of subcommittee for formal comment on February 13, 2008. Approved by the EC via notational ballot on April 14th. Membership ratification to be completed by May 16th. |
| 413 | - Business practice standards for posting on OASIS of the “underlying load forecast assumptions for all ATC calculations” (Paragraph 413 will not require coordination with the NERC Order 890 reliability standards development) | - WEQ 2008 Annual Plan Item 2(b)(v)(4) | These dates are dependent on NERC providing responses to questions forwarded to NERC by the BPS/ESS/ITS. FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd Quarter, 2008 | Voted out of subcommittee for formal comment on March 10, 2008. Approved by the EC via notational ballot on April 23rd. |
| 405 | - Business practice standards for posting on OASIS of the “actual daily peak load for the prior day.” (Paragraph 405 will not require coordination with the NERC Order 890 reliability standards development) | - WEQ 2008 Annual Plan Item 2(b)(v)(5) | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd 2008 | Voted out of subcommittee for formal comment on March 10, 2008. Approved by the EC via notational ballot on April 23rd. |
|  | - Business practice standards to complement NERC reliability standards for Transfer Capability in response to new NERC Supplemental SAR: Revisions to Existing Standards MOD001-MOD009, FAC12-13 (This item was added as a result of the Supplemental SAR NERC created in case additional business practices are needed as a result of the work on this SAR by NERC. It does not have a cite in Order 890. This item will require coordination with the NERC Order 890 reliability standards development). | - WEQ 2008 Annual Plan Item 2 (b)(vi) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: N/A | The ESS/ITS and BPS is in the process of coordinating alignment with the NERC ATC Drafting Team. On May 1, 2008, the subcommittee determined no additional standards were required for this work plan item. |
|  | - Business practice standards to set forth the procedure for input on TTC and ATC methodologies and values. (During the Order 890 NERC and NAESB joint standards development effort, it was determined that the standards contained in MOD003 should be business practice standards instead of reliability standards. NERC has requested that NAESB adopt the standards as business practices via correspondence to Ms. McQuade, NAESB President.) This item will require coordination with the NERC Order 890 reliability standards development because the language to address this item is contained within a draft standard that addresses items that are dependent on NERC deliverables, i.e., the requirements to create an “ATC Information Link” on OASIS. There is no Order 890 cite for this item. | - WEQ 2008 Annual Plan Item 2 (b)(vii) | These dates are dependent on NERC deliverables and may be changed if NERC timelines for Order 890 are changed: FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd Quarter, 2008 | Voted out of subcommittee for formal comment on March 13, 2008. |
|  | - Develop any additional business practice standards to support transparency reporting and related functions that may be required as a result of the final order. | - WEQ 2008 Annual Plan Item 2(c) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: July 2008 | The ESS/ITS and BPS continue to review the need for additional business practice standards. The ATC information list was posted for informal comment on January 22, 2008. |

|  | Order 890 Work Plan |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Order Cite | Action Item/Work Plan | Action Item Home | Target Dates |  | Status |  |  |
| ESS/ITS ASSIGNMENTS |  |  |  |  |  |  |  |
|  | GROUP 0: RESALES |  |  |  |  |  |  |
| 815, FN 496 | - The OASIS business practices developed to align the existing NAESB standards with Order 890 will include the requirement that “all sales or assignments of capacity be conducted or otherwise posted on the transmission provider’s OASIS on or before the date the reassigned service commences.” - The OASIS business practices will also conform to Footnote 496 of Order 890. The business practices will include the requirement that the assignee “execute a service agreement directly with the transmission provider.” In addition, the business practices will include the requirement that the assignee pay “the transmission provider for service at the negotiated rate and the transmission provider will bill or credit the assignor with any the difference between the negotiated rate and the assignor’s original rate. - Order 890-A: - 394. Reforms to the rules governing reassignments and associated reporting obligations also increase our regulatory oversight of the secondary market, allowing the Commission to effectively monitor that market for any attempts to exercise market power. All reassignments must now be conducted through or otherwise posted on OASIS and assignees must execute service agreements prior to the date on which service commences. Transmission providers must provide information regarding reassignments in their EQRs. As noted above, Commission staff will also closely monitor the quarterly reassignment-related data submitted by transmission providers and prepare a report on staff’s findings for the Commission’s consideration. The Commission takes seriously the possibility that resellers may attempt to exercise market power in the secondary market for transmission capacity. We continue to believe, however, that the regulatory protections in place and our increased oversight of this market will limit the potential for market power abuse during the period in which the price cap is lifted. There is no need for particularized market power studies regarding secondary transmission capacity, as suggested by TAPS. - 408. As noted above, the Commission required in Order No. 890 that all sales or assignments of capacity be conducted through or otherwise posted on the transmission provider’s OASIS on or before the date the reassignment commences. The Commission thus eliminated the ability of transmission customers to assign transmission rights to another party with subsequent notification to the transmission provider. The Commission also directed transmission providers, working through NAESB, to develop appropriate OASIS functionality to allow such postings. Transmission providers were not required to implement this new OASIS functionality or any related business practices until NAESB develops appropriate standards. 422. The Commission affirms the decision in Order No. 890 to require assignees to execute a service agreement with the transmission provider governing reassignments of transmission capacity prior to scheduling use of that capacity. We provide clarification of this requirement, however, in response to the concerns raised by petitioners. In Order No. 890, the Commission required that all reassignments be accomplished by the assignee executing a service agreement with the transmission provider that will govern the provision of reassigned service. The Commission did not intend to impose contracting obligations that are more onerous than the acquisition of primary transmission capacity, which may be accomplished through execution of a service agreement followed by scheduling on OASIS. We clarify that it is equally sufficient for an assignee to execute a service agreement governing its reassignments of capacity generally and to complete a particular assignment through the OASIS. However, as with reservations of primary transmission capacity, there remains a threshold requirement to execute a service agreement with the transmission provider in order to commit the assignee to abide by the terms and conditions of the transmission provider’s OATT governing the reassignment of transmission service. 423. It would not be appropriate to relieve assignees of the obligation to execute a service agreement with the transmission provider since such agreements establish the necessary contractual relationship between the assignee and the transmission provider. As we explain above, sales of reassigned capacity now take place under the transmission provider’s OATT and, thus, there must be a contractual relationship between these parties. This does not mean, however, that all of the terms and conditions of a particular assignment must be stated in the service agreement. Like short-term firm and non-firm reservations of primary capacity, the transmission provider and assignee may rely on OASIS to provide information regarding the reseller, quantity, and price associated with a particular reassignment of service. This information would then become part of the binding agreement between the transmission provider and assignee governing the assignment, just as confirmation of short-term firm and non-firm transactions on OASIS constitute binding contractual commitments. Because execution of a service agreement with the transmission provider governing reassignments of capacity is a threshold requirement for an assignee wishing to accomplish a particular reassignment on OASIS, Bonneville’s concern regarding the failure of an assignee to return its service agreement is misplaced. The assignee in that instance would have no right to schedule a reassignment on OASIS since it has not first executed the appropriate service agreement with the transmission provider. 424. Some of the confusion regarding these contracting requirements may have been caused by the Commission’s reference in section 23.1 of the revised pro forma OATT to a service agreement “that will govern the provision of reassigned service,” which could be interpreted to refer to transaction-by-transaction service agreements for reassignments. Inclusion of the words “Long-Term Firm” in both the title of the form of service agreement and the attached specifications in the new Attachment A-1 to the pro forma OATT adopted in Order No. 890 may have added to the confusion by potentially implying that use of the service agreement is limited to long-term firm point-to-point transactions instead of also applying to short-term firm point-to-point and non-firm point-to-point reassignments, as intended by the Commission. We revise section 23.1 of the pro forma OATT and the title of Attachment A-1 to make clear that use of the form of service agreement for reassigned capacity, and associated posting of schedules and transaction information on OASIS, should be similar to the use of such agreements for primary capacity. 425. The execution of a service agreement by the assignee does not itself terminate the reseller’s service agreement, as EEI argues. The reseller’s service agreement remains in place, granting the reseller scheduling rights for the reserved capacity and obligating the reseller to pay for that reservation. During the term of the assignment, the reseller will continue to be billed under its agreement with the transmission provider. The assignment of service simply transfers to the assignee some or all of the reseller’s scheduling rights for the period of the reassignment and, in return, obligates the assignee to pay the transmission provider the negotiated rate. In order to prevent over-recovery by the transmission provider, the transmission provider must therefore credit the reseller the reassignment rate, which leaves the reseller with the net difference between the resale rate and the reseller’s original rate. If the assignee defaults and fails to pay for the reassigned capacity, the transmission provider should reverse the credit to the reseller to reflect the lack of payment by the assignee. 426. We disagree that these billing requirements are unduly burdensome. While it is true that the transmission provider may be required to bill at different rates, that is already the case under the pro forma OATT. Transmission providers are permitted to offer discounts from the rates stated in their OATT, provided they offer such discounts to all eligible customers. Offering discounts thus creates different rates for different customers depending on when they negotiate service. The transmission provider therefore should already have mechanisms in place to bill customers based on rates other than those stated in its OATT. In any event, the need to bill assignees directly for reassignments is inextricably linked to the decision to require that all reassignment transactions take place pursuant to the rate on file in the transmission provider’s OATT, rather than bilateral agreements between customers. We therefore do not intend for the discount rule or the price ceilings otherwise stated in the transmission provider’s OATT to apply to reassignments of capacity. We have revised schedules 7 and 8 of the pro forma OATT accordingly. 427. We clarify that, to the extent necessary, the costs incurred by the transmission provider to account and bill for reassignments of transmission capacity should be included in the transmission provider’s cost of service, just like accounting and billing costs for any other service under the transmission provider’s OATT. We decline MidAmerican’s request to prohibit further assignments of reassigned capacity. Order No. 888 allowed for multiple reassignments under the pro forma OATT and MidAmerican does not justify departing from this practice. Just as the original transmission customer may find that it has excess capacity it can reassign, so may an assignee. Denying the assignee’s right to further assign its scheduling rights would inhibit customers who value the capacity most from accessing it and thereby contradict the Commission goal of creating a competitive secondary market for transmission capacity. 428. With regard to OASIS modifications necessary to allow for the reassignment of transmission capacity, the Commission in Order No. 890 already directed transmission providers working through NAESB to develop appropriate OASIS functionality to allow for reassignment-related postings. We understand that this work is on-going and expect any necessary modifications to NAESB’s business practices that are necessary to reflect our rulings in this order will be adopted prior to the submission of those standards for Commission review. In the interim, transmission providers should identify in their business practices any procedures necessary to accomplish the reassignment of capacity by their customers. | WEQ 2007 Annual Plan Item 2(a)(i) | FORMAL COMMENT: Posted for formal comment April 5, 2007 with comments due on May 4, 2007. WEQ EC VOTE: The WEQ Executive Committee adopted a revised recommendation during the May 8, 2007 WEQ EC meeting. RATIFICATION: The recommendation, as revised by the WEQ Executive Committee was posted for member ratification on June 22, 2007 with ballots due on July 23, 2007. The ratification results are posted on the NAESB website. |  | Completed. The final action is posted on the NAESB WEQ Final Actions page: 2007 WEQ Annual Plan Item 2 Final Action - Recommendation for Revision to Final Action R04006D to align the Resales Standards with Order 890 The Subcommittee believes the final action conforms with Order 890-A. |  |  |
|  | GROUP 1: POSTING OF ETC; ANNOTATIONS FOR ATC; LOAD FORECAST AND ACTUAL LOAD; RE-BID OF PARTIAL SERVICE; PRECONFIRMATION PRIORITY; and CONDITIONAL FIRM |  |  |  |  |  |  |
|  | Conditional Firm, Annotations For ATC; Load Forecast And Actual Load; Re-Bid Of Partial Service; And Preconfirmation Priority S&CP Requirements | WEQ 2008 Annual Plan Item 2(a)(i)(1) | FORMAL COMMENT: Sent during the 3rd Quarter 2008. WEQ EC VOTE: EC notational ballot due January 16, 2008. RATIFICATION: The ratification of the Recommendation will be completed during 1st Quarter 2008. |  |  |  |  |
| 1078 | Conditional Firm: In Paragraph 1078 of Order 890, the Commission directed transmission providers to “assign short-term firm service to conditional firm customers as the service becomes available.” The Commission also directed transmission providers to work with NAESB to “develop the appropriate communications protocols to implement this attribute of conditional firm service.” NAESB will develop OASIS business practices (to complement the OASIS S&CPs developed in 2008 AP item 2(a)(i)(1))that will implement the ability to assign short-term firm service to conditional firm customers. - Development of communication protocols for conditional firm including tracking mechanism and regional variation. Need to review the tagging rules related to the use of conditional firm. - Order 890-A: - 566. During non-conditional periods, conditional firm service is subject to pro rata curtailment consistent with curtailment of any other long-term firm service. During the hours or specific system conditions when conditional firm service is conditional, conditional firm service share the same curtailment priority as secondary network service. In such circumstances, transmission providers will be allowed to curtail only for reliability reasons and conditional firm customers during conditional curtailment hours will be curtailed only after all point-to-point non-firm customers have been curtailed. If the customer selects the annual hourly cap option, the transmission provider will have the flexibility to conditionally curtail the customer for any reliability reason during those hours, including but not limited to, the system condition(s) identified in the system impact study. - 567. The Commission provided that short-term firm service reserved prior to the reservation of conditional firm service will maintain priority over conditional firm service in the periods when conditional firm service is conditional, i.e., when specified system conditions exist or conditional curtailment hours apply. Transmission providers were directed to work with NAESB to develop the appropriate communications protocol to allow for automatic assignment of short-term firm point-to-point service to conditional firm customers to the extent short-term service becomes available. Transmission providers need not implement this requirement until NAESB develops appropriate communications protocols. - 569. Finally, the Commission recognized that there may be some regional variation in the way transmission providers approach the provision of conditional firm service beyond the minimum attributes that established in Order No. 890. The Commission directed transmission providers located in the same region to coordinate among themselves to develop business practices for implementation of the conditional firm service. In order to allow time for this regional coordination, the Commission directed transmission providers to implement these mechanisms and business practices within 180 days after the publication of this Final Rule in the Federal Register, or October 11, 2007. - 585. We also agree with MidAmerican that a transmission provider’s waiver of a reassessment for conditional firm or planning redispatch service does not constitute a waiver of all reassessments for the duration of the service, unless explicitly agreed to by the transmission provider. We reiterate, however, that only one reassessment may be performed in each two-year period of service. We also affirm that any waiver must be granted for similarly situated service, which would include conditional firm or planning redispatch service that is limited because of the same constraints or general system limitations. Such a waiver would be an act of discretion that must be posted on OASIS. Waiver of the reassessment presents an opportunity for discrimination among classes of customers on the part of the transmission provider and posting will provide eligible customers with an indicator of how often conditions or redispatch requirements have been reassessed. Transmission providers are directed to develop uniform OASIS posting standards, in coordination with NAESB, for transmission providers to post information regarding waivers of the biennial reassessment for planning redispatch and conditional firm service. | WEQ 2008 Annual Plan Item 2(a)(i)(2) | FORMAL COMMENT: 3rd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Initial working paper of draft requirements to be posted in April 2008. On April 4, 2008, the ESS/ITS voted to send this recommendation out for informal comments due April 11, 2008. |  |  |
| 369 | - Annotations for ATC: OASIS Business Practice Standards (to complement the OASIS S&CPs developed in 2008 AP item 2(a)(i)(1)) that will “require that the transmission provider post a brief, but specific, narrative explanation of the reason for a change in monthly and yearly ATC values on a constrained path.” The posting requirements will include posting of “(1) specific events which gave rise to the change and (2) new values for ATC on that path (as opposed to all points on the network).” | WEQ 2008 Annual Plan Item 2(a)(i)(3) | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd Quarter, 2008 |  | Assigned to BPS/ESS/ITS (see above BPS/ESS/ITS item that reference WEQ 2008 AP Item 2(b)(v)(3)). Voted out of subcommittee for formal comment on February 13, 2008. Approved by the EC via notational ballot on April 14th. Membership ratification to be completed by May 16th. |  |  |
| 416 | - Load Forecast and Actual Load: OASIS Business Practice Standards (to complement the OASIS S&CPs developed in 2008 AP item 2(a)(i)(1)) for the posting of “load forecasts and actual daily peak load for both system-wide load (including native load) and native load.” | WEQ 2008 Annual Plan Item 2(a)(i)(4) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd Quarter, 2008 |  | Assigned to BPS/ESS/ITS (see above BPS/ESS/ITS item that reference WEQ 2008 AP Items 2(b)(v)(4) and (5)). Voted out of subcommittee for formal comment on March 10, 2008. Approved by the EC via notational ballot on April 23rd. |  |  |
| 1378 | Re-bid of Partial Service: OASIS Business practice standards (to complement the OASIS S&CPs developed in 2008 AP item 2(a)(i)(1)) for re-bid of partial service across a single Transmission Provider’s system. | WEQ 2008 Annual Plan Item 2(a)(i)(5) | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 1st Quarter, 2008 RATIFICATION: 1st Quarter, 2008 |  | Voted out of subcommittee for formal comment on 2/12/2008. |  |  |
| 1392, 1401 | - Pre-confirmation Priority: Development of OASIS business practice standards (to complement the OASIS S&CPs developed in 2008 AP item 2(a)(i)(1)) to prohibit “transmission customers from changing a request into a pre-confirmed request and requiring OASIS platforms to be accessible on non-Windows/Explorer computers.” - Pre-confirmation Priority: Development of OASIS Business Practice Standards and OASIS S&CPs so that “pre-confirmed non-firm point-to-point transmission service requests and short-term firm point-to-point transmission service requests” have priority though “longer duration requests for transmission service will continue to have priority over shorter duration requests for transmission service.” The standards will be written such that pre-confirmation will serve as a “tie-breaker” when the requests are of equal duration. | WEQ 2008 Annual Plan Item 2(a)(i)(6) | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 1st Quarter, 2008 RATIFICATION: 1st Quarter, 2008 |  | Voted out of subcommittee for formal comment on 2/12/2008. |  |  |
|  | - Appendix C – OASIS Exemptions | WEQ 2008 Annual Plan Item 2(a)(i)(7) | FORMAL COMMENT: Voted out of subcommittee 12/17/2007. Formal Comment period 12/19/2007 through 1/19/2008. WEQ EC VOTE: Approved February 4, 2008 RATIFICATION: Ratification period to close 3/13/2008 |  | Ratified by the membership on 3/13/2008. |  |  |
|  | GROUP 2: METRICS; REDISPATCH COST POSTING |  |  |  |  |  |  |
| 413 | - Metrics: Business Practice standards s to “post on OASIS metrics related to the provision of transmission service under the OATT” including the posting of: - “the number of affiliate versus non-affiliate requests for transmission service that have been rejected”; - “the number for affiliate versus non-affiliate requests for transmission service that have been made”; - These standards will also set forth in the above referenced posting requirements the length of the service request and the type of the service requested | WEQ 2008 Annual Plan Item 2(a)(ii)(1) |  | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 1st Quarter, 2008 RATIFICATION: 1st Quarter, 2008 |  | Voted out of subcommittee for formal comment on 2/12/2008. |  |
| 1318 | - Metrics: OASIS business practice standards to implement the standard performance (planning study) metrics set forth in Order 890, Paragraphs 1308-1317. | WEQ 2008 Annual Plan Item 2(a)(ii)(2) |  | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 1st Quarter, 2008 RATIFICATION: 1st Quarter, 2008 |  | Voted out of subcommittee for formal comment on 2/12/2008 |  |
| 1162 | Redispatch Cost Posting: Business practices for redispatch cost postings: - The posting of redispatch information will also include the posting of each transmission provider’s “monthly average cost of redispatch for each internal congested transmission facility or interface over which it provides redispatch service using planning redispatch or reliability redispatch under the pro forma OATT.” - The business practice standards for redispatch cost postings will also include functionality for transmission providers to post “a high and low redispatch for the month” each internal congested transmission facility or interface over which it provides redispatch service. Order 890-A: 621. Transmission providers must post internal constraint or interface data for the month if any planning redispatch or reliability redispatch is provided during the month, regardless of whether the transmission customer is required to reimburse the transmission provider for those exact costs. Thus, if the transmission customer pays for planning redispatch pursuant to a negotiated fixed rate, the transmission provider is required to post and calculate the monthly average redispatch costs and the high and low costs in the month even though the transmission provider will bill the customer the fixed rate. The same posting requirement applies if the customer is paying a monthly “higher of” rate. The Commission concluded that the relevant reliability redispatch costs for posting purposes are those costs the transmission provider invoices network customers based on a load ratio share pursuant to section 33.3 of the pro forma OATT. The transmission provider must post this data on OASIS as soon as practical after the end of each month, but no later than when it sends invoices to transmission customers for redispatch-related services. The Commission directed transmission providers to work in conjunction with NAESB to develop this new OASIS functionality and any necessary business practice standards. | WEQ 2008 Annual Plan Item 2(a)(ii)(3) |  | FORMAL COMMENT: 1st Quarter, 2008 WEQ EC VOTE: 1st Quarter, 2008 RATIFICATION: 1st Quarter, 2008 |  | Voted out of subcommittee for formal comment on 2/12/2008 |  |
|  | GROUP 3: NETWORK SERVICE ON OASIS |  |  |  |  |  |  |
| 385 | - Development of OASIS business practice standards and OASIS S&CPs for “transmission providers and network customers to use OASIS to request designation of new network resources and to terminate designation of network resources.” - Shall be posted on OASIS for 90 days and available for audit for a 5 year period. | WEQ 2008 Annual Plan Item 2(a)(iii)(1) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 385 | - The standards will include the ability to electronically query requests to designate and terminate network resources and will require development of OASIS templates and to allow for queries of all information provided with designation requests. | WEQ 2008 Annual Plan Item 2(a)(iii)(2) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 1477 | - The standards will include the ability to mask information “about operating restrictions and generating cost on OASIS” | WEQ 2008 Annual Plan Item 2(a)(iii)(3) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 1477 | - Development of OASIS business practice standards and OASIS S&CPs that describe the procedural requirements for submitting designations over any new OASIS functionality. - Order 890-A: - 919. The Commission clarifies, in response to South Carolina E&G’s request, that the language in paragraph 1521 of Order No. 890 is only meant to be a paraphrase of the more detailed attestation to be provided in the pro forma OATT itself. A network customer designating network resources should submit an attestation using the language set forth in sections 29.2(viii) and 30.2 of the pro forma OATT, as amended in Order No. 890, not the language of the preamble. A network customer is not permitted to merely reference the applicable section of the pro forma OATT when completing the attestation requirement. If the OASIS customer comment section does not currently allow enough space for a network customer to provide its attestation, transmission providers should modify, in coordination with NAESB, OASIS functionality to accommodate the full attestation. In the interim, the transmission provider should identify alternate means, such as by telefax or e-mail, for the network customer to provide the attestation. | WEQ 2008 Annual Plan Item 2(a)(iii)(4) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 1504 | - Development of OASIS business practice standards and OASIS S&CPs to specify how designated network service informational postings are posted on OASIS . - Develop details of how the view, download, and query requirements for information posted regarding network resource designations informational postings. | WEQ 2008 Annual Plan Item 2(a)(iii)(5) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 1532 | - Development of OASIS business practice standards and OASIS S&CPs to set forth the “treatment of OASIS requests when the customer fails to provide the necessary attestation,” when submitting a request to designate a new network resource. - Attestation: Formatting of attestation information that will be provided on OASIS. | WEQ 2008 Annual Plan Item 2(a)(iii)(6) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 1541 | - Development of OASIS business practice standards and OASIS S&CPs to describe “the procedural requirements for submitting both temporary and indefinite terminations of network resources, to allow network customers to provide all required information for such terminations.” These business practice standards will include the functionality set forth in Order 890, Paragraph 1541. | WEQ 2008 Annual Plan Item 2(a)(iii)(7) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
| 1541 | - Development of OASIS business practice standards and OASIS S&CPs to describe “the procedures for submitting and processing requests for concomitant evaluations of transmission requests and temporary terminations. | WEQ 2008 Annual Plan Item 2(a)(iii)(8) See also WEQ 2008 Annual Plan item 3(a)(ii) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 3rd Quarter, 2008 RATIFICATION: 3rd Quarter, 2008 |  | Concept Paper posted 11/7/2007. |  |  |
|  | GROUP 4: CONDITIONAL FIRM; PRE-EMPTION; REQUEST R05019; and REVISIONS TO STANDARD 9.7 |  |  |  |  |  |  |
| 1407 | Pre-emption: Revise OASIS business practice standards and OASIS S&CPs so that “a new pre-confirmed request for transmission service would preempt a request of equal duration that has been accepted by the transmission provider but not yet confirmed by the transmission customer.” It is the expectation that the business practice standards to address preemption will be developed in conjunction with NAESB Request No. R05019 to modify OASIS standards and OASIS S&CPs to clearly document the procedures used to implement the displacement/interruption terms of the Pro Forma tariff. This is consistent with NAESB Standard WEQ 001-4.25. Order 890-A: 814. The Commission affirms the decision in Order No. 890 not to change the “first-come, first served” nature of the reservation process and the right of first refusal. These policies have worked well in the past and, as we explain in Order No. 890, benefit transmission providers and customers alike by facilitating the administration of the reservation process and removing confusion about how to comply. 815. We disagree with Duke and TranServ that the right of first refusal policies should be revised based on complex hypotheticals involving the preemption of multiple short-term reservations. The complexities pointed to by these commenters do not by themselves warrant changing the right of first refusal rule. Even though we recognize the potential for complexities to arise under the right of first refusal rule, we believe them to be relatively limited. In the off-chance that multiple eligible customers with short-term reservations choose to exercise their right of first refusal for the same capacity simultaneously, the Commission believes that they should have a right to do so. 816. We therefore decline to expand upon the language of the pro forma OATT to account for every factual scenario that could arise under sections 13.2 and 14.2 of the pro forma OATT. Sections 13.2 and 14.2 of the pro forma OATT set forth adequate guidance for transmission providers to fairly administer competing requests, including the priorities for determining which reservations or requests trump one another as well as the timeframes for eligible customers to respond to competing requests. As noted above, we recognize that certain unique cases can present difficult allocation issues, but conclude that these extreme cases arise infrequently in the normal course of business. In the vast majority of cases, we believe the right of first refusal rules are efficient and easy to administer without further amending the governing tariff language, as Bonneville and Southern suggest. 817. To the extent necessary, the Commission clarifies that a “competing request” under sections 13.2 and 14.2 of the pro forma OATT may include a transmission service request that overlaps with only part of another existing transmission service reservation since both requests cannot be granted simultaneously. Accordingly, a “competing request” for purposes of sections 13.2 and 14.2 may also include a transmission service request for which transmission capacity cannot be accommodated without preempting one or more existing transmission reservations of parts thereof. 818. In response to TranServ and Duke, we clarify that sections 13.2 and 14.2 allow an eligible customer to retain its original reservation by matching the competing service request’s cost or duration terms exactly or by exceeding one or more of the terms of a competing transmission service request. Since any “match” by an eligible customer in response to a potentially preempting request, by definition, either exceeds the costs, duration or both of the eligible customer’s original reservation, we do not believe eligible customers opting to match a competing request have a strong incentive, if any, to “match” a competing request with terms that exceed the competing request. Nevertheless, we do not see any harm resulting from a match that exceeds the exact terms of a competing request and therefore believe it would not be appropriate to preclude the ability of eligible customers to make such a request. 819. With regard to reassignments of capacity in the secondary market, we clarify that the associated right of first refusal under sections 13.2 and 14.2 of the pro forma OATT to match a competing transmission service request applies to the primary transmission service, not the reassignment of scheduling rights. Using TranServ’s example, the reassignment of one day of a customer’s weekly service would not cause the assignor or the assignee to match a competing three day request for service since the initial one week reservation already exceeded the competing request. The fact that one day of service has been reassigned does not alter the assignor’s entitlement to use service for the remaining week reserved. | WEQ 2008 Annual Plan Item 2(a)(iv)(1) | Request for reconsideration pending at FERC may impact target dates. FORMAL COMMENT:3rd Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
|  | NAESB Request No. R05019: During the work to address FERC Order 890, the ESS/ITS will also use the opportunity to modify OASIS standards and S&CP to clearly document the procedures used to implement the displacement/interruption terms of the Pro Forma tariff as requested in NAESB Request No. R05019 | WEQ 2008 Annual Plan Item 2(a)(iv)(2) R05019 | Request for reconsideration pending at FERC may impact target dates. FORMAL COMMENT: 3rd Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
| 1269 | Revisions to Standard 001-9.7: NAESB will continue to work to revise NAESB WEQ business practice standard WEQ 001-9.7 (which addresses rollover rights for Redirected transmission service) to be consistent with the Commission’s policies. Order 890-A: 697. Pursuant to Section 22 of the pro forma OATT, a transmission customer taking firm point-to-point service may modify its receipt and delivery points, i.e., redirect its service, on either a non-firm or firm basis. In Order No. 676, the Commission adopted the “Standards for Business Practices and Communication Protocols for Public Utilities” developed by the NAESB’s Wholesale Electric Quadrant (WEQ). The WEQ standards include standards addressing requirements for redirects on both a firm and non-firm basis, all of which were incorporated by reference into the Commission’s regulations except for WEQ Standard 001-9.7, which addressed the impact of redirects on the rollover rights of a long-term transmission customer. Order No. 676 directed the WEQ to reconsider WEQ Standard 001-9.7 and develop a revised standard consistent with Commission policy. 698. In Order No. 890, the Commission affirmed reliance on the NAESB process to develop business practices implementing the Commission’s redirect policy. The Commission also determined that the reforms adopted in Order No. 676, in combination with the OATT-related reforms adopted in this proceeding, were adequate to ensure that transmission providers do not engage in undue discrimination when a customer seeks to modify its receipt and delivery points on a firm basis. With respect to the effect of redirects on rollover rights, the Commission affirmed its policy allowing a redirect of firm, long-term service to retain rollover rights, even if the redirect is requested for a shorter period. The Commission concluded that a transmission customer should not have to choose between maintaining its rollover rights and redirecting on a firm basis. The Commission noted, however, that any change to a delivery point would be treated as a new request for service for purposes of determining availability of capacity. As a result, a redirect right does not grant the customer access to system capacity or queue position different from other customers submitting new requests for service. The Commission also provided guidance regarding the processing of, and pricing for, redirected service. 700. If the Commission decides to maintain rollover rights for redirects, MISO proposes the following limitations and requests the Commission to direct NAESB to draft its business practices accordingly. First, MISO suggests that the primary path agreement should have a term of at least five years for any rollover rights to attach. Second, MISO requests that any redirect must be for firm service for one year or longer. If the redirect is for a shorter period, MISO contends that the rollover rights should remain with the original path. Third, MISO requests redirected service to terminate on the same date as the parent service so as to maintain the timing for execution of rollover rights. Finally, MISO suggests that in order to execute a rollover right the redirected service must be requested and granted prior to the one-year deadline for the customer to request rollovers along the original path. 702. TranServ also requests clarification regarding the requirement for the rollover right to follow the redirect, regardless of the duration of the redirect. TranServ questions whether a redirect of a long-term firm service reservation for one day qualifies that customer for rollover rights on the redirected service points. TranServ suggests that the Commission instead restrict rollover rights on redirected service points to redirects of five years or longer and further require that the redirect be co-terminus with the original request being redirected. TranServ argues that more guidance regarding implementation of the rollover and redirect policies will facilitate the NAESB standards development process. 704. The Commission denies petitioners’ requests to amend the rights of rollover customers to redirect their service. Under section 22.2 of the pro forma OATT, a request for a firm redirect must be treated like a request for new transmission service. As a new request for service, each redirect request is subject to the availability of capacity and subject to the possibility that the transmission provider may not be able to provide rollover rights on the new redirected path. The transmission provider is required to offer rollover rights to a customer requesting a firm redirect only if rollover rights are available on the redirected path, i.e., to the extent not restricted based on reasonable forecasts of native load growth or preexisting contracts that commence in the future. 705. As the Commission explained in Order No. 890, rollover rights follow the redirect regardless of the duration of the redirect. A transmission customer making a firm redirect request does not convert its original long-term firm transmission service agreement into two short-term service agreements, nor does it lose its rollover rights under its long-term firm transmission service agreement. At the same time, a customer can exercise its rollover right only at the end of the contract. Thus, if a customer with rollover rights chooses to redirect its capacity for less than the full remaining term of the contract, absent some further request to redirect, the original path will automatically be reinstated and rollover rights would remain on only the original path. By contrast, if the customer chooses to redirect its capacity until the end of its contract, the customer would have rollover rights along only the redirected path, and only to the extent not restricted based on native load growth or future contracts along the redirected path. 706. We therefore reject requests to restrict rollover rights to longer-term redirects. A long-term transmission customer may request multiple, successive redirects for firm service. This discretion is limited by the fact that each successive request is treated as a new request for service in accordance with section 17 of the pro forma OATT. Each request is therefore subject to the availability of capacity and subject to the possibility that the transmission provider may not be able to provide rollover rights on the new, redirected path. If the customer has not been granted rollover rights for a redirect that extends to the end of its contract, the redirected service will terminate on the same date as the parent service. 707. We also reiterate that a customer cannot exercise any rollover rights unless it first has provided the appropriate notice to the transmission provider. If a customer requests and is granted a rollover right prior to the relevant notice deadline (60 days for pre-Order No. 890 agreements or one year for all others) and subsequently requests and is granted a redirect for firm service for the remainder of the contract term (i.e., within the notice period), the new reservation governs the rights at the new receipt and delivery points and the customer can obtain rollover rights with respect to the redirected capacity to the extent rollover rights are available for the redirected points. If, however, a customer fails to request a rollover right prior to the relevant notice deadline, the customer forfeits rollover rights along the current or any redirected path. 708. We clarify, to the extent necessary, that transfer capability is not freed up for earlier queued service requests until a redirect has been granted. A redirect request must be evaluated in accordance with section 17 of the pro forma OATT using the same system assumptions and analysis applicable to any other new request for service, including whether sufficient ATC exists to accommodate the request. If there is insufficient ATC to offer service to customers in the queue, and an existing customer requests redirected service, any increase in ATC along the original path is contingent upon the acceptance and confirmation of the redirect. It cannot be assumed at the time of a redirect request that the transmission provider will grant the request. | WEQ 2008 Annual Plan Item 2(a)(iv)(3) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: 2nd Quarter, 2008 RATIFICATION: 2nd Quarter, 2008 |  | On February 11-12, 2008, the ESS/ITS voted to send this recommendation out for informal comments due March 25, 2008. |  |  |
|  | GROUP 5: PARAGRAPH 1377 |  |  |  |  |  |  |
| 1377 | NAESB will develop business practice standards to facilitate the coordination of requests across multiple transmission systems using the principles set forth in Paragraph 1377 of Order 890. Develop S&CPs related to coordination of request across multiple transmission systems. Order 890-A: 762. The Commission also required transmission providers working through NAESB to develop business practice standards to better coordinate transmission requests across multiple transmission systems. In order to provide guidance to NAESB, the Commission articulated the principles that should govern processing across multiple systems. The Commission further required transmission providers working through NAESB to develop business practice standards to allow a transmission customer to rebid a counteroffer of partial service so the transmission customer can take the same quantity of service for linked transmission service requests across multiple systems. The Commission explained that the transmission customer should not be required to take the same quantity of service across consecutive transmission service requests and, instead, it should simply have the option to do so. 766. The Commission affirms the decision in Order No. 890 to rely on the NAESB process to develop business practices to govern the processing of transmission requests across multiple transmission systems. We decline to dictate at this time, beyond those principles outlined in Order No. 890, the particular practices that must be implemented. It is more appropriate to allow transmission providers working through NAESB, in the first instance, to consider how best to ensure coordination across multiple systems. It is also appropriate to give NAESB an open timeframe to develop these standards since they must be broad enough to account for the complexities of coordinating multi-system transmission service requests. | WEQ 2008 Annual Plan Item 2(a)(v)(1) | FORMAL COMMENT: 4th Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
| 1378 | Re-bid of Partial Service: OASIS Business practice standards for re-bid of partial service across multiple Transmission Providers’ systems. - NAESB will develop business practice standards to “allow a transmission customer to rebid a counteroffer of partial service so the transmission customer is allowed to take the same quantity of service across all linked transmission service requests. | WEQ 2008 Annual Plan Item 2(a)(v)(2) | FORMAL COMMENT: 4th Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
|  | GROUP 6: MISCELLANEOUS |  |  |  |  |  |  |
| 1390 | NAESB plans to review the existing business functions set forth in the NAESB WEQ standards to determine if changes should be made to address Paragraph 1390 of Order 890. FERC: OATT is sufficient to allow a Transmission Provider to manage situations where the Transmission Customer modifies its application for service to the point that the request is “meaningfully different” than initial request. ESS/ITS: need to review if this has any impact on business functions. | WEQ 2008 Annual Plan Item 2(a)(vi)(1) | FORMAL COMMENT: 3rd Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
| 1627 | Development of OASIS business practice standards and OASIS S&CPs for “the posting of additional curtailment information on OASIS” via a “detailed template for the posting of additional information on OASIS regarding firm transmission curtailments. Posting of curtailment information on OASIS: develop a detailed template for the posting of additional information on OASIS regarding firm transmission curtailments. Order 890-A: 973. The Commission did not propose in the NOPR, or adopt in Order No. 890, any changes to the terms and conditions under which a transmission provider may curtail service to maintain reliable operation of the grid, as set forth in sections 13.6 and 14.7 for point-to-point service and section 33 for network service. The Commission did, however, conclude that the posting of additional curtailment information is necessary to provide transparency and allow customers to determine whether they have been treated in the same manner as other transmission system users, including customers of the transmission provider. Accordingly, the Commission required transmission providers, working through NAESB, to develop a detailed template for the posting of additional information on OASIS regarding firm transmission curtailments, including all circumstances and events contributing to the need for a firm service curtailment, specific services and customers curtailed (including the transmission provider’s own retail loads), and the duration of the curtailment. | WEQ 2008 Annual Plan Item 2(a)(vi)(2) | FORMAL COMMENT: 3rd Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
| 1005 | Redispatch Cost Posting: Business practices for redispatch cost postings: The business practice standards for redispatch cost postings will include OASIS business practices and any needed additions or revisions to the OASIS Standards & Communication Protocols (S&CPs) to allow for posting of third party offers of planning redispatch services. The business practice standards developed for redispatch cost postings may affect the existing NAESB business practice standards for Transmission Loading Relief. (moved from Group 2) - Order 890-A: 568. Transmission providers also were directed to work with customers to facilitate the use of third party generation, where available, in provision of planning redispatch. To facilitate provision of redispatch service by third parties, the Commission further directed transmission providers, working through NAESB, to modify their OASIS sites and develop any necessary business practices to allow for posting of third party offers to provide planning redispatch. Again, transmission providers were not required to implement the new OASIS functionality and any related business practices until NAESB develops appropriate standards. | WEQ 2008 Annual Plan Item 2(a)(vi)(3) | FORMAL COMMENT: 3rd Quarter, 2008 WEQ EC VOTE: 4th Quarter, 2008 RATIFICATION: 4th Quarter, 2008 |  | Not Started |  |  |
| 243-244 | Posting of ETC: OASIS business practice standards and S&CPs necessary to implement the Business Practice Standards developed to complement NERC Reliability Standards for Existing Transmission Commitment (ETC) to create a “consistent approach for determining the amount of transfer capability a transmission provider may set aside for its native load and other committed uses”, including the elements of ETC for full implementation of the NERC MOD-001 reliability standard. (moved from Group 1)* *Requirements for a “consistent approach for determining the amount of transfer capability a transmission provider may set aside for its native load and other committed uses” is assigned to BPS/ESS/ITS (see above BPS/ESS/ITS item that references WEQ 2008 AP Items 2(b)(ii)(2)). | WEQ 2008 Annual Plan Item 2(a)(vi)(4) | FORMAL COMMENT: 2nd Quarter, 2008 WEQ EC VOTE: July, 2008 RATIFICATION: August, 2008 |  | Started May 15, 2008. Task has been reassigned to BPS/ESS/ITS. |  |  |
|  | GROUP 7: Tagging for Conditional Firm Service, Submittal Windows |  |  |  |  |  |  |
| Order 890-A, para-graph 592 | Tagging for CFS: Within 180 days of Order 890-A publication, develop tracking capabilities and business practices for tagging for implementation of conditional firm service. Order 890-A: 592. We agree with petitioners that the NAESB rules regarding tagging do not allow a transmission provider to change the tag of a transmission customer. That is why, in Order No. 890, the Commission directed transmission providers to coordinate with other transmission providers in their regions to develop their own business practices to implement the tagging and tracking of conditional firm service. Upon consideration of petitioners’ concerns, we grant rehearing to require transmission providers, in coordination with NERC and NAESB, to develop within 180 days of publication of this order in the Federal Register a consistent set of tracking capabilities and business practices for tagging for implementation of conditional firm service. We agree with petitioners that a consistent set of practices followed by the industry will reduce transmission provider discretion and bring uniformity in implementing conditional firm service. In the interim, the existing business practices of each transmission provider for tracking and tagging conditional firm service shall remain in effect. | WEQ 2008 Annual Plan Item 2(a)(vii)(1) | FORMAL COMMENT: WEQ EC VOTE: RATIFICATION: |  | Assigned to the ESS/ITS. Order 890-A publications date: January 16, 2008. On April 4, 2008, the ESS/ITS voted to send this recommendation out for informal comments due April 11, 2008. |  |  |
| Order 890-A, para-graph 805 | Submittal Windows: Standardized practices for allocating capacity among requests received during a submittal window. Order 890-A: 805. The Commission recognizes that developing methods to allocate capacity among requests received during a submittal window may require detailed procedures, particularly when transmission requests received simultaneously exceed available capacity. As the Commission explained in Order No. 890, however, we believe that each transmission provider is in the best position to develop allocation procedures that are suitable for its system. This does not preclude transmission providers from working through NAESB to develop standardized practices, as suggested by Southern. For example, as we pointed out in Order No. 890, allocation methods such as that used by PJM to allocate monthly firm point-to-point transmission service could provide useful guidance in developing general allocation procedures. | WEQ 2008 Annual Plan Provisional Item 7 | FORMAL COMMENT: WEQ EC VOTE: RATIFICATION: |  |  |  |  |