## DSM-EE Project – Assigned to Retail Gas, Retail Electric and Wholesale Electric:

- April 11, 2007: Several representatives of the NAESB WEQ, REQ, and RGQ as well as representatives of the US Department of Energy, US Environmental Protection Agency, FERC, and other industry experts met at the Department of Energy offices in Washington, D.C. to discuss the NAESB effort to draft business practices for Demand Side Management and Energy Efficiency.  Ongoing Energy Efficiency and DSM projects and programs by other groups (such as NAPEE) were reviewed by the meeting attendees.  The following resolution outlines the scope of the initial effort by NAESB to draft business practice standards for these topics: It was decided that NAESB should begin its standards development focus on measurement and verification of energy savings and peak demand reduction from both a wholesale and retail electric market perspective.  A future schedule of meetings for DSM and Energy Efficiency should be posted on the NAESB website shortly.

- May 24, 2007:  75 NAESB members, FERC, DOE, EEI, ISO and State regulatory personnel, experts in DSM and energy markets participants (22% more than the first meeting) met in person and by conference telephone at NAESB headquarters in Houston to refine the scope of Phase 1 activities, agreeing on a specific list of tasks and assigning subgroups of volunteers to work on each task.  At this meeting, no less than 28 individuals spoke to the group.

- June 18, 2007:.  51 NAESB members, FERC, DOE, EEI, ISO and State regulatory personnel, experts in DSM and energy markets participants  met in person and by conference telephone at BGE offices in Baltimore to further refine the scope of Phase 1 activities by reviewing the initial task list and revising it with more detailed deliverable requirements and dates, and with identification of base documents to support completing each task.

- July 26, 2007:  46 NAESB members, FERC, DOE, EEI, ISO and State regulatory personnel, experts in DSM and energy markets participants met in person and by conference telephone at AGA offices in Washington DC to present deliverables of existing demand response measurement and verification protocols and a list of 41 possible topics and subtopics for NAESB model business practices.  The task force reviewed all 41 possibilities, deciding whether to draft MBPs and which ones can be grouped together.

- September 14, 2007:  The results of the meeting including possible standards text were sent out for comment including notes, considerations and possible standards text.  Comments were requested on each of the nine standards development areas including whether the remarks were directed to wholesale or retail markets, pre program evaluation or post implementation evaluation, or to DSM or EE projects.

- September 25, 2007:  A DSM-EE meeting was held in Austin, Texas hosted by ERCOT.  The purpose of the meeting was to review the comments, determine the level of progress made towards the task list and determine is adjustments to the task, focus or schedule were needed.  When reviewing the comments it was determined to focus in five areas specific to demand response programs, and develop business practice standards that would prove helpful  – (1) DR programs administered by ISOs and RTOS in the wholesale markets, (2) DR programs administered by utilities in wholesale markets, (3) DR programs administered by utilities in the retail markets, (4) a glossary to support the DR programs, and (5) a preamble to put the business practice standards in context.  To focus on the DR programs, each of the three areas outlined will develop a matrix that describes the aspects of the DR programs in effect today, planned, or has been in effect in the past.

- November 6, 2007:  Several of the NAESB leadership met with Commissioners Kerr and Ervin of NC to gain further understanding of  expectations for DSM-EE NAESB activity for electricity for the retail markets.

- November 11, 2007:  NAESB participated in a panel on DSM-EE at the NARUC Annual Meeting in Anaheim.

- November 30, 2007:  Meeting hosted by Dominion in Richmond.  During the meeting, each of the five groups described the progress made and plans to date.  Drafts of the three matrices were reviewed, as was a draft glossary and outline for the preamble.  It is possible that the two wholesale matrices will be combined, as  The calendar for 2008 was also set.  The next meeting is scheduled for January 23 in Baltimore hosted by BGE.

- December 3, 2007: A meeting was held with Commissioner Mason of Ohio to gain further understanding of expectations for DSM-EE NAESB activity for natural gas  for the retail markets.

- January 23, 2008:  The group met in Baltimore to review progress on the two matrices, the preamble and the glossary.   The wholesale matrix for DR programs administered by ISOs and RTOs was reviewed.  Data is being placed in five separate categories -Initial Testing and Auditing, Ongoing Testing and Auditing,  Triggering; Construction, Statistical Analysis, Performance and Baselines.  The matrix for retail DR programs is lagging but several companies have provided or agreed to provide data – including BGE, Dominion, ConEd, Alabama Power and ComVerge.  Procedures for how to collect the data was discussed with both interviews online and distributed surveys discussed.  Both the preamble and glossary while first drafts are available are dependent on the work of the matrices and cannot be further developed until after more progress has been made on the matrices.

- March 28, 2008:  The group met in Houston to review progress on the two matrices.  The wholesale matrix for DR programs administered by ISOs and RTOs was reviewed.  The matrix had expanded significantly to provide for more comparability for responses.  45 DR programs have been identified and the data is now being verified.  A template for the type of standards to be expected from this effort was reviewed.  The retail matrix now has additional data and several interviews were conducted online, with the conclusion that it is the preferred way to gather data.  The retail group is to set up a face-to-face meeting in May to review the matrix and make changes before sending it out to utilities for interviews.

- Planned, May 30, 2008 – Pl The group met in Holyoke to continue review progress on the two matrices.  The wholesale matrix for DR programs administered by ISOs and RTOs was reviewed.  The matrix had expanded significantly to provide for more comparability for responses.  With the  45 DR programs identified, the group is now consolidating the data to higher levels from the more specific items collected.  With the consolidation, the business spractices should be drafted.  The outline for the business practices has been prepared.  The retail matrix now has contributions from 11 DR programs and the matrix structure is being validated against flow charts of the programs.  Once the matrix structure is validated, online interviews will be held.  It was determined to concentrate on dispatchable DR programs first.

- Planned, July 30, 2008 – Planned meeting hosted by ACES Power in Indianapolis

- Planned, September 30, 2008 – Planned meeting hosted by ERCOT in Austin

- Planned, December 2, 2008 – Planned meeting hosted by NAESB office in Houston

The following includes:

- Retail Matrix and work plan 									3

- Wholesale work plan and Matrix 									19

Links on the NAESB Web Site:

  - DSM-EE NAESB Page for Meetings and Materials:  http://www.naesb.org/dsm-ee.asp

  - Relevant Documents and Work Papers:  http://www.naesb.org/dsm-ee_doc.asp

| Retail Matrix Work Plan for NAESB EE/DSM Standards |  |  |
| --- | --- | --- |
| Task/Description/Steps |  | Status |
| 1 | Finalize the retail matrix spreadsheet The retail matrix spreadsheet will provide the basis for a utility survey to determine what types of M&V are currently underway for current or past DR programs and what is planned for new programs. |  |
|  | - Decide if spreadsheet needs to be reformatted. Assigned to Rae McQuade, presented at the January DSM-EE meeting. | Completed – 1-17-08 |
|  | - Add additional columns – past programs, current programs, proposed programs Assigned to Rae McQuade, presented at the January DSM-EE meeting. | Completed – 1-17-08 |
|  | - Add examples from BGE and Alabama Power Examples provided by BGE (Ruth Kiselewich) and Alabama Power (Neal Allen). | Completed – 1-17-08 |
|  | - Add examples from ConEd and Puget Sound Energy Examples were provided by Puget Sound Energy (Bob Harshbarger) but a follow up call is needed to ensure correct entry to the matrix. ConEd has been contacted. Rip Newcomb and Rae McQuade to contact ConEd and PSE, complete via conference call, and web cast. | Completed – 3-18-08, ConEd review of matrix entries is not complete. |
|  | - Determine if other examples should be added. Add additional examples from Dominion and reach out to ComVerge. Alabama Power review of its entries in light of the others added. ComVerge has been contacted and may provide data. | March 31, 2008 |
|  | - Review the examples to determine if matrix should be revised to provide the analysis needed in later steps. Review for lessons learned with the ISO-RTO Council in its matrix development and reflect such modifications in the retail matrix. Modify instructions based on interviews. | After March 28, 2008 |
| 2 | Prepare Survey The survey will be used to solicit other utility responses for DR programs that they have administered, currently administer or plan to administer. The data will be entered into the retail matrix spreadsheet. |  |
|  | - Provide cover letter draft for review. | Outline prepared for review pre-March 28. |
|  | - Describe the purpose of survey, what is expected and how to respond. Prepare a white paper as part of the cover letter that would outline expectations. | Outline prepared for review pre-March 28. |
|  | - The cover letter introducing the survey should allow for two methods of data collection: (1) Phone survey with matrix filled in during conference call/web cast wit the submitter including work papers forwarded prior to the call, or (2) submitter providing responses directly into the matrix, which may then require a follow up call should additional information be required for the responses. |  |
|  | - Consider preparation of tutorial (access instructions work sheet from the retail matrix and elaborate to prepare a tutorial) – this may not be required if the instructions are sufficient and we address data collection primarily via the web cast interview process. | Set up a task force call for this after calls with PSE and ConEd. and cover letter has been drafted |
| 3 | Conduct survey The survey instrument will request each participant to submit his or her responses. Responses will be reviewed and segregated into types of programs. A summary report will be produced which describe the quality of the responses and the general types of programs that were submitted. This will be a qualitative assessment to determine the next steps of evaluation and the level of effort required. |  |
|  | - Identify target audience of utilities. |  |
|  | - Forward survey and contact utility to determine method of completion of survey for matrix entry. |  |
|  | - Assemble responses in matrix and review for consistency. |  |
|  | - Identify follow up contacts as a result of review. |  |
| 4 | Collect and summarize survey results |  |
|  | - Identify similarities within programs, related to M&V that may support development of business practices. |  |
|  | - Identify regional aspects that should be preserved. |  |
|  | - Determine if business practices have target area for applicability. |  |
| 5 | Report to NAESB Report out on preliminary assessment of the responses with a proposed work plan to complete the analysis and recommend next steps. |  |
|  | - Draft report |  |
|  | - Review draft report with contributors and edit as needed |  |
|  | - Prepare presentation of results for DSM-EE subcommittee |  |

| How to use this Matrix: |  |  |
| --- | --- | --- |
| To the best of your ability fill in the matrix with tje descriptions for the columns as noted below. If there are multiple programs or product names or triggers within a Class of DR Resource, please include their names and the trigger actions as appropriate . If there are different M&V requirements within a Class of DR Resource include them separated by a notation as to which product name it applies. There is no limit to the amount of information you add for each box, (this should occur rarely). Please note that the description text provided for specific programs is used as examples to put the issue identified in the heading within context. Companies may have different or similar descriptions for programs. There may or may not have differences in program qualification versus program implementation. |  |  |
| This Section in below in Blue is meant to clarify and focus the M&V content to be filled in the matrix following |  |  |

| Column Header | Objective | Frequency | Description |
| --- | --- | --- | --- |
| Qualification/ testing/ auditing | To ensure that the DR resources are capable of performing, thereby delivering the product(s) being purchased. | Prior to participation in market, and ongoing. | Up front process to verify adequate infrastructure (measurement & data recording and communication equipment and data validation procedures) in place. May include on-site inspections, data transfers, actual load reduction test to verify that the resource is able to deliver the committed reductions. Process & procedures for disqualification. THe data entered should answer the question: "How do you verify that the equipment is operating as expected?" |
| Data reporting-frequency and monitoring | To ensure adequate information to measure DR performance, accurate settlement and real-time operating data as appropriate. | Ongoing and/or event-driven. | Requirements around transmittal of meter and/or telemetry data to market. Includes validation, editing & estimation (VEE). If reporting for a particular product is differentiated by what it is used for, e.g. operations, planning or settlement only. For VEE - addressing missing values, high-low checks, etc..Utility best practices should be followed in addressing missing data or questionable data with techniques used to estimate or edit data. Retail business practices may be developed to define parameters supporting addressing estimates or editing to replace missing or questionable data. |
| Meter and equipment standards | To ensure appropriate granularity (frequency of data collection), frequency of data communication, accuracy and validity of data. | Ongoing or event-driven. | Requirements for meter accuracy, calibration, precision & testing and frequency of above. This could include support of ANSI standards for the performance of the meter equipment or control devices for the equipment. There is a difference between the sample population and the normal target population and is dependent on the investment made by the utility. |
| Performance/ baseline | To ensure the methodologies and techniques used to calculate load response and/or recovery produce results that are within the required error tolerances (i.e., +/- X%). | Ongoing or event-driven. | Method(s) and techniques used to calculate the DR resource's expected load absent the DR instruction or request. Load response is the difference between its actual metered load and the calculated baseline. Baselines may vary depending on age of equipment and other criteria. The following questions may be answerd in the responses for performance/baseline: How is the baseline calculated? How is an acceptable default reached for a utility operating in a non-ISO footprint? In comparison to the wholeasle market, ISOs establish baselines and compare to usage immediately prior to an event. |
| Statistical sampling of non-interval metered loads | To ensure that the methodologies and techniques used to calculate load response and/or recovery create a statistically valid use alternative to interval metering for measuring DR performance or aggregations of loads, produce results that are statistically valid. | Ongoing or event-driven. | Methodology for creating a statistically valid alternative to universal interval metering, to include precision & accuracy requirements, sample size and selection requirements and bias control. |
| Deployment Limitations | Define any maximum number of events or hours of program deployment. Limitations of the number of times the event is called, the length of an event, the % of participants | N/A | Restrictions of program operation and /or participation. Limitations of the number of times the event is called, the length of an event, the % of participants |
| Regulatory and market context | This would be helpful to identify the different regulatory contexts under which programs operate. | N/A | Context under which the service or program is being offered. |
| Class of DR Resources | Notes: |  |  |
| Submitter | These columns were added to indicate the submitters and the status of the programs described |  |  |
| Status | These columns were added to indicate the submitters and the status of the programs described |  |  |
| Product Type |  |  |  |
| Category | Ancillary Services, Capacity, Energy Voluntary, Energy Price |  |  |
| Program or Product Name | Need to compile a list of programs. Each ISO/RTO calls their products and programs different things. In order to track and define similarities and then translate that back to each ISO/RTO this field should include the program or product name |  |  |
| When is Product expected to perform -Trigger events | Questionable on whether this is needed for development of M&V model business practices for the retail market - this column is needed for the ISO/RTO matrix. This trigger event will probably vary from company to company. Triggers require date and time stamps. Each ISO/RTO program or product has unique trigger events their products and programs different things. In order to track and define similarities and then translate that back to each ISO/RTO this field should include the trigger action for the program or product. |  |  |

| NAESB Retail Matrix as of May 16, 2008 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specifics of the DR Program Being Described |  |  |  | M&V Aspects of the DR Programs |  |  |  |  |  |  |
| Class of DR Resources |  |  |  | Qualification/ testing/ auditing | Data reporting-frequency and monitoring | Meter and equipment standards | Performance/ baseline | Statistical sampling of non-interval metered loads | Deployment Limitations | Regulatory and market context |
| Capacity | Submitter | Dominion, Ripley Newcomb, 804-771-4637, ripley.newcomb@dom.com |  | Verification: Operate a pilot program to determine that at least 95% of devices both receive and respond to signal to turn off WH at the beginning of the program. Depending on the manufacturers and device, the verification may come from a signal back from device, a data logger, or an IDR on the meter. Ongoing, a sample of at least 250 devices should be tested at least every 5 years to determine the overall failure rate and to develop a net to gross ratio. This ratio will be applied to the deemed kW per customer reduction from the load study. | Data from IDR will be collected on monthly meter reading route for pilot and sample accounts. When program is implemented, the profiled reduction from the sample will be deemed to be the reduction for the program population. Monthly data will be required for PJM settlement | The customer's meter will continue to be used for billing determinants. The WH control switches should be included in the periodic meter tests to verify that 95% of the devices remain operational. The communication signal must be tested annually. Accounts in the load profile sample should have an end-use recorder on the water heater as well as a whole house recorder. Thirty minute interval data is adequate, although fifteen minute data on the water heater is considered preferable. | The algorithm that provides a reasonable estimate of normal customer usage absent any water heater interruption will be utility (and program specific). The CBL formula that is approved by the utility's ISO should be an acceptable default alternative. | An initial sample of 250 homes will provide a reasonably accurate estimate of load reduction that should be within =/- 5% of the true mean at a 90% confidence interval. The estimate for each demand reduction should be calculated with a 90% confidence level and the accuracy determined for each load reduction. An average error bound within +/- 10% will be considered to be accurate. If the net to gross operability study has remained at or above 90%, a sample of 100 homes will be adequate and should produce an error bound within =/- 5%. If net to gross operability drops below 90%, then a full sample of 250 homes will be required. If a tighter error bound is necessary, a larger sample will be required. (NOTE: This recommendation based on "PJM Deemed Savings for Legacy AC/WH Programs" report.) |  |  |
|  | Status | Program not in effect today |  |  |  |  |  |  |  |  |
|  | Product type |  |  |  |  |  |  |  |  |  |
|  | Category |  |  |  |  |  |  |  |  |  |
|  | Program or Product Name | Residential Water Heater Control Program |  |  |  |  |  |  |  |  |
|  | Trigger Events | when system load is critical (defined as ____) or when zone load is priced at or above $____ or transmission constraints in zone (defined as _______) |  |  |  |  |  |  |  |  |
| Energy Price | Submitter | Dominion, Ripley Newcomb, 804-771-4637, ripley.newcomb@dom.com |  | Each customer site will provide a dedicated IBM compatible PC with a modem in order to receive the price transmissions and the telecommunication equipment needed for the company to communicate with the meter (dedicated phone line, cellular phone modem, etc.) The company will provide the software to allow receipt of the RTP prices as well as to perform analytical and graphical functions. The company will install an IDR . A rate contract will be executed to insure that the customer fully understands the rate and agrees to a one year minimum commitment. (NOTE: the existing RTP rate is currently closed to new customers.) | The company will maintain access through the provided phone line and will collected half-hourly load data every 24 hours. | Standard billing meter and IDR, meeting company standards for accuracy. Modem and phone line provided by customer. | See Dominion VA Power rate sch.. RTP, paragraph V. DETERMINATION OF BASELINE KW LEVELS, BASELINE ENERGY LEVELS, AND INCREMENTAL ENERGY USAGE. | Not sampled. |  |  |
|  | Status | Program not in effect today |  |  |  |  |  |  |  |  |
|  | Product type |  |  |  |  |  |  |  |  |  |
|  | Category |  |  |  |  |  |  |  |  |  |
|  | Program or Product Name | Real Time Pricing rate (RTP) |  |  |  |  |  |  |  |  |
|  | Trigger Events | when system load is critical (defined as ____) or when zone load is priced at or above $____ or transmission constraints in zone (defined as _______) |  |  |  |  |  |  |  |  |
| Capacity | Submitter | Puget Sound Energy, Shannon McCormick, 425-256-2399, shannon.mccormick@pse.com |  | The pilot program is administered by EnerNOC for PSE. Participants are provided a no-cost site assessment of potential curtailable loads. Site enablement requires of demand pulse interval meter data and appropriate LAN connections. Five-minute interval meter data is continuously passed via an Internet LAN connection to the EnerNOC's network operations center in Boston, MA. The data is collected during the event, which can span from one to four hours. The participants are estimated to on average curtail 100 - 200 kW in the winter season (November - February) and 100 - 200 kW in the summer (May - September). | The pilot seeks to provide PSE to practical knowledge and performance data for customer facilities during winter and summer control events. Continuous, near real-time interval meter data supports measurement of capacity performance, baseline readings and development of the load adjustment. When the event is called, the participants are notified one hour ahead - for winter season notification windows (6 am to 9 am and 5 pm to 9 pm) and the summer notification window (2 pm to 6 pm). Following each event, EnerNOC reports to PSE the five minute interval kW data files (for each site) covering the (10 business day) baseline calculation period, through to the end of the event day. PSE separately maintains its own 15 minute utility meter data files for evaluation purposes. | Demand pulse interval meters are installed at the participants sites as well as a pulse splitter to permit EnerNOC to receive the meter data. | Performance is calculated based on a baseline determined from the highest thee days out of the previous ten business days for a given participant. | Not applicable | The participants represent a mix of facility/operation/load types, of which a maximum of 24 participants can be accommodated in the program. The program is operational from November 2007 to December 2009. The financial incentives offered for participants in measured capacity curtailment is capped at $5000 per participant per season, (provided through $20/kW seasonal average curtailment). | The program is operational in King County, Washington, and falls under the jurisdiction of Washington Utilities and Transportation Commission. The rate schedule is Electric Schedule 249A. |
|  | Status | Pilot program in effect today and began November 2007. The program will end in December 2009. |  |  |  |  |  |  |  |  |
|  | Product type | Direct Load Control |  |  |  |  |  |  |  |  |
|  | Category | Capacity |  |  |  |  |  |  |  |  |
|  | Program or Product Name | Commercial-Industrial Load control Pilot Program |  |  |  |  |  |  |  |  |
|  | Trigger Events | The program is triggered by weather conditions determined by PSE resource planners. |  |  |  |  |  |  |  |  |
| Price and Capacity Program | Submitter | ConEd, Elena Futoryan, 212-460-2228, futoryane@coned.com |  | This is not a pilot. A revenue grade interval meter with phone lines is required. For customers -- 50 KW reduction, and for load aggregators -- 100 KW reduction, for 4 consecutive hours. Audit is required for the mandatory program. The rider has been approved. In 2007, the maximum was 6 hours per capability period. Any participation over 6 events or 4 hours is considered voluntary. May 1 to October 31 is the summer capability period for the mandatory program. There is no winter capability option for the mandatory program at this time. | The customers are billed on the data. The meters are 15 minute interval meters. The data is 15-minute interval data, and the baseload level should be met every hour - so the data is rolled up to hourly. The data is collected after an event is called. The data is stored in a time stamp meter. | Revenue grade interval meters must be used with appropriate telephone lines. Precision levels should be available. | Performance is calculated based on NYISO methodology for capacity and energy payments. | not applicable | The program is capped at 400 MW. The reservation payment is based on a two tier system. | NY PSC |
|  | Status | In effect today |  |  |  |  |  |  |  |  |
|  | Product type |  |  |  |  |  |  |  |  |  |
|  | Category |  |  |  |  |  |  |  |  |  |
|  | Program or Product Name | Reservation Payment Program |  |  |  |  |  |  |  |  |
|  | Trigger Events | The program is triggered in heavy demand conditions as provided by the tariff. The trigger levels are under consideration now and may be changed. |  |  |  |  |  |  |  |  |
| Capacity | Submitter | Alabama Power, Neal Allen, 205-257-6579, hnallen@southernco.com |  | Two way communication devices. We send test and customers respond. Test periodically.. In addition, "in field" tests are performed periodically as well. | Interval metered data captured and maintained. Actual load evaluated when IS call occurs. Normal load levels evaluated when no call occurs. This allows for a determination of expected results when called. Program requirements are that customer drop to firm level during a call. No "reduction" constraints utilized. | Utilizes revenue quality meters. | The IS customer is required to cut load to the contracted firm load level. Actual load dropped is determined by evaluating pre and post event load levels of each customer. | N/A | Customer has options to choose various call constraints. Chosen option determines the credit amount to the customer for non-firm load. | PSC regulated tariff |
|  | Status | In effect Today |  |  |  |  |  |  |  |  |
|  | Product type | Interruptible Load |  |  |  |  |  |  |  |  |
|  | Category | Capacity |  |  |  |  |  |  |  |  |
|  | Program or Product Name | Industrial Interruptible Program, IS Program |  |  |  |  |  |  |  |  |
|  | Trigger Events | During a System Reliability Alert "System Alarm" notice. Can be utilized for locational reliability issues if necessary. |  |  |  |  |  |  |  |  |
| Capacity | Submitter | Alabama Power, Neal Allen, 205-257-6579, hnallen@southernco.com |  | Two way communication devices. We send test and customers respond. Test periodically.. In addition, "in field" tests are performed periodically as well. Generators are remotely started monthly for reliability purposes. | Two way communication confirms operating equipment. | Utilizes revenue quality meters. | No baseline requirements. Equipment rating and reliability testing determines expected reduction for a call. | N/A | Program rules set minimum 250 kW size to participate in the program. Program call constrained to 8 hours per day, 5 days per week, 240 hours per year. | PSC regulated tariff |
|  | Status | In effect Today |  |  |  |  |  |  |  |  |
|  | Product type | Utilization of customer owned generation |  |  |  |  |  |  |  |  |
|  | Category | Capacity |  |  |  |  |  |  |  |  |
|  | Program or Product Name | Stand By Generator Program |  |  |  |  |  |  |  |  |
|  | Trigger Events | During a System Reliability Alert "System Alarm" notice. Can be utilized for locational reliability issues if necessary. |  |  |  |  |  |  |  |  |
| Energy | Submitter | Alabama Power, Neal Allen, 205-257-6579, hnallen@southernco.com |  | Originally offered years ago prior to any qualification or auditing requirements. None exist today. | TOU metered data captured and maintained. No change or reduction constraints exist. | Utilizes revenue quality meters. | No performance levels expected therefore no baseline required. | N/A | Various TOU rates are available to customers meeting specific SIC codes. Some require separate metering for specific end uses such as irrigation pumps, electric vehicle charging, etc. | PSC regulated tariff |
|  | Status | In effect Today |  |  |  |  |  |  |  |  |
|  | Product type | TOU Rates |  |  |  |  |  |  |  |  |
|  | Category | Energy price |  |  |  |  |  |  |  |  |
|  | Program or Product Name | TOU Rates |  |  |  |  |  |  |  |  |
|  | Trigger Events | Various types of TOU rates exist for various types of residential, commercial, and industrial customers. Rates vary by fixed customer charge, season, and time of day. Majority of rates are based on summer and non-summer seasons with peak, intermediate, and off-peak rate periods. |  |  |  |  |  |  |  |  |
| Capacity | Submitter | BGE, Ruth Kiselewich, 410-470-1361, ruth.c.kiselewich@bge.com |  | BGE tests a sample of switches periodically. Switch operability studies must be conducted every 5 years, according to PJM, Manual 19: Load Data Systems. | In addition to the periodic sampling of switch operability, BGE conducts Load Research Studies to estimate the average impact for each participant in the program. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THIS FUNCTION IS IMPACT EVALUATION | For its Load Research Studies, BGE uses ANSI certified meters that have been approved by the PSC for load recording. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THIS FUNCTION IS IMPACT EVALUATION | For the development of average impacts for water heating, BGE compares non-event days to event days using a comparison of means. The difference between these two (2) load shapes forms the average impacts. PJM requires average impacts for each hour between noon and 8 p.m. The non-event profile is comprised of the hottest days of the summer. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THIS FUNCTION IS IMPACT EVALUATION | Load data are obtained from meters that were installed on 65 customers' water heaters. This stratified sample design provides a confidence of 90% ± 10% accuracy. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THIS FUNCTION IS IMPACT EVALUATION |  |  |
|  | Status | In effect Today |  |  |  |  |  |  |  |  |
|  | Product type |  |  |  |  |  |  |  |  |  |
|  | Category |  |  |  |  |  |  |  |  |  |
|  | Program or Product Name | BGE's Residential Water Heater Control Program (Rider 6) |  |  |  |  |  |  |  |  |
|  | Trigger Events | BGE can activate switches up to 15 times per year for reliability or economic reasons. |  |  |  |  |  |  |  |  |
| Capacity | Submitt er | BGE, Mary Straub, 410-470-1416, mary.m.straub@bge.com |  |  | Customers interval meter data is captured on weekly basis. This hourly data is stored and facilitates the M&V analysis. | The Participant must have Company-approved interval metering and communications equipment to participate in this Rider. | If the customer is participating by using a metered generator then the generator data forms the basis of the incentive. If the customer is participating by reducing load, then a Customer Baseline Load (CBL) will be developed. In general, the current PJM baseline is formed by taking the highest 5 days over the last 10 non-event/non-holiday weekdays. |  |  | BGE Rider. Settlements are made with PJM. |
|  | Status | In effect Today |  |  |  |  |  |  |  |  |
|  | Product type | PJM Load Response program |  |  |  |  |  |  |  |  |
|  | Category | Voluntary (Capacity & Energy) |  |  |  |  |  |  |  |  |
|  | Program or Product Name | BGE's Load Response Program (Rider 24) |  |  |  |  |  |  |  |  |
|  | Trigger Events | Commercial Customer notifies BGE when they plan on initiating a load response event. |  |  |  |  |  |  |  |  |
| Capacity | Submitt er | BGE, Ruth Kiselewich, 410-470-1361, ruth.c.kiselewich@bge.com |  | BGE tests a sample of switches periodically. Switch operability studies must be conducted every 5 years, according to PJM, Manual 19: Load Data Systems. | In addition to the periodic sampling of switch operability, BGE conducts Load Research Studies to estimate the average impact for each participant in the program. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THIS FUNCTION IS IMPACT EVALUATION | For its Load Research Studies, BGE uses ANSI certified meters that have been approved by the PSC for load recording. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THIS FUNCTION IS IMPACT EVALUATION | For the development of average impacts for air conditioning, BGE compares non-event days to event days using regression analysis. The model estimates the average impact provided a particular weather conditions. PJM requires average impacts for each hour between noon and 8 p.m.PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THSI FUNCTION IS IMPACT EVALUATION | Load data are obtained from meters that were installed on 100 customers' air conditioner units. This stratified sample design provides a confidence of 90% ± 10% accuracy. PROVIDED FOR INFORMATION ONLY - BGE BELIEVES THAT THIS FUNCTION IS IMPACT EVALUATION |  |  |
|  | Status | In effect Today |  |  |  |  |  |  |  |  |
|  | Product type |  |  |  |  |  |  |  |  |  |
|  | Category |  |  |  |  |  |  |  |  |  |
|  | Program or Product Name | BGE's Residential Air Conditioner Control Program (Rider 5) |  |  |  |  |  |  |  |  |
|  | Trigger Events | There is no limit to the number of times BGE can activate switches for reliability or ecomic reasons. |  |  |  |  |  |  |  |  |
| To the extent that NAESB can provide some protocols that would assist groups such as ISOs in evaluating the effectiveness of programs would be helpful. |  |  |  |  |  |  |  |  |  |  |
| Time of Use Examples: Schedule of prices published such the consumer can determine his energy consumption based in part on price signals published. |  |  |  |  |  |  |  |  |  |  |
| Real Time Pricing |  |  |  |  |  |  |  |  |  |  |
| Demand Charges |  |  |  |  |  |  |  |  |  |  |
| Peak Time Rebates |  |  |  |  |  |  |  |  |  |  |
| Planning Peak Alerts |  |  |  |  |  |  |  |  |  |  |
| Interruptible/Curtailable Management Rates |  |  |  |  |  |  |  |  |  |  |
| Thermal Storage/Energy Storage |  |  |  |  |  |  |  |  |  |  |
| Standby Generation Rates (emergency generators and distributed generators) |  |  |  |  |  |  |  |  |  |  |
| Smart Appliances |  |  |  |  |  |  |  |  |  |  |
| Ancillary Programs |  |  |  |  |  |  |  |  |  |  |

| ISO/RTO Wholesale Matrix Plan |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # | Task | Description | Deliverable | Completion Date | Who |
| 1 | Finalize Framework | The draft framework will serve as a basis for documenting the technical M&V requirements for the different ISO/RTO products. It should guide each ISO-RTO in answering the questions of Why, When, and What M&V is done. | Each ISO should provide comments on the Objectives, Frequency and Description. Each ISO/RTO should add any additional comments that it feels it needs to describe the products, (this will help to synthesize any commonalities between products and ISO/RTOs). If the list of product classes are not representative, please comment. | 10/30/07 COMPLETE | All |
| 2 | ISO/RTO Conference Call | This call is designed to discuss comments submitted in regard to the Framework | Come to consensus on the Framework | Week of November 19 , 2007 COMPLETE | All |
| 3 | Report to NAESB DSM/EE Standards Committee | At the September 25th meeting the ISO/RTOs tacitly agreed to report back to the Committee on how we plan on completing the task by the end of the 1st quarter of 2008. | Report to NAESB DSM-EE Task Force the status of the ISO/RTO Wholesale standards development. | 11/30/07 COMPLETE | P. Wattles, E. Winkler |
| 4 | Add M&V technical data | Each ISO/RTO will fill in the matrix with appropriate technical requirements and how the M&V activity is implemented (where appropriate) for each of its products and each M&V area. | A Draft Matrix with the general description of the M&V areas, products and technical information in M&V requirements for each ISO/RTOs range of products. | 12/15/07 COMPLETE | All |
| 5 | ISO/RTO Conference Call | This call is designed to review progress on data synthesis from the Framework | Develop status update on development of wholesale standards | January 14, 2008. COMPLETE | All |
| 6 | Report to NAESB DSM/EE Task Force | Status report of Wholesale standards | Report to NAESB the status of the ISO/RTO Wholesale standards development. | 1/23/2008 COMPLETE | P. Wattles, E. Winkler |
| 7 | Update M&V Technical Data | ISO/RTOs will update matrices with appropriate expanded technical requirements. | Expanded draft Matrix | 1/30/2008 COMPLETE | All |
| 8 | ISO/RTO Conference Call | This call is designed to review progress on data synthesis from the Framework | Develop status update on development of wholesale standards | 2/11/08 COMPLETE | All |
| 9 | Draft Wholesale Standards | Synthesize Technical Requirements into draft Standards | Draft Standards will be developed by processing the technical requirements provided by all the ISO/RTOs to find commonalities and or create ranges of requirements | 2/29/08 COMPLETE internal document | E. Winkler lead, Scott COE, review by All |
| 10 | ISO/RTO Working Meeting | This meeting is designed to review and discuss the draft wholesale standards. | Provide agreement on draft standards to be submitted to NAESB | 3/11/08 -3/12/08 COMPLETE | All |
| 11 | Revise Draft Outline of Standards | Revised Draft Wholesale DR Standards outline based on working group session distributed to ISO/RTO working group | Revised Draft Wholesale Standards Outline | 3/18/08 COMPLETE | E. Winkler |
| 12 | Update M&V Technical Data | Each ISO/RTO will revise entries in the matrix for appropriate technical requirements per the current draft matrix. (IRC Demand Programs 2008-03-14.xls) | A Draft Matrix with the general description of the M&V areas, products and technical information in M&V requirements for each ISO/RTOs range of products and services | 3/21/08 | All |
| 13 | Call to review Presentation & discuss presentation at DSM/EE Meeting | Review of materials and scope of presentation at NAESB DSM/EE standards development meeting, Houston, TX March 28, 2008 | Presentation materials for meeting | 3/26/08 | P. Wattles, E. Winkler |
| 14 | NAESB DSM/EE Standards Committee | ISO-RTO documents presented as a draft for wider NAESB stakeholder consideration and comment | Report to NAESB on documented ISO/RTO Wholesale DR M&V standards for use in developing proposed NAESB standards and/or model business practices. | 3/28/08 Houston TX | P. Wattles, E. Winkler, S. Coe |
| 15 | ISO/RTO Working Meeting | This meeting is designed to review and discuss the draft wholesale standards. | Provide agreement on draft standards to be submitted to NAESB | Mid May, 2008, TBD | All |
| 16 | NAESB DSM/EE Standards Committee | ISO-RTO documents presented as a draft for wider NAESB stakeholder consideration and comment | Report to NAESB on documented ISO/RTO Wholesale DR M&V standards for use in developing proposed NAESB standards and/or model business practices. | 5/30/08 Holyoke, MA | P. Wattles, E. Winkler, S. Coe |
| 17 | NAESB DSM/EE Standards Committee | ISO-RTO documents presented as a draft for wider NAESB stakeholder consideration and comment | Report to NAESB on documented ISO/RTO Wholesale DR M&V standards for use in developing proposed NAESB standards and/or model business practices. | 7/30/08 TBD | P. Wattles, E. Winkler, S. Coe |
| 18 | ISO/RTO Working Meeting | This meeting is designed to review and discuss the draft wholesale standards. | Provide agreement on draft standards to be submitted to NAESB | Mid Sept, 2008, TBD | All |
| 19 | Draft Wholesale DR Standards | Final Draft Wholesale Standards Completed for submittal to NAESB | Completed draft ISO/RTO contribution of wholesale DR M&V standards | 9/30/08 | E. Winkler, S. Coe |
| 20 | NAESB DSM/EE Standards Committee | ISO-RTO documents presented as a draft for wider NAESB stakeholder consideration and comment | Report to NAESB on documented ISO/RTO Wholesale DR M&V standards for use in developing proposed NAESB standards and/or model business practices. | 9/30/08 Austin, TX | P. Wattles, E. Winkler, S. Coe |

| Instructions for Characteristics of DR Programs |  |  |
| --- | --- | --- |
| ISO/RTO Specific Name | Region | Abbreviation for the ISO/RTO. |
|  | ISO/RTO Program or Service Name | Proper name for the program or service within the region. Note: If several products are included in a given Program or Service, then several rows will be shown for each. |
|  | Acronym | Acronym for the Program or Service |
| Major Features | Product | The commodity that is being offered: AS: Regulation, AS: Spin, AS: Non-Spin, Energy, or Capacity. |
|  | Mapping: NAESB Sections | CALCULATED FIELD: DO NOT TYPE IN THIS CELL |
| Initial Qualification / Testing / Auditing | Load Deployment Time | Time at which the requested level of response is completely "off the system" (in minutes) |
|  | Aggregation Allowed | Indication of if composite / aggregated assets are allowed. |
| Telemetry | Real-Time On-Site Generation Measurement | If on-site generation is present; is metering required? Yes / No |
|  | Accuracy | Precision of the Demand Measurement (or also of the On-Site Generator Output) PREFERENCE IS PERCENTAGE OF FULL SCALE |
|  | Reporting Interval | The time between signals [in seconds] |
|  | Other Measurements | If other variables are measured, a list should be provided here. Example include quality flags, breaker status, response amount, etc . |
|  | Communication Protocol | The IT protocol used to collect the data, such ICCP or any other named system. If a non-standard system is used, description should include a brief overview of the transport, i.e. Internet, Dedicated Network, Wireless, FM, etc. |
| After-The-Fact Measurements | On-Site Generation Meter Required | Yes or No |
|  | Meter Accuracy | Accuracy of the Meter Reading (or also of the On-Site Generator Output) PREFERENCE IS PERCENTAGE OF FULL SCALE and is the net accuracy, i.e. includes PT & CT |
|  | Clock / Time Accuracy | Accuracy of the time measurement (if any) associated with the Meter Read time. |
|  | Details of Meter/Equipment Standards | Listing of any meter or equipment standards |
|  | Meter Data Reporting Deadline | How often is the meter reading data sent to the ISO/RTO related to demand response reporting. May be absolute or relative to Event period. Also, those entries marked "Daily" or "Monthly" happens regardless of the existence of an Event. |
|  | Granularity | The level of detail in the reported data. For example, if the Periodicity = 1 hour, the Granularity might be 5 minute. |
|  | Validating, Editing & Estimating (VEE) Method | An indication of how missing data are managed, for example, Skipped, Estimated & Flagged, etc. |
|  | Rules For Statistical Sampling | If statistical sampling is allowed, document the sample size, precision and accuracy parameters, homogeneity, etc. |
| Performance / Baseline | Baseline Type | Either "Meter-Before vs. Meter-After", "Comparable Day", "Statistical Algorithm" , "Behind the Meter Generation Data", "Firm Service Level Drop" |

| Wholesale Matrix DR Programs Identified |  |  |  |  |
| --- | --- | --- | --- | --- |
| ISO/RTO Specific Name |  |  | Major Features |  |
| Region | ISO/RTO Program or Service Name | Acronym | Product | Mapping: NAESB Sections |
| AESO | Demand Opportunity Service | DOS |  | UNDEFINED |
| AESO | Frequency Load Shed Service | FLSS | AS: Regulation | Regulation |
| AESO | Supplemental Operating Reserves | SUP | AS: Non-Spin | Reserve |
| AESO | Voluntary Load Curtailment Program | VLCP |  | UNDEFINED |
| CAISO | Participating Load Program | PLP | Energy | Energy |
| CAISO | Participating Load Program | PLP | AS: Non-Spin | Reserve |
| ERCOT | Emergency Interruptible Load Service | EILS | Capacity | Capacity |
| ERCOT | Loads Acting as a Resource providing Responsive Reserve Service -- Under Frequency Relay Type | LaaR / RRS / UFR | AS: Spin | Reserve |
| ERCOT | Loads Acting as a Resource providing Responsive Reserve Service -- Controllable Load Resource Type | LaaR / RRS / CLR | AS: Spin | Reserve |
| ERCOT | Loads Acting as a Resource providing Non-Spinning Reserve Service | LaaR / NSRS / | AS: Non-Spin | Reserve |
| ERCOT | Controllable Load Resources providing Regulation Service | CLR | AS: Regulation | Regulation |
| IESO | Emergency Load Reduction Program | ELRP | Energy | Energy |
| IESO | Emergency Demand Response Program | EDRP | Energy | Energy |
| IESO | Dispatchable Load | DL | Energy | Energy |
| IESO | Dispatchable Load (Spinning Component) | DL | AS: Spin | Reserve |
| IESO | Dispatchable Load (Non-Spinning Component) | DL | AS: Non-Spin | Reserve |
| IESO | Hour Ahead Dispatchable Load | HADL | Energy | Energy |
| ISO-NE | Real Time Demand Response Program [Capacity Component] | RTDRP | Capacity | Capacity |
| ISO-NE | Real Time Demand Response Program [Energy Component] | RTDRP | Energy | Energy |
| ISO-NE | Day Ahead Load Response Program | DALRP | Energy | Energy |
| ISO-NE | Demand Response Reserves Pilot | DRR | AS: Non-Spin | Reserve |
| ISO-NE | Real Time Price Response Program | RTPR | Energy | Energy |
| ISO-NE | Real Time Demand Response Resource | RTDR | Capacity | Capacity |
| ISO-NE | FCM: On-Peak, Seasonal Peak, Critical Peak Resources |  | Capacity | Capacity |
| ISO-NE | Real Time Emergency Generation Resource | RTEG | Capacity | Capacity |
| NBSO | 30 Minute Non-Spinning Reserves | 30NSR | AS: Non-Spin | Reserve |
| NBSO | 10 Minute Non-Spinning Reserves | 10NSR | AS: Non-Spin | Reserve |
| NBSO | 10 Minute Spinning Reserve | 10SR | AS: Spin | Reserve |
| NBSO | Load Following | LF | AS: Regulation | Regulation |
| NBSO | Regulation | REG | AS: Regulation | Regulation |
| NBSO | Interruptible Load | IL | Capacity | Capacity |
| NBSO | Bid-Based Demand Response | BBDR | Energy | Energy |
| NYISO | Day-Ahead Demand Response Program | DADRP | Energy | Energy |
| NYISO | Demand Side Ancillary Services Program | DSASP | AS: Spin | Reserve |
| NYISO | Demand Side Ancillary Services Program | DSASP | AS: Non-Spin | Reserve |
| NYISO | Demand Side Ancillary Services Program | DSASP | AS: Regulation | Regulation |
| NYISO | Emergency Demand Response Program | EDRP | Energy | Energy |
| NYISO | Installed Capacity Special Case Resources (Energy Component) | SCR | Energy | Energy |
| NYISO | Installed Capacity Special Case Resources (Capacity Compoent) | SCR | Capacity | Capacity |
| PJM | Economic Load Response |  | Energy | Energy |
| PJM | Economic Load Response |  | AS: Spin | Reserve |
| PJM | Economic Load Response |  | AS: Regulation | Regulation |
| PJM | Emergency Load Response |  | Energy | Energy |
| PJM | Emergency Load Response (Energy Component) |  | Energy | Energy |
| PJM | Emergency Load Response (Capacity Component) |  | Capacity | Capacity |

# DISCLAIMER

# This document contains draft information on standards for wholesale electricity demand response programs and services.  The information contained within this draft is not intended to replace applicable tariffs for wholesale demand response.  In no case does this information supplant existing standards used in ISO/RTO administered markets.  Proposed Standards areas are draft and subject to revision or exclusion.

# Contact information:

# Eric Winkler, Ph.D.

# ISO New England

# 413-540-4513

# ewinkler@iso-ne.com

# Business Practices for Wholesale Electricity Demand Response

Introduction

Definition of Terms

Business Practice Requirements: Regulation Services

# PROVISIONS OF MEASUREMENT AND VERIFICATION STANDARDS

Applicability

Purpose

- WholeSALE MArket DEMand Response Products

- Wholesale Products:
The commodity that is being offered: Regulation, Reserve, Energy, or Capacity.

- Initial Qualification / Testing / Auditing

- Reduction Deadline Standard:

Time at which the requested level of response is completely "off the system" (in minutes)

- Aggregation Allowed Standard:
Indication of if composite / aggregate assets are allowed.

- TELEMETRY

- Real-Time Demand Measurement Required:
Measurement of the real-time demand for each Resource required: Yes / No.

- Real-Time On-Site Generation Measurement:
If on-site generation is present; is metering required? Yes / No.

- Accuracy:

Precision of the Demand Measurement (or also of the On-Site Generator Output)

- Reporting Interval:

The time between signals [in seconds]

- Other Measurements:

If other variables are measured, a list should be provided here.  Example include: quality flags, breaker status, response amount, etc.

- Communication Protocol:

The IT protocol used to collect the data, such ICCP or any other named system.  If a non-standard system is used, description should include a brief overview of the transport, i.e. Internet, Dedicated Network, Wireless, FM, etc.

- After-The-Fact Measurements

- On-Site Generation Meter Required:

Yes or No

- Meter Accuracy:

Accuracy of the Meter Reading (or also of the On-Site Generator Output) and is the net accuracy, i.e. includes PT & CT

- Clock / Time Accuracy:

Accuracy of the time measurement (if any) associated with the Meter Read time.

- Details of Meter/Equipment Standards

Listing of any meter or equipment standards

- Meter Data Reporting Deadline:

How often is the meter reading data sent to the ISO/RTO related to demand response reporting.  May be absolute or relative to Event period.  Also, those entries marked "Daily" or "Monthly" happens regardless of the existence of an Event.

- Granularity:

The level of detail in the reported data.  For example, if the Meter Data Reporting Deadline = “within 24 hours”, the Granularity might be “1 hour”.

- Validating, Editing & Estimating (VEE) Method:

An indication of how missing data are managed, for example, Skipped, Estimated & Flagged, etc.

- Rules for Statistical Sampling:

If statistical sampling is allowed, a brief summary of the rules associated with the estimates, for example, minimum percentage of physical measurements.

- Performance / Baseline

- Baseline Types:

Either "Meter-Before vs. Meter-After", "Comparable Day", "Statistical Algorithm" , "Behind the Meter Generation Data", "Firm Service Level Drop"

Business Practice Requirements: Reserves Services

# PROVISIONS OF MEASUREMENT AND VERIFICATION STANDARDS

Applicability

Purpose

- WholeSALE MArket DEMand Response Products

- Wholesale Products:
The commodity that is being offered: Regulation, Reserve, Energy, or Capacity.

- Initial Qualification / Testing / Auditing

- Reduction Deadline Standard:

Time at which the requested level of response is completely "off the system" (in minutes)

- Aggregation Allowed Standard:
Indication of if composite / aggregate assets are allowed.

- TELEMETRY

- Real-Time Demand Measurement Required:
Measurement of the real-time demand for each Resource required: Yes / No.

- Real-Time On-Site Generation Measurement:
If on-site generation is present; is metering required? Yes / No.

- Accuracy:

Precision of the Demand Measurement (or also of the On-Site Generator Output)

- Reporting Interval:

The time between signals [in seconds]

- Other Measurements:

If other variables are measured, a list should be provided here.  Example include: quality flags, breaker status, response amount, etc.

- Communication Protocol:

The IT protocol used to collect the data, such ICCP or any other named system.  If a non-standard system is used, description should include a brief overview of the transport, i.e. Internet, Dedicated Network, Wireless, FM, etc.

- After-The-Fact Measurements

- On-Site Generation Meter Required:

Yes or No

- Meter Accuracy:

Accuracy of the Meter Reading (or also of the On-Site Generator Output) and is the net accuracy, i.e. includes PT & CT

- Clock / Time Accuracy:

Accuracy of the time measurement (if any) associated with the Meter Read time.

- Details of Meter/Equipment Standards

Listing of any meter or equipment standards

- Meter Data Reporting Deadline:

How often is the meter reading data sent to the ISO/RTO related to demand response reporting.  May be absolute or relative to Event period.  Also, those entries marked "Daily" or "Monthly" happens regardless of the existence of an Event.

- Granularity:

The level of detail in the reported data.  For example, if the Meter Data Reporting Deadline = “within 24 hours”, the Granularity might be “1 hour”.

- Validating, Editing & Estimating (VEE) Method:

An indication of how missing data are managed, for example, Skipped, Estimated & Flagged, etc.

- Rules for Statistical Sampling:

If statistical sampling is allowed, a brief summary of the rules associated with the estimates, for example, minimum percentage of physical measurements.

- Performance / Baseline

- Baseline Types:

Either "Meter-Before vs. Meter-After", "Comparable Day", "Statistical Algorithm" , "Behind the Meter Generation Data", "Firm Service Level Drop"

Business Practice Requirements: Energy Products

# PROVISIONS OF MEASUREMENT AND VERIFICATION STANDARDS

Applicability

Purpose

- WholeSALE MArket DEMand Response Products

- Wholesale Products:
The commodity that is being offered: Regulation, Reserve, Energy, or Capacity.

- Initial Qualification / Testing / Auditing

- Reduction Deadline Standard:

Time at which the requested level of response is completely "off the system" (in minutes)

- Aggregation Allowed Standard:
Indication of if composite / aggregate assets are allowed.

- TELEMETRY

- Real-Time Demand Measurement Required:
Measurement of the real-time demand for each Resource required: Yes / No.

- Real-Time On-Site Generation Measurement:
If on-site generation is present; is metering required? Yes / No.

- Accuracy:

Precision of the Demand Measurement (or also of the On-Site Generator Output)

- Reporting Interval:

The time between signals [in seconds]

- Other Measurements:

If other variables are measured, a list should be provided here.  Example include: quality flags, breaker status, response amount, etc.

- Communication Protocol:

The IT protocol used to collect the data, such ICCP or any other named system.  If a non-standard system is used, description should include a brief overview of the transport, i.e. Internet, Dedicated Network, Wireless, FM, etc.

- After-The-Fact Measurements

- On-Site Generation Meter Required:

Yes or No

- Meter Accuracy:

Accuracy of the Meter Reading (or also of the On-Site Generator Output) and is the net accuracy, i.e. includes PT & CT

- Clock / Time Accuracy:

Accuracy of the time measurement (if any) associated with the Meter Read time.

- Details of Meter/Equipment Standards

Listing of any meter or equipment standards

- Meter Data Reporting Deadline:

How often is the meter reading data sent to the ISO/RTO related to demand response reporting.  May be absolute or relative to Event period.  Also, those entries marked "Daily" or "Monthly" happens regardless of the existence of an Event.

- Granularity:

The level of detail in the reported data.  For example, if the Meter Data Reporting Deadline = “within 24 hours”, the Granularity might be “1 hour”.

- Validating, Editing & Estimating (VEE) Method:

An indication of how missing data are managed, for example, Skipped, Estimated & Flagged, etc.

- Rules for Statistical Sampling:

If statistical sampling is allowed, a brief summary of the rules associated with the estimates, for example, minimum percentage of physical measurements.

- Performance / Baseline

- Baseline Types:

Either "Meter-Before vs. Meter-After", "Comparable Day", "Statistical Algorithm" , "Behind the Meter Generation Data", "Firm Service Level Drop"

Business Practice Requirements: Capacity Products

# PROVISIONS OF MEASUREMENT AND VERIFICATION STANDARDS

Applicability

Purpose

- WholeSALE MArket DEMand Response Products

- Wholesale Products:
The commodity that is being offered: Regulation, Reserve, Energy, or Capacity.

- Initial Qualification / Testing / Auditing

- Reduction Deadline Standard:

Time at which the requested level of response is completely "off the system" (in minutes)

- Aggregation Allowed Standard:
Indication of if composite / aggregate assets are allowed.

- TELEMETRY

- Real-Time Demand Measurement Required:
Measurement of the real-time demand for each Resource required: Yes / No.

- Real-Time On-Site Generation Measurement:
If on-site generation is present; is metering required? Yes / No.

- Accuracy:

Precision of the Demand Measurement (or also of the On-Site Generator Output)

- Reporting Interval:

The time between signals [in seconds]

- Other Measurements:

If other variables are measured, a list should be provided here.  Example include: quality flags, breaker status, response amount, etc.

- Communication Protocol:

The IT protocol used to collect the data, such ICCP or any other named system.  If a non-standard system is used, description should include a brief overview of the transport, i.e. Internet, Dedicated Network, Wireless, FM, etc.

- After-The-Fact Measurements

- On-Site Generation Meter Required:

Yes or No

- Meter Accuracy:

Accuracy of the Meter Reading (or also of the On-Site Generator Output) and is the net accuracy, i.e. includes PT & CT

- Clock / Time Accuracy:

Accuracy of the time measurement (if any) associated with the Meter Read time.

- Details of Meter/Equipment Standards

Listing of any meter or equipment standards

- Meter Data Reporting Deadline:

How often is the meter reading data sent to the ISO/RTO related to demand response reporting.  May be absolute or relative to Event period.  Also, those entries marked "Daily" or "Monthly" happens regardless of the existence of an Event.

- Granularity:

The level of detail in the reported data.  For example, if the Meter Data Reporting Deadline = “within 24 hours”, the Granularity might be “1 hour”.

- Validating, Editing & Estimating (VEE) Method:

An indication of how missing data are managed, for example, Skipped, Estimated & Flagged, etc.

- Rules for Statistical Sampling:

If statistical sampling is allowed, a brief summary of the rules associated with the estimates, for example, minimum percentage of physical measurements.

- Performance / Baseline

- Baseline Types:

Either "Meter-Before vs. Meter-After", "Comparable Day", "Statistical Algorithm" , "Behind the Meter Generation Data", "Firm Service Level Drop"