Additional OATI Formal Comments on the Standard Recommendation for the Conditional Curtailment Option

NERC Staff identified that the addition of a new product code in the Registry may require corresponding changes to the NAESB TLR Business Practices as well as a change to the Interchange Distribution Calculator (IDC) to accommodate this new product code.  The following is a recommended change to NAESB Standard WEQ-008, Transmission Loading Relief, to accommodate those concerns.  It is suggested that this change be incorporated into the Conditional Curtailment Option to be part of the final recommendation.

Suggested modification to WEQ-008-2.1.7:

008-2.1.7 Priority 6. Network Integration Transmission Service from sources not

designated as network resources – NN and Long-term Firm Point-to-Point Transmission Service subject to the Conditional Curtailment Priority Level - CF