FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	2008 AP Items 2.a.i.2 and 2.a.vii.1 – Conditional Firm Business Practice Standards associated with S&CP Requirements completed in 2008 AP 2(a)(i)(1) and Tagging for Conditional Firm Service

Submitted By:	Standards Review Subcommittee

Date:	July 25, 2008

Under the Standards Review Subcommittee Scope of Work, which was approved by the SRS on March 6, 2008, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comments to the Executive Committee for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

The SRS is requesting the Executive Committee consider the following advisory comments in their review of this recommendation:

001-0.nn 	Conditional Curtailment Option (CCO) – An option subject to either a Number-of-Hours Criteria or a System-Conditions Criteria that may be specified in a service agreement for Long-Term Firm Point-to-Point Transmission Service when a Transmission Provider determines that it cannot accommodate a request because of insufficient transmission capability.

001-n.1.3	The Transmission Provider is only required to study the CCO upon request of the Transmission Customer in response to a pending request for Long-Term Firm Point-to-Point Transmission Service.

001-n.1.3.1	The Transmission Customer shall specify in the System Impact Study Agreement whether the Transmission Provider must study either (i) the System-Conditions Criteria, or (ii) the Number-of-Hours Criteria or (iii) both.