ENTERGY FORMAL COMMENTS

MOTION 2 - Redline

WEQ REQUEST FOR FORMAL COMMENT

2008 WEQ ANNUAL PLAN ITEM 2.c

September 17, 2008

Dear Wholesale Electric Quadrant Members and Interested Industry Participants –

For the attached recommendation for standards that are linked to NERC standards development for FERC Order No. 890, our subcommittees have accepted these proposed standards and are asking you to comment on them in a formal comment period.  They are also asking the WEQ Executive Committee to consider this recommendation and comments that are submitted during the formal comment period, and vote on this recommendation.

The subcommittees understand that the proposed standards include references to NERC reliability standards that have not yet been approved through the NERC process, but are based on their current work products.  The proposed standards include placeholders for the NERC references, which will be added once they are approved by NERC.  The subcommittees do not expect that this recommendation will require significant rework by the subcommittees once NERC adopts its related reliability standards.  The subcommittees’ chairs will review the final NERC standards once adopted and will identify if any changes are needed to recommendations that have already been processed through commenting and EC consideration.  If changes are needed, a determination will be made whether the changes can be processed as minor actions, or for more substantive changes, the standards modification process will be used.

We are taking these steps and offering this recommendation for your comment and for EC consideration for vote rather than waiting until NERC completes its full process because:

- NERC has developed draft standards for the referenced items which have been processed through at least one ballotting period.

- The NAESB subcommittees do not expect the changes to be made by NERC in its current efforts to yield substantive changes to the NAESB related standards.

- The progress being made by the subcommittees now on Order 890 towards meeting the August deadline will be adversely affected if the all NAESB Order No. 890 recommendations with NERC references are held in abeyance until NERC has concluded its efforts.

- The interested industry participants and the WEQ EC will have the opportunity to review the  NAESB Order No. 890 recommendations with NERC references for formal comment and consideration as NAESB completes its efforts on each recommendation.  In this manner, the industry and the EC are asked to consider proposed standards within a reasonable workflow.  The alternative is to hold all NAESB Order No. 890 recommendations with NERC references and then submit them all for industry comment and EC consideration which would provide a significant amout of documents for review, comment and consideration.

- Last but certainly not least, submitting the recommendations now to the industry and to the WEQ EC will provide the necessary signals from the industry through formal comments and through EC actions.  If corrective action is needed, NAESB would have the opportunity to meet or come closer to the deadlines set by the FERC.

Please note that the subcommittees have worked diligiently on this recommendation along with the work products available from NERC and that all steps outlined conform with NAESB operating procedures.  We appreciate your consideration and your comments.

With Best Regards,

Marcie Otondo, Co-Chair, NAESB Electronic Scheduling Subcommittee/Information Technology Subcommittee

Ed Skiba, Co-Chair, NAESB Business Practices Subcommittee

Paul Sorenson, Co-Chair, NAESB Electronic Scheduling Subcommittee/Information Technology Subcommittee

J.T. Wood, Co-Chair, NAESB Business Practices Subcommittee and Co-Chair,  NAESB Electronic Scheduling Subcommittee/Information Technology Subcommittee

1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

X  Accept as requested				  X  Change to Existing Practice

Accept as modified below			       Status Quo

Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

- Per Request:					Per Recommendation:

X Initiation					 X  Initiation

Modification				 	      Modification

Interpretation					      Interpretation

Withdrawal					      Withdrawal

Principle 					      Principle

Definition 					      Definition

X Business Practice Standard 			 X  Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 					      Code Value

X12 Implementation Guide			     X12 Implementation Guide

Business Process Documentation		     Business Process Documentation

3.  RECOMMENDATION

BACKGROUND:  The Joint ESS/ITS and BPS subcommittee reviewed the 2008 WEQ Annual Plan Item 2.c: Develop version 1 business practice standards to support transparency reporting and related functions that may be required as a result of the final order.

Upon review of this annual plan item and the requirements developed by NERC under MOD-001, MOD-004, MOD-008, MOD028, MOD-029, and MOD-030 the joint subcomittee is recommending the following NAESB Business Practice Standards be developed for this annual plan item.

- SUMMARY:

The WEQ EC ad hoc group met on June 6, 2008 and determined to pursue the list, not through the proscriptive means of detailing each piece of information that should be made available or not made available publicly, and then uniformly apply such requirements to all transmission providers.  Instead the group determined to pursue the list through a standardized report that the TPs would post on OASIS.  The report would be standardized, and each TP would complete the report specific to its own operations, and would maintain the currency of the information posted.  In this approach, the TPs would not have a “one size fits all” approach to the information to be made public or to remain not-public, and the market participants would have access through a standardized report to the TPs decisions on acess to ATC related information. The ad hoc group met also on July 18 and August 14, 2008 to finalize this approach and draft the needed business practices.

- Recommended Standard:

- NOTE: NAESB Staff will assign appropriate enumeration to this standard to replac “n” with next sequential standard number within WEQ-001

WEQ-001.n	Each Transmission Provider (TP) shall prepare a report according to the format given herein,completing columns and will post such report on OASIS in accordance with WEQ-001.n.1.5 Report on the List of ATC Related Information Report.

- LIST OF ATC RELATED INFORMATION

In Order No. 890-A, the Commission required transmission providers to make available, upon request, all data used to calculate ATC, TTC, CBM and TRM for any constrained posted path.Transmission providers shall make available, upon request and subject to appropriate confidentiality protections and CEII requirements, the following modeling data:

| Item # |  | ATC-Related Item2 |  | Available3 | Comments4 |
| --- | --- | --- | --- | --- | --- |
| 1 |  | (1) load flow base cases and generation dispatch methodology; |  |  |  |
| 2 |  | (2) contingency, subsystem, monitoring, change files and accompanying auxiliary files; |  |  |  |
| 3 |  | (3) transient and dynamic stability simulation data and reports on flowgates which are not thermally limited; |  |  |  |
| 4 |  | (4) list of transactions used to update the base case for transmission service request study; |  |  |  |
| 5 |  | (5) special protection systems and operating guides, and specific description as to how they are modeled; |  |  |  |
| 6 |  | (6) model configuration settings; |  |  |  |
| 7 |  | (7) dates and capacities of new and retiring generation; |  |  |  |
| 8 |  | (8) new and retired generation included in the model for future years; |  |  |  |
| 9 |  | (9) production cost models (including assumptions, settings, study results, input data, etc.), subject to reasonable and applicable generator confidentiality limitations; |  |  |  |
| 10 |  | (10) searchable transmission maps, including PowerWorld or PSSE diagrams; |  |  |  |
| 11 |  | (11) OASIS names to Common Names table and PTI bus numbers; and, |  |  |  |
| 12 |  | (12) flowgate and interface limits including limit category (thermal, steady state or transient, voltage or angular). |  |  |  |

Modifications to WEQ-001 (Revisions noted with redlines)

Additions to WEQ-001-n.1.5:

001-n.1.5	ATC INFORMATION LINK

If the Transmission Provider does not use CBM or TRM in their assessment of ATC, that information shall  be found in the CBM Implementation Document – CBMID or TRM Inplementation Document – TRMID link below.

The information posted at “ATC Information” should include the following links (as applicable to the Transmission Provider’s methodologies):

- Available Transfer Capability Implementation Document - ATCID (as specified in NERC [MOD-001-?])

- CBM Implementation Document - CBMID (as specified in NERC [MOD-004-?])

- TRM Implementation Document - TRMID (as specified in NERC [MOD-008-?])

    - ATC Methodology Contact (as required by WEQ-001-xx)

    - Report on the List of ATC Related Information Report (as required by WEQ-001-n)

The posting of this information would be subject to the Transmission Provider’s ability to redact certain provisions due to market, security or reliability sensitivity concerns. Any section that has been redacted shall retain the heading and will include the reason for the redaction. Appropriate reasons for redaction are:  “Market Sensitive Information”, “CEII Information”, “Security Sensitive Information” or “Reliability Sensitive Information”.

These items shall appear in the order specified above and before any other items which may be required as per specific FERC direction or local business practice related to ATC Information. Posting of the cites noted in the parentheses is optional. Access to some of the information found under the ATC Information Link above may require the user to register with the individual OASIS sites according to WEQ-002-3.1.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

The request can be inferred from the FERC Order No. 890 and 890-A requirements for transparency of ATC/TTC related information.  A recitation of the relevant cites from the orders can be found at the following link:  http://www.naesb.org/pdf3/weq_ec_atc060608w1.doc.

b.  Description of Recommendation:

The recommendation provides a reporting tool to aid in transparency as referenced in FERC Order Nos. 890, 890-A, and 890-B.  It identifies the information for which each Transmission Provider (TP) will designate the access as public or non-public with reasons given for the access designation.

c.  Business Purpose:

The purpose served by providing the report is market transparency.  In providing the report, the market participants can easily identify which ATC related information is publicly available versus that information that requires restricted or no access.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

Joint BPS & ESS/ITS Final Meeting Minutes March 10-13, 2008: http://naesb.org/pdf3/weq_atc_afc031008fm.doc

ATC-AFC Motions (from March 10-13, 2008 meeting):  http://naesb.org/pdf3/weq_atc_afc031008a8.doc

WEQ EC Meeting 5-13-08:  http://naesb.org/pdf3/weq_ec051308dm.doc

WEQ EC ATC Information List Task Force Meeting 6-6-08:  Add Link

WEQ EC ATC Information List Task Force Meeting 7-18-08: Add Link

WEQ EC ATC Information List Task Force Meeting 8-14-08: Add Link

Note: The revisions to WEQ001-n.1.5 were applied to the current version, which has been voted out of subcommittee pending EC approval and membership ratification.

2008 WEQ Annual Plan Item 2.b.vii Final Action: http://naesb.org/member_login_form.asp?doc=fa_2008_weq_api_2bvii.doc

The Transmission Provider should enter a response of “Yes” or “No” for each data element.

All “No” responses should contain a reason in the Comment field.

Potential “No” Comments:

- Market Sensitive Information

- CEII Information

- Security Sensitive Information

- Reliability Sensitive Information

- Data not created by the Transmission Provider but provided to the Transmission Provider from xxx (include entity identity of information provider)

- Data not utilized by the Transmission Provider

Potential “Yes” Comments:

- Available on OASIS

- Available upon request (in the electronic format in which it was created along with any necessary decoding instructions)

- Available upon request (in the electronic format in which it was created along with any necessary decoding instructions) but may be subject to a confidentiality agreement