C13001

REQUEST FOR CLARIFICATION OR INTERPRETATION

Date:  _February 14, 2013_________________________

Requester Name:  __Rodereck L. Kelley_________________________________________________________________

Company: ____Bonneville Power Administration_____________________________________________________________________

Phone, Fax, E-mail: ________503.230.7546_____Rlkelley@bpa.gov______________________________________________________

NAESB Standard Number:  __WEQ004____________________

Clarification or interpretation request:

BPA Request for Clarification on WEQ-004

BPA respectfully submits the following request for clarification on WEQ-004:

- BPA agrees with the California ISO that the current e-Tag specification and draft revisions in Version 1.8.2 do not provide guidance for use of tagging fields in both the Market Segments and Physical Segments when entities sell to or buy from a Market Operator in organized markets (ISO's and RTO's). The e-Tagging specifications do provide for a "Market Operator" but do not provide guidance for completing fields to identify the "L" when importing/selling into an organized market or "G" when exporting/selling from an organized market.

Many ISO’s and RTO’s are currently requiring that a party transacting with the organized market put themselves as both the Load Serving Entity "L" and the Generator Providing Entity "G" on the Physical segments of the e-Tag.  Since e-Tags are used for reliability purposes, BPA is concerned that the e-Tag does not reflect the actual entity responsible for Load or Generation and in no way shows the "Market Operator".

In the specifications, the "L" refers to a specific Load Serving Entity (LSE) and as "G” to the Generator Providing Entity, but in organized markets the "Market Operator" is merely a "clearing entity" for loads and generation without actually identifying generation owners or load serving entities.   Although e-Tag physical segment specifications require a "PSE" designation for physical ownership, "Market Operators" functioning as "clearing entities" have refused to take title to the transmission or power and consequentially have refused to be listed as the PSE on an e-Tag.

Neither the e-Tagging Specifications or WEQ-004 provide guidance for the e_Tag Author on where the Market Operator should be listed  on the e-Tag, forcing market participants who have no load or generation within the Organized Market to be listed on the e-Tag as the PSE and Load when importing/selling and the Generator when exporting/buying from an Organized Market.

BPA suggests that NAESB should update the e-Tag Specifications to recognize that in organized markets, e-Tags generally do not reflect a transaction that sources from a generator and sinks to load.  Instead, some e-Tags may source from a generator and sink to the Market Operator and some may source from the Market Operator and sink to load.

BPA is also concerned that in some Organized Markets, the market zones are registered as PODs, even the actual POD is the "interconnection point between the adjacent Balancing Authority and the ISO or RTO. The Physical Segments should only be Balancing Areas and actual procured transmission.  By putting pricing zones as a POD, it looks as though there is a leg of transmission procured that could be measured by a Reliability Coordinator, but in reality it is only a mechanism for the ISO or RTO to price congestion at that injection point.  BPA suggests that PODs should reflect physical transmission paths procured and market zones for pricing should only be reflected in the Market Segment with the Market Operator.

BPA encourages NAESB to address the issues discussed above related to e_Tags in Organized Markets in both the e-Tagging Specification and WEQ-004.

- BPA notes that there is significant industry confusion that some definitions in WEQ-004 appear to refer to the NERC Functional Model.  In discussions with both NERC and WECC staff, they say there is no link to the L (LSE) or G (GPE) on the e-Tag with the use of the (L) LSE and (G) Generator Owner or Generator Operator in Reliability Standards. However, e-Tags are used for managing system reliability.  The NAESB seems to have removed the definition of the L (Load Serving Entity) in the e-Tag Specifications because it is already defined in the Functional Model, yet the WECC and NERC state that the L on an e-Tag is not the same as the LSE in Standards.  Particularly in Organized Markets, the LSE designated on an e-Tag may not correspond with the entity who is serving end-use customers through a distribution system.  If NAESB’s intention is for the LSE and PSE in e-Tags to tie to LSEs and PSEs in reliability compliance, then entities that are not registered for those functions with NERC should not be acceptable entries in these fields. Either the LSE or GO should be the same in the e-Tag as it is in Standards and the Functional Model or new terms should be created.

Possible interpretations or clarifications, if known: