Instructions:

1.	Please fill out as much of the requested information as possible.  It is mandatory to provide a contact name, phone number, fax number, and an email address to which questions can be directed.

2.	Attach any information you believe is related to the request.  The more complete your request is, the less time is required to review it.

3.	Once completed, please electronically submit your request to naesb@naesb.org with the subject line Request for Enhancement to a NAESB EIR.

Please note the request should be submitted to the NAESB office to allow an appropriate amount of time for implementation of the request before expiration of any associated deadlines of the requesting entity.

Date of Request:   December 21, 2016

1.  Submitting Entity & Address:

Transmission Agency of Northern California

P.O. Box 15129

Sacramento, CA 95851-0129

2.  Contact Person, Phone Number, Fax Number, and Email Address:

Name 	:     	Larry Riegle

Title 	:     	OASIS Project Manager

Phone 	:  	916-631-3200

Fax 	:	916-852-1073

E-mail	:	lriegle@tanc.us

- Title and Description of Proposed Enhancement:

Title:	     E-Tag Configuration for a Non-Firm Yearly Product (6-NY)

Description:

NAESB Standards WEQ-004 Coordinate Interchange, Appendix C, Section 2.1.2.9 requires that e-Tags specify the “firmness of service associated with the transmission reservation being used.”

NAESB Standards WEQ-001 Open Access Same-time Information System (OASIS) Business Practice Standards (BPS), Sections 4.15 and 4.16 require negotiations with competing bids for a constrained resource to give first priority based on the “Service Increment (Monthly, Weekly, Daily, Hourly).”

Transmission Loading Relief (TLR) Procedures in the Eastern Interconnection and Unscheduled Flow Mitigation (UFM) Procedures in the Western Interconnection require that transmission service reservation priorities be respected when mitigating potential or actual operating security limit violations via the curtailment of contributing schedules.

The 2013 FERC Docket No ER13-1146 stipulates that Non-Firm Transmission shall be curtailed base on a prorated priority basis in accordance with the transmission reservation priority; and, that all Non-Firm e-Tags must be curtailed prior to the curtailment of Firm e-Tags.

WECC entities have been selling/buying Non-Firm Annual Transmission via the OASIS since early 2015.  However, the defined product codes currently available in the NEASB webRegistry lack a “Non-Firm Yearly” option.  Entities who have sold Non-Firm Yearly Transmission are currently utilizing the transmission product code of either “6-NN: Non-Firm Network” or “6-CF: Conditional Firm” as an interim approach which allows for a product firmness greater than “5-NM: Non-Firm Monthly” and less than “7-F: Firm”.

4.  How Enhancement Will Be Implemented

Request that a new 6-NY (Non-Firm Yearly) Product Name be added to the NAESB EIR webRegistry.

5.  Perceived Benefits the Functionality Will Add to the Tool

A new 6-NY (Non-Firm Yearly) Product Name will allow for the accurate naming, prioritization, and handling of non-firm yearly transmission transactions under the NAESB WEQ Standards and NERC/FERC operating protocols.

6.  Beneficiaries of Enhancement

- Transmission Providers (TP) who desire to sell Non-Firm Yearly Transmission.

- Transmission Customers (TC) who desire to buy Non-Firm Yearly Transmission.

- Reliability Coordinators (RC) and Transmission Providers (TP) performing e-Tag curtailments or TLR/UFM procedures which are based on the firmness of transmission associated with each e-Tag.

7.  Any Associated Deadlines and Rationale

WECC entities have been selling/buying Non-Firm Yearly Transmission via the OASIS since early 2015.  A permanent solution to accurately label and prioritize these transactions is requested as soon as possible.

8.  Description of Any Specific Legal or Other Considerations

Implementation of a new 6-NY (Non-Firm Yearly) transmission product category will ensure impacted entities are able to comply with:

- NAESB Standards WEQ-004 Coordinate Interchange, Appendix C, Section 2.1.2

- NAESB Standards WEQ-001 OASIS BPS, Sections 4.15 and 4.16

- Transmission Loading Relief (TLR) Procedures (Eastern Interconnection)

- Unscheduled Flow Mitigation (UFM) Procedures (Western Interconnection)

- FERC Docket No. ER13-1146, Prorata-Priority based Curtailments

9.  Identification of Testing Issues and Contacts for Volunteers for Testing

Requires BA’s/TSP’s verification that product code 6-NY will pass their e-Tag validation processes.

10.  Attachments Included in Request

As shown below, the current NAESB EIR webRegistry does not list a product code for Non-Firm Yearly Transmission.