North American Energy Standards Board

Request for Initiation of a NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

or

Enhancement of an Existing NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

Instructions:

1.	Please fill out as much of the requested information as possible.  It is mandatory to provide a contact name, phone number and fax number to which questions can be directed.  If you have an electronic mailing address, please make that available as well.

2.	Attach any information you believe is related to the request.  The more complete your request is, the less time is required to review it.

3.	Once completed, send your request to:

Rae McQuade

NAESB, President

801 Travis, Suite 1675

Houston, TX  77002

Phone:  713-356-0060

Fax:      713-356-0067

by either mail, fax, or to NAESB’s email address, naesb@naesb.org.

Once received, the request will be routed to the appropriate subcommittees for review.

North American Energy Standards Board

Request for Initiation of a NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

or

Enhancement of an Existing NAESB Business Practice Standard, Model Business Practice or Electronic Transaction

Date of Request:   __________________

1.  Submitting Entity & Address:

__Chair and Vice-Chair of the WEQ Executive Committee

2.  Contact Person, Phone #, Fax #, Electronic Mailing Address:

Name 	:     	Kathy York and Roy True

Title 	:     	Chair and Vice-Chair, WEQ Executive Committee

Phone :  	423-751-3398/ 317-344-7203

Fax 	:	___________________________________

E-mail	:	keyork@tva.gov; royt@acespower.com

- Title and Description of Proposed Standard or Enhancement:

Title:

Modifications to WEQ-004 Coordinate Interchange Business Practice Standards for Dynamic Tags and Psuedo-Tie type e-Tags

Description:

The North American Electric Reliability Corporation has received FERC permission to retire the LSE, PSE, and IA functions from its Compliance Registry.  Deleting some of these functions will result in the retirement of several NERC requirements, some of which impact NAESB standards.  The retirement of NERC standard INT-004-3.1 R1 and 3.1 R2 will impact NAESB’s overall congestion management industry processes and tools and will particularly impact WEQ-008 (Parallel Flow Visualization) standards and the proper implementation of such standards after completion of testing.  With NERC’s retirement of the PSE function in the compliance registry, this standard will not be enforceable unless written into the current NAESB standards.

NERC has indicated that they believe this requirement may be covered by the BA, but in order for NAESB to have an accurate and equitable congestion management process, these requirements need to be written into WEQ-004.

In the absence of a NERC standard requiring such tag update requests, it is important that NAESB consider the development of a standard regarding changes to dynamic and pseudo-tie tags to ensure the effectiveness of the bulk power grid’s congestion management tools.

NERC Standard INT-004-3.1 requirements that need to be addressed in NAESB standards are shown below:

INT-004-3.1 R1

Each Purchasing-Selling Entity that secures energy to serve Load via a Dynamic Schedule or Pseudo-Tie shall ensure that a Request for Interchange is submitted as an on-time1 Arranged Interchange to the Sink Balancing Authority for that Dynamic Schedule or Pseudo-Tie, unless the information about the Pseudo-Tie is included in congestion management procedure(s) via an alternate method.

INT-004-3.1 R2

The Purchasing-Selling Entity that submits a Request for Interchange in accordance with Requirement R1 shall ensure the Confirmed Interchange associated with that Dynamic Schedule or Pseudo-Tie is updated for future hours in order to support congestion management procedures if any one of the following occurs:

2.1. For Confirmed Interchange greater than 250 MW for the last hour, the actual hourly integrated energy deviates from the Confirmed Interchange by more than 10% for that hour and that deviation is expected to persist.

2.2. For Confirmed Interchange less than or equal to 250 MW for the last hour, the actual hourly integrated energy deviates from the Confirmed Interchange by more than 25 MW for that hour and that deviation is expected to persist.

2.3. The Purchasing-Selling Entity receives notification from a Reliability Coordinator or Transmission Operator to update the Confirmed Interchange.

In addition, these requirements are needed for the TLR process so that the Interchange Distribution Calculator (IDC) can accurately calculate curtailments for appropriate and equitable congestion management.

4.  Use of Proposed Standard or Enhancement (include how the standard will be used, documentation on the description of the proposed standard, any existing documentation of the proposed standard, and required communication protocols):

The standard will be used by the industry in a comparable manner to the current NERC Reliability Standard INT-004.3.1.

5.  Description of Any Tangible or Intangible Benefits to the Use of the Proposed Standard or Enhancement:

The inclusion of dynamic and pseudo-tie tag adjustments will ensure that the IDC more accurately calculates transmission curtailments for congestion management.

6.  Estimate of Incremental Specific Costs to Implement Proposed Standard or Enhancement:

None

7.  Description of Any Specific Legal or Other Considerations:

Ensure timing of these requirements to be stripped from the current NERC INT-004-3.1 standards; however, with the PSE being officially removed from the Compliance Registry, NAESB will need to move forward quickly with adding these requirements to avoid creating gaps in current industry practices for congestion management.  With NERC’s retirement of the PSE function in the compliance registry, this standard will not be enforceable unless written into the current NAESB standards and will allow industry to potentially ignore the need to make changes.  Ignoring this need will create issues for congestion management processes.

8.  If This Proposed Standard or Enhancement Is Not Tested Yet, List Trading Partners Willing to Test Standard or Enhancement (Corporations and contacts):

N/A

9.  If This Proposed Standard or Enhancement Is In Use, Who are the Trading Partners :

N/A

10.  Attachments (such as : further detailed proposals, transaction data descriptions, information flows, implementation guides, business process descriptions, examples of ASC ANSI X12 mapped transactions):

N/A