1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

Accept as requested				  X  Change to Existing Practice

X Accept as modified below			      Status Quo

Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:					Per Recommendation:

X  Initiation					      Initiation

Modification					   X Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

X  Principle 					      Principle

Definition 					      Definition

X  Business Practice Standard 			      Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 				 	     Code Value

X12 Implementation Guide			      X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:

The Smart Grid Standards Subcommittee has determined that additional data requirements related to Priority Action Plan 04 do not need to be developed, as the Model Business Practices developed as part of the Phase One effort satisfy the request of NIST and provide the necessary basis for other standards organizations developing standards at the request of NIST.

However, the Wholesale Electric Quadrant (WEQ) Executive Committee on July 7, 2010, did “direct the Smart Grid Standards Subcommittee to review the Executive Summary and Introduction to reconsider language that may not be appropriate for business practices long-term in their Phase 2 work.”

- Additionally the Board on June 24, 2010 passed a resolution whereby they determined “that the Smart Grid standards developed by the wholesale and retail electric executive committees should strive to be consistent in all areas excepting where there are substantive jurisdictional differences.”

- Based on the direction provided, the Smart Grid Standards Subcommittee is submitting the following changes to the Executive Summary and Introductions section for REQ.16.

Note: Conforming changes are also being recommended for the WEQ 2010 Annual Plan Item 6(b)(ii) recommendation “Phase Two - Requirements Specifications for Common Scheduling Schedule Communication Mechanism for Energy Transactions – for NIST PAP04.”

(Moved to appropriate location in the document)

- Recommended Standards:

Model Business Practices REQ.16 – Specifications for Common Scheduling Schedule Communication Mechanism for Energy Transactions

# Executive Summary

# Specifications for Common Scheduling Mechanism for Energy Transactions

The following document contains a set of requirements relating to the use of date and time based data elements that are used in transactions for Demand Response programs. This information is being provided to NIST in order to aid in the development of a standard representation for date/time based data elements derived from an XML representation of iCalendar.

Although there are many other areas where date/time based data elements are used in energy industry transactions this recommendation is These model business practices are limited in scope to only those date/time based data elements that are utilized in Demand Response programs.

Introduction

Specifications for Common Scheduling Mechanism for Energy Transactions

Smart grid interfaces must communicate between domains, that is between different business and consumer entities with different values and approaches (ontologies). Such interfaces must be simplified to bare essentials, and be understandable by parties with different backgrounds and expectations.

To achieve cross-domain understandability, and thereby enhance interoperation, smart grid transactions must use semantic models from different areas developed by different standards groups. Each of these vocabularies is most fully defined in one area. We have agreed, within the NIST process, to use the vocabularies from the appropriate domain experts to compose the message that flow between domains on the smart grid.

In the following, we defined transactions as grid events that occur between domains, or whose effects and outcomes must be communicated between domains. This activity makes no assertions about any other events.

Smart grid transactions communicate three classes of information. They communicate information about events that that occur during power management and distribution. They invoke financial or business transactions that guide those events. They communicate schedules and interval information for the flows of energy. Per agreement, all semantics relating to Power Management will use the CIM from IEC TC57. All financial and market semantics will be based upon the definitions found in ISO 20022 and in their most common expression, FIX. All elements relating to schedule and interval will be expressed in the notation of the IETF iCalendar (RFC 5545) standard, as defined in the XML representation iCalendar developed by CalConnect.  The purpose of this approach is to increase interoperation and understanding between domains.

The group primarily associated with the development of interoperable enterprise date, time, and interval standards for the IETF is the CalConnect. CalConnect and the Organization for the Advancement of Structured Information Standards will work together to define the common communication of date time and interval to meet the needs of smart grid transaction communications as well as for building systems integration, enterprise interaction, and financial transactions. This commonality is anticipated to reduce barriers to interoperation and thereby to expand participation in DR and DER.

The purpose of this action these model business practices is to define the requirements for standard communication of date, time, schedule, and interval by smart grid actors, with particular attention to Demand Response.

These requirements will be submitted to the Organization for the Advancement of Structured Information Standards and CalConnect technical committee to define the applicable communication standards to support them.

The use cases included in these Model Business Practices are not to be required or exhaustive and are provided for clarification purposes.

Scope: The scope of the following Model Business Practices is to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

(Need to add the boiler-plate language)

The North American Energy Standards Board (NAESB) is a voluntary non-profit organization comprised of members from all aspects of the natural gas and electric industries. Within NAESB, the Retail Electric Quadrant (REQ) and the Retail Gas Quadrant (RGQ) focus on issues impacting the retail sale of energy to Retail Customers. REQ / RGQ Model Business Practices are intended to provide guidance to Distribution Companies, and other Market Participants involved in providing energy service to Retail Customers.

These Model Business Practices are voluntary and do not address policy issues that are the subject of state legislation or regulatory decisions. These Model Business Practices have been adopted with the realization that as the industry evolves, additional and amended Model Business Practices may be necessary. Any industry participant seeking additional or amended Model Business Practices (including principles, definitions, data elements, process descriptions, and technical implementation instructions) should submit a request to the NAESB office, detailing the change, so that the appropriate process may take place to amend the Model Business Practice.

REQ.16.1	Principles (Reserved)

REQ.16.2	Definitions

REQ.16.2.A	Business Definitions (Reserved)

REQ.16.2.B	Techincal Definitions

New REQ.16.2.B Defined Terms to be added to REQ.16 are included in the Recommendation Request Titled Phase Two Requirements Specification for Common Electricity Product and Pricing Definition – for NIST PAP03 (REQ.15) to avoid redundancy between Model Business Practices.

REQ.16.3	Model Business Practices

(Standard numbering has REQ.16.1 as Principles, and REQ.2 as Defintions.  Model Business Practices are REQ.3)

REQ.16.3.1	Specification for Common Scheduling Schedule Communication Mechanism for Energy Transactions

REQ.16.3.1.1.1	ACTORS LIST

There were no actors provided for the associated use cases.

REQ.16.3.2	Common Scheduling Schedule Communication Mechanism for Energy Transactions Use Cases

REQ.16.3.2.1	Use Case Overview

The use case modeling technique is used for capturing business and date requirements relative to electric product and price information.

The use cases included in these Model Business Practices are not intended to be required or exhaustive and are provided for clarification purposes.

## REQ.16.3.2.1.1	Requirements for Date and Time Usage

Demand Response programs employ a combination of absolute dates/times, absolute periods (range) of dates/times, relative dates/times, recurring dates/times, absolute intervals and absolute durations in order to communicate temporal information pertaining to Demand Response transactions. Demand Response programs must also accommodate time zone variations, leap years, leap seconds, and the use of daylight savings time. Any calendaring/ Scheduling schedule communication Model Business Practice that is applicable to Demand Response programs must be capable of supporting this range of requirements.

An incomplete, but representative, set of instances is provided below. The sample data included are non-normative representations; they are included to clarify the expectation of information that will be in the Model Business Practice.

| Type of Representation | Representative Instance | Sample Data |
| --- | --- | --- |
| Absolute date/time | Effective start date Effective start date and time | 2009-11-01 2009-11-01T01:00:00-Z |
| Absolute Periods (range) | Deployment Period | 2009-11-01T01:00:00-Z/ 2009-11-02T24:00:00-Z |
| Relative date/time (time-point) | Reduction Deadline | 30 minutes from a specified point in time |
| Recurring date/time | Market Closing | Every day at 12:00 noon |
| Absolute Interval | Meter Data Recording Interval System Frequency | Every 5 minutes 60 cycles per second |
| Absolute Duration | Outage Duration Minimum Run Time | 2 days 4 hours |

It is an additional requirement that all schedule and interval communications be able to express the precision required in the response. For example, an actor may be required to perform within five minutes, or within five milliseconds of the agreed upon time.

(Why is this repeated from REQ.15???  Why not reference it like definitions?  This would avoid future maintenance issues with having to update the Appendix in multiple documents.

If retained, then need to make the same changes as in REQ.15; i.e. why an Appendix?  Why not additional Model Business Practices?  Numbering suggestions are if made Model Business Practices.  Note that numbering is different than REQ.15.  It can be made to conform, but would be confusing.)

REQ.16.3.3	Entity-Relationship Model

The following terms and definitions correspond to a set of actor and objects within the overall energy usage information model for Demand Response.  Figure 1A contains a data model used to illustrate the Entity-relationships within the model.

REQ.16.3.3.1	Proper (and Improper) Usage of the Entity-Relationship Model.    The Entity-relationship model is used to show cardinality among objects in the model (What model??), for example every Resource (Not defined) belongs to one and only one Service Provider and a PremiseService Location contains one or more End DevicesService Delivery Points.  The Entity-relationship model does not provide use case information; actors are objects in the Entity-relationship model and do not “act” in the model.  The Entity-relationship model does not imply process.  For example, a Service Provider is associated with many Resources; however the enrollment of those Resources may be managed by a Distribution Company Operator.  Both use cases and process maps are separate components of the Model Business Practices.

REQ.16.3.3.2	Reading Crow’s Foot Notation.    Objects in the Entity-relationship model which share a relationship are connected with a cardinality line.  Each end of the cardinality line contains a crow’s foot notation, as documented in the legend of the figure.  The four notations utilized are “exactly-one”, “one-or-more”, “zero-or-one”, and “zero-or-more”.  The cardinality line is bi-directional; meaning it can be read in two directions.  For example: a PremiseService Location is related to one-or-more End DevicesService Delivery Points s (reading top to bottom) and every End DevicesService Delivery Point is related to exactly-one PremiseService Location (reading bottom to top).

Optional Objects.  The entity-relationship model is designed to support multiple business models and not every business model will require all objects to function.  Therefore, all objects in the model are considered optional.  For example, a Utility Distribution Operator may design a Demand Response program which requires the definition of Resources and Premises, but does not require Response Method Aggregations and Response Methods.  In this example, the relationship between Resource and Premise is transitive: a Resource is comprised of one-or-more Premises and each Premise is associated with zero-or-more Resources.

REQ.3.3.3	Optional Objects.  The entity-relationship model is designed to support multiple business models and not every business model will require all objects to function.  Therefore, all objects in the Entity-relationship model are considered optional.  For example, a Distribution Company Operator may design a Demand Response program which requires the definition of Resources and Service Locations, but does not require Asset Groups and Assets.

REQ.3.3.4	Applicability to Retail and Wholesale.  The Entity-relationship model is applicable to both Wholesale Electric (WEQ) and Retail Electric Quadrants (REQ).  When using the Entity-relationship model for WEQ, the applicable business Entities are 2.1 (System Operator) and 2.3 (Market Participant), while in REQ markets, the parallel business Entities are 2.3 (Distribution Company Operator) and 2.4 (Retail Customers).  Other than the swapping of the two pairs of terms, the Entity-relationship models are identical, including the names of and relationships among objects.

Figure 1A. Entity-Relationship Model for Smart Grid Use Cases

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

- Retail  Annual Plan Item 9(b)(ii) – “Develop Requirements and Use Cases for PAP 04 – Scheduling Schedule Communication Model - Phase 2”

b.  Description of Recommendation:

The Smart Grid Standards Subcommittee is recommending that changes be made to the Executive Summary and Introduction of the Model Business Practices.

c. 	Business Purpose:

This Recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the use of dates/times within a broad spectrum of energy transactions. The scope of this effort has been limited to Demand Response programs in order to meet NIST’s deadline for this effort. No further action is required to satisfy the request of NIST.

Additonally, the Recommendation addresses the direction provided by the WEQ Executive Committee on July 7, 2010, and the resolution passed by the Board of Directions on June 24, 2010.

- Commentary/Rationale of Subcommittee(s)/Task Force(s):

NAESB Smart Grid Standards Subcommittee Meeting Notes/Documents:

- June 10, 2010 Meeting Notes – To be posted

- June 17, 2010 Meeting Notes –  http://www.naesb.org/pdf4/smart_grid_ssd061710notes.doc

- July 1, 2010 Meeting Notes – To be posted

- July 13-14, 2010 Meeting Notes – To be posted

- July 22, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd072210notes.doc

- August 5, 2010 Meeting Notes –http://www.naesb.org/pdf4/smart_grid_ssd080510notes.doc

- August 12, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd081210notes.doc

- August 26, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd082610notes.doc

- September 9, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd090910notes.doc

- September 16, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd091610notes.doc

- September 23, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd092310notes.doc

- October 7, 2010 Meeting Notes – To be posted

- October 14, 2010 Meeting Notes – To be posted

Additional links

- WEQ Executive Committee Motions July 7, 2010 http://www.naesb.org/pdf4/weq_ec070710motions.doc

- Board of Directors Resolution June 24, 2010 http://www.naesb.org/pdf4/bd062410a4.doc

http://tools.ietf.org/html/rfc5545

International Organization for Standardization ISO 20022 Universal financial industry message scheme

Internet Calendaring and Scheduling Core Object Specification (iCalendar)