1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

Accept as requested				  X  Change to Existing Practice

X Accept as modified below			      Status Quo

Decline

2.  TYPE OF DEVELOPMENT/MAINTENANCE

Per Request:					Per Recommendation:

X  Initiation					      Initiation

Modification					   X Modification

Interpretation				      Interpretation

Withdrawal					      Withdrawal

X  Principle 					      Principle

Definition 					      Definition

X  Business Practice Standard 			      Business Practice Standard

Document 					      Document

Data Element 				      Data Element

Code Value 				 	     Code Value

X12 Implementation Guide			      X12 Implementation Guide

Business Process Documentation		      Business Process Documentation

3.  RECOMMENDATION

SUMMARY:

The Smart Grid Standards Subcommittee has determined that additional data elements related to Priority Action Plan 04 do not need to be developed, as the standards developed as part of the Phase One effort satisfy the request of NIST and provide the necessary basis for other standards organizations developing standards at the request of NIST.

However, the Wholesale Electric Quadrant (WEQ) Executive Committee on July 7, 2010, did “direct the Smart Grid Standards Subcommittee to review the Executive Summary and Introduction to reconsider language that may not be appropriate for business practices long-term in their Phase 2 work.”

- Additionally the Board on June 24, 2010 passed a resolution whereby they determined “that the Smart Grid standards developed by the wholesale and retail electric executive committees should strive to be consistent in all areas excepting where there are substantive jurisdictional differences.”

- Based on the direction provided, the Smart Grid Standards Subcommittee is submitting the following changes to the Executive Summary and Introductions section for REQ-016.

Note: Conforming changes are also being recommended for the WEQ 2010 Annual Plan Item 6(b)(ii) recommendation “Phase Two - Requirements Specifications for Common Schedule Communication Mechanism for Energy Transactions – for NIST PAP04.”

- Recommended Standards:

Model Business Practices REQ.16 – Specifications for Common Schedule Communication Mechanism for Energy Transactions

# Executive Summary

The following contains a set of specifications relating to the use of date and time based data elements that are commonly used in transactions for Demand Response programs.

These model business practices are limited in scope to only those date/time based data elements that are utilized in Demand Response programs.

The intent is to clearly specify the business information that may be necessary to be exchanged to make effective and reasonable business decisions, standards or implementations that do not directly use such schemas and element names may conform to these requirements through clearly defined mapping documentation.

Introduction

Smart grid transactions communicate three classes of information. They communicate information about events that that occur during power management and distribution. They invoke financial or business transactions that guide those events. They communicate schedules and interval information for the flows of energy.

The purpose of these model business practices is to define the specifications for standard communication of date, time, schedule, and interval by smart grid actors, with particular attention to DR.

The use cases included in these model business practices are not to be required or exhaustive and are provided for informational purposes.

These model business practices and mechanisms included herein are not intended to (i) require the use of any of these mechanisms, (ii) require the provision or purchase of any products, programs, rates, markets or services, or (iii) supersede applicable Governing Documents, and in the event of a conflict, the latter documents shall have precedence over this standard.

Scope: The scope of the following is to define the range of information required to establish the breadth of the communication requirement. There is no need for the cases to be exhaustive, merely illustrative of the full scope.

The North American Energy Standards Board (NAESB) is a voluntary non-profit organization comprised of members from all aspects of the natural gas and electric industries. Within NAESB, the Retail Electric Quadrant (REQ) and the Retail Gas Quadrant (RGQ) focus on issues impacting the retail sale of energy to Retail Customers. REQ / RGQ Model Business Practices are intended to provide guidance to Distribution Companies, and other Market Participants involved in providing energy service to Retail Customers.

These Model Business Practices are voluntary and do not address policy issues that are the subject of state legislation or regulatory decisions. These Model Business Practices have been adopted with the realization that as the industry evolves, additional and amended Model Business Practices may be necessary. Any industry participant seeking additional or amended Model Business Practices (including principles, definitions, data elements, process descriptions, and technical implementation instructions) should submit a request to the NAESB office, detailing the change, so that the appropriate process may take place to amend the Model Business Practice.

REQ.16.1	Principles (Reserved)

REQ.16.2	Definitions

REQ.16.2.A	Business Definitions (Reserved)

REQ.16.2.B	Techincal Definitions

New REQ.16.2.B Defined Terms to be added to REQ.16 are included in the Recommendation Request Titled Phase Two Requirements Specification for Common Electricity Product and Pricing Definition – for NIST PAP03 (REQ.15) to avoid redundancy between Model Business Practices.

Model Business Practices

REQ.16.3.1	Specification for Common Schedule Communication Mechanism for Energy Transactions

REQ.16.3.1.1	ACTORS LIST

There were no actors provided for the associated use cases.

REQ.16.3.2	Common Schedule Communication Mechanism for Energy Transactions Use Cases

REQ.16.3.2.1	Use Case Overview

The use case modeling technique is used for capturing business and date requirements relative to electric product and price information.

The use cases included in these Model Business Practices are not intended to be required or exhaustive and are provided for informational purposes.

These model business practices and mechanisms included herein are not intended to (i) require the use of any of these mechanisms, (ii) require the provision or purchase of any products, programs, rates, markets or services, or (iii) supersede applicable Governing Documents, and in the event of a conflict, the latter documents shall have precedence over this standard.

## REQ.16.3.2.1.1	Specifications for Date and Time Usage

Demand Response programs employ a combination of absolute dates/times, absolute periods (range) of dates/times, relative dates/times, recurring dates/times, absolute intervals and absolute durations in order to communicate temporal information pertaining to demand response transactions. Demand Response programs should also accommodate time zone variations, leap years, leap seconds, and the use of daylight savings time. Any calendaring/schedule communication Model Business Practice that is applicable to Demand Response programs should be capable of supporting this range of requirements.

An incomplete, but representative, set of instances is provided below. The sample data included are non-normative representations; they are included for illustrative purposes.

| Type of Representation | Representative Instance | Sample Data |
| --- | --- | --- |
| Absolute date/time | Effective start date Effective start date and time | 2009-11-01 2009-11-01T01:00:00-Z |
| Absolute Periods (range) | Deployment Period | 2009-11-01T01:00:00-Z/ 2009-11-02T24:00:00-Z |
| Relative date/time (time-point) | Reduction Deadline | 30 minutes from a specified point in time |
| Recurring date/time | Market Closing | Every day at 12:00 noon |
| Absolute Interval | Meter Data Recording Interval System Frequency | Every 5 minutes 60 cycles per second |
| Absolute Duration | Outage Duration Minimum Run Time | 2 days 4 hours |

It is an additional specification that all schedule and interval communications be able to express the precision required in the response. For example, an actor may be required to perform within five minutes, or within five milliseconds of the agreed upon time.

REQ.16.A	Appendix A – Entity-Relationship Model

The following terms and definitions correspond to a set of actor and objects within the overall information model for demand response.  Figure 1A contains a data model used to illustrate the entity-relationships within the model.

Proper (and Improper) Usage of the Entity-Relationship Model.    The entity-relationship model is used to show cardinality among objects in the model, for example every Resource belongs to one and only one Service Provider and a Service Location contains one or more Service Delivery Points.  The entity-relationship model does not provide use case information; actors are objects in the model and do not “act” in the model.  The entity-relationship model does not imply process.  For example, a Service Provider is associated with many Resources; however the enrollment of those Resources may be managed by a System Operator or a Utility Distribution Operator.  Both use cases and process maps are separate components of the Model Business Practices.

Reading Crow’s Foot Notation.    Objects in the model which share a relationship are connected with a cardinality line.  Each end of the cardinality line contains a Crow’s Foot notation, as documented in the legend of the figure.  The four notations utilized are “exactly-one”, “one-or-more”, “zero-or-one”, and “zero-or-more”.  The cardinality line is bi-directional; meaning it can be read in two directions.  For example: a Service Location is related to one-or-more Service Delivery Points s (reading top to bottom) and every Service Delivery Point is related to exactly-one Service Location (reading bottom to top).

Optional Entities, Roles and Objects.  The entity-relationship model is designed to support multiple business models and not every business model will require all entities, roles and/or objects to function.  Therefore, entities, roles and objects in the model are considered optional.  For example, a Utility Distribution Operator may design a Demand Response program which requires the definition of Resources and Service Locations, but does not require Asset Groups and Assets.

Applicability to Retail and Wholesale.  The entity-relationship model is applicable to both wholesale and retail.  When using the model for wholesale, the typical applicable business entities are 2.1 (System Operator) and 2.3 (Market Participant), while in retail markets, the parallel business entities are 2.3 (Utility Distribution Operator) and 2.4 (Utility Customers).  Other than the swapping of the two pairs of terms, the models are identical, including the names of and relationships among objects.

Figure 1A. Sample Entity-Relationship Model for Smart Grid Use Cases

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

- Retail  Annual Plan Item 9(b)(ii) – “Develop Requirements and Use Cases for PAP 04 – Schedule Communication Model - Phase 2”

b.  Description of Recommendation:

The Smart Grid Standards Subcommittee is recommending that changes be made to the Executive Summary and Introduction of the model business practices.

c. 	Business Purpose:

This recommendation has been developed in response to a request from NIST to provide use cases and requirements germane to the use of dates/times within a broad spectrum of energy transactions. The scope of this effort has been limited to Demand Response Programs in order to meet NIST’s deadline for this effort. No further action is required to satisfy the request of NIST.

Additonally, the recommendation addresses the direction provided by the WEQ Executive Committee on July 7, 2010, and the resolution passed by the Board of Directions on June 24, 2010.

- Commentary/Rationale of Subcommittee(s)/Task Force(s):

NAESB Smart Grid Standards Subcommittee Meeting Notes/Documents:

- June 10, 2010 Meeting Notes – To be posted

- June 17, 2010 Meeting Notes –  http://www.naesb.org/pdf4/smart_grid_ssd061710notes.doc

- July 1, 2010 Meeting Notes – To be posted

- July 13-14, 2010 Meeting Notes – To be posted

- July 22, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd072210notes.doc

- August 5, 2010 Meeting Notes –http://www.naesb.org/pdf4/smart_grid_ssd080510notes.doc

- August 12, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd081210notes.doc

- August 26, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd082610notes.doc

- September 9, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd090910notes.doc

- September 16, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd091610notes.doc

- September 23, 2010 Meeting Notes – http://www.naesb.org/pdf4/smart_grid_ssd092310notes.doc

- October 7, 2010 Meeting Notes – To be posted

- October 14, 2010 Meeting Notes – To be posted

Additional links

- WEQ Executive Committee Motions July 7, 2010 http://www.naesb.org/pdf4/weq_ec070710motions.doc

- Board of Directors Resolution June 24, 2010 http://www.naesb.org/pdf4/bd062410a4.doc