-----Original Message-----

From: Kueck, John D.

Sent: Wednesday, March 10, 2010 9:57 AM

To: naesbmail@naesb.org

Subject: Comments - NAESB Smart Grid Recs. for NIST PAPs 3, 4 and 9 - Due 4/9/2010

Jonathan,

I have the following comments on NIST PAP 9:

Page 17, revise the fourth bullet from the bottom to read: If offering to the ISO/RTO, specific metering/telemetry or other requirements needed to actively participate for each product type.

Page 26, Req. 14.3.2.4.3.2 states that the customer needs to provide updated information to the DR provider after a change in capacity of the DR resource.  I agree, but shouldn't a similar table of data requirements also be provided when the customer is first registered?

Page 27, Under the DR resource schedule constraints, the 6th bullet should be revised to read: Maximum number of times per day (or month or year) the DR resource may be called upon.

Page 40, Req. 14.3.2.4.5.2. DR Bid to Buy.  Please insert after the first paragraph: In wholesale market auctions, the bidder may communicate an offer to provide x MW of a certain service (e.g. regulation) at a certain price for the next day.  If his bid is below the market clearing price, his bid is accepted and he receives the market clearing price. He is later dispatched the next day to provide the service by the system operator when it is needed.

Thanks,

John