August 31, 2009

Jonathan Booe

Staff Attorney

North American Energy Standards Board

1301 Fannin, Suite 2350

Houston, Texas 77002

(713) 356-0060 - office

(281) 642-3912 - cell

jbooe@naesb.org

Dear Mr. Booe,

The Association of Home Appliance Manufacturers (AHAM) Smart Grid Task Force is pleased to have the opportunity to provide NAESB with a framework of the needs of appliance manufacturers and their suppliers in response to your circulation of the document titled ”Measurement & Verification (M&V) Of Demand Response Programs”.  The AHAM Smart Grid Task Force was created to allow AHAM members to work collaboratively to ensure that the voice of home appliance manufacturers and their suppliers is heard in regards to the development process of a Smart Grid.

Appliance manufacturers are concerned about the current direction of developments in the Smart Grid arena, specifically in regards to the consumer’s acceptance of, and interaction with, Smart appliances.  Consumer approval is absolutely necessary for the success of the Smart Appliance concept.

The following is a list of 5 high level positions the Task Force has agreed upon for an approach to the development of standards for Grid Enabled Smart Appliance Systems.

1) All message protocol definitions from the Smart Grid should exist in an open standards

format to ensure inclusive manufacturer participation and to allow manufacturers to achieve

maximum interoperability.

2) Initially some Smart Appliance systems and corresponding standards may support one-way

communication, while others may support two way communications. Since the utility can

determine responses to commands by monitoring the Smart Meter measurements, this

requirement seems reasonable. A limited number of messages will be used for this

communication.

3) Next generations of Smart Appliance Systems may consider two way communications. This

communication will likely be through an in-home managerial control system. As stated

above, a limited number of standardized messages will be used to support this

communication. This does not preclude additional protocols and messages from being used

for communication with Smart Appliances from the in-home managerial control system.

4) In all cases, the Smart Appliance will retain control of the appliance response. The Smart

Appliance will always allow the consumer the option to override a power reduction

command, if the consumer desires.

5) The Smart Appliance may respond to rate level instructions from the utility in one of the

following ways: 1) shedding load at a limited number of levels (for example, four or five

possible power consumption levels) all under direct control of the appliance, 2) responding

to commands from the in-home managerial control system (which is interpreting or

managing the information from the utility, or 3) presenting the consumer with information

that would encourage the consumer to delay use at that time.

The consumer will always have the option to override these actions and resort to full power

usage or different energy modes.

6) AHAM members are also concerned that the rate structures being considered do not

incentivize or educate consumers. Thus, consumers may not be inclined to utilize smart

products and a large part of the demand response opportunity will be lost.

If you have any questions or issues you would like to discuss, please feel free to contact me.

Sincerely,

Matthew B. Williams

Director, Standards

202-872-5955 x317

mwilliams@aham.org