This document contains Dominion’s comments submitted in regards to the draft recommendation for proposed measurement and verification business practice standards.

| Company | Category | Cite | Suggested Change | Reason For Recommendation |
| --- | --- | --- | --- | --- |
| Dominion | Table of Contents | REQ.13.3.2 | Measurement of Load | Match heading in Table of Contents to Section heading. |
| Dominion | Table of Contents | REQ.13.3.4 | Performance Evaluation Methods | This seems to be a better heading for this section since that is what is being described. Match heading in Table of Contents to Section heading – see suggestion below. |
| Dominion | Table of Contents | REQ.13.3.4.4 | Metering Generator Output Evaluation | # For consistency, this section should be called “Evaluation” like the other Performance Evaluation Methodologies. Match heading in Table of Contents to Section heading – see suggestion below. |
| Dominion | REQ.13 Overview | Last sentence in first paragraph | The following outline of Model Business Practices is applicable to Demand Response products. | “Product Categories” was a carryover from the Wholesale DR wording, but they do not exist for Retail DR. |
| Dominion | REQ.13 Overview | Header | Strike: | Performance Evaluation Methodology is a bold sub- heading in the Overview. Since there are no other sub-headings this should be stricken. |
| Dominion | REQ.13 Overview | Tables | (See Tables A & B at the end of this document) | These tables did not match up with the way the information was presented in the standards. This presentaion would be clearer and more straight forward for the readers. |
| Dominion | REQ.13 Overview | First sentence in 2nd paragraph | For Demand Response products, a performance evaluation methodology is used to determine the Demand Reduction Value provided by a Demand Resource. The Model Business Practices include descriptions of acceptable Baselines and alternative performance measurements that are appropriate for each type of Demand Response products. | Use term “product” here to be consistent with use of term in first paragraph |
| Dominion | REQ.13 Overview | First sentence in 3rd paragraph | These Model Business Practices do not specify detailed characteristics of performance evaluation methodologies, but rather provide a framework that may be used to develop performance evaluation methodologies for specific Demand Response servicesproducts. | Use term “product” here to be consistent with use of term in first paragraph |
| Dominion | REQ.13.2.A Business Definitions | Baseline Demand Response Event Maximum Base Load Meter Before / Meter After | FigureXXX. Illustration of Baseline Concept. Figure XXX. Timing of a Demand Response Event Figure XXX. Maximum Base Load Illustration Figure XXX. Meter Before/ Meter After Illustration | # For consistency, each of the figures should be labled. Also shouldn’t they also have figure numbers (references)? |
| Dominion | REQ.13.2.A Business Definitions | Baseline Figure | # “Deployment” # Add “/Recall” to “Release” | # For clarity, the Figure should be modified to be just the “Deployment” and “Release” should be consistant with the definition and list it as “Release/Recall”. |
| Dominion | REQ.13.2.A Business Definitions | Maximum Base Load Figure | # Add “Demand Response”, “Reduction Deadline” and “Release/Recall” | # For clarity: Deployment is listed on the Figure, but shouldn’t “Demand Response”, “Reduction Deadline” and “Release/Recall” also be listed? |
| Dominion | REQ.13.2.A Business Definitions | Meter Before/ Meter After Figure | # Add “Release/Recall” and “Reduction Deadline” | # For clarity: Deployment and “Demand Response” are listed on the Figure, but shouldn’t “Release/Recall” and “Reduction Deadline” also be listed? |
| Dominion | Measurement of Load | REQ.13.3.2.2 | After-the- fact measurement is required and may be either measured by metering each individual site or by statistical sampling. | # “After the fact measurement” is not a defined term and therefore should not be capitalized. It appears that a word such as “measured” (or calculated) is missing. |
| Dominion | Measurement of Load | REQ.13.3.2.6 | # The Meter Data Recording Interval should be specified in the Governing Documents. | # The defined term is Meter Data RECORDING not REPORTING. |
| Dominion | Measurement of Load | REQ.13.3.2.8 | # Edison Electric Institute’s Uniform Business Practices for Unbundled Electricity Metering1 | # We cannot seem to access this from the EEI website. It should be referenced so that it can be found. A copy of Vol. 2 dated 12/5/2000 can be found at http://www.naesb.org/pdf/ubp120500.pdf |
| Dominion | Statistical Sampling | REQ.13.3.3.1 footnotes | Footnote 2 US Department of Energy. M&V Guidelines: Measurement and Verification for Federal Energy Management Projects Version 3.0. 2008. (http://www1.eere.energy.gov/femp/financing/superespcs_measguide.html http://www1.eere.energy.gov/femp/pdfs/mv_guidelines.pdf). | Footnote 2 refers to http://www1.eere.energy.gov/femp/financing/superespcs_measguide.html which returns a message: EERE Document Not Found The newer link appears to be: http://www1.eere.energy.gov/femp/pdfs/mv_guidelines.pdf Appendix B – “Sampling Guidelines” |
| Dominion | Statistical Sampling | REQ.13.3.3.1 footnotes | Footnote 4 Footnote 5 | Footnote 4 refers to California Public Utilities Commission, The California Evaluation Framework, 2006. (http://www.cpuc.ca.gov/PUC/). But a search of the web link did not turn up a 2006 version. However, this document was located, with “June 2004” on the title page. ftp://ftp.cpuc.ca.gov/Egy_Efficiency/CaliforniaEvaluationFrameworkSept2004.doc Footnote 5 refers to ISO-New England, Manual for Measurement and Verification of Demand Resources, (M-MVDR), 2007. (http://www.iso-ne.com). But a search of the site found a document with a slightly different title: ISO New England Manual for, Measurement and Verification of Demand Reduction Value from Demand Resources, Manual M-MVDR ,Revision: 1,Effective Date: October 1, 2007 http://www.iso-ne.com/rules_proceds/isone_mnls/m_mvdr_measurement_and_verification_demand_reduction_revision_1_10_01_07.doc |
| Dominion | Statistical Sampling | REQ.13.3.3.3 | The sample should be designed to achieve a minimum accuracy of 90% confidence with +/-10% relative precision but ultimately achieve a statistical accuracy of no less than a 90% confidence level with +/-20% relative precision during Demand Response Event hours, or as may be specified by the Program Administrator. | Reversed the order in the statement to describe sample design first, and achieved sample precision second. Replaced the term “error” with “relative precision” to make language more consistent with that found in the reference documents. Give ultimate responsibility to determine requirements to the Program Administrator. |
| Dominion | Heading | REQ.13.3.4 | Performance Evaluation Methods | This seems to be a better heading for this section since that is what is being described. (See Table of Contents suggestion above) |
| Dominion | Maximum Base Load Evaluation | REQ.13.3.4.1.2 | Any requirement for After-The-Fact Metering should be specified by the Program Administrator. | This is a defined term and should be capitalized. |
| Dominion | Metering Generator Output Evaluation | REQ.13.3.4.2.2 | During the Baseline Window, the Demand Reduction Value of the Demand Resource is evaluated using one of the following measurements as specified by the Program Administrator: | Demand Reduction Value is the measure being evaluated. |
| Dominion | Meter Before / Meter After Evaluation | REQ.13.3.4.2.8 | After-The-Fact Metering should be used to measure performance, unless otherwise specified by the Program Administrator. | This is a defined term and should be capitalized. |
| Dominion | Baseline Evaluation | REQ.13.3.4.3.2 | The Program Administrator should specify the method of developing the baseline value using, but not limited to, the following calculation types: - Maximum Demand - Average Demand | “Baseline value” is not defined and should not be capitalized. For consistency, if these are the same as the terms used in REQ.13.3.4.2.10 then they should be listed the same way. |
| Dominion | Baseline Evaluation | REQ.13.3.4.3.8 | After-The-Fact Metering is used to measure performance, unless otherwise specified by the Program Administrator. | This is a defined term and should be capitalized. |
| Dominion | REQ.13.3.4.3.10 | Sub-bullets | - Maximum Demand - Average Demand | For consistency, if these are the same as the terms used in REQ.13.3.4.2.10 then they should be listed the same way. |
| Dominion | Baseline Evaluation | REQ.13.3.4.3.13 | Add: The Program Administrator may specify the testing protocol if an Operability Factor will be applied to the Demand Resource Availability Measurement. | This is an additional (and potentially significant) adjustment that may be applied to a mass market program. |
| Dominion | REQ.13.3.4.4 | Section Header | Metering Generator Output Evaluation | For consistency, this section should be called “Evaluation” like the other Performance Evaluation Methodologies. |
| Dominion | Metering Generator Output Evaluation | REQ.13.3.4.4.3 | After-The-Fact Metering on the generator and optionally on the associated Load is used to measure performance unless otherwise specified by the Program Administrator. | This is a defined term and should be capitalized. |
| Dominion | Document |  | Executive Summary sub-bullets Overview sub-bullets REQ.13.3.4 Baseline Maximum Base Load Meter Before / Meter After Metering Generator Output REQ.13.3.4.1.4 sub-bullets REQ.13.3.4.2.2 sub-bullets REQ.13.3.4.2.10 sub-bullets REQ.13.3.4.3.2 sub-bullets REQ.13.3.4.3.4 sub-bullets REQ.13.3.4.3.5 sub-bullets REQ.13.3.4.3.10 sub-bullets | Whenever items are listed in the sections or sub-bullets they should be listed in alphabetical order unless there is another logical reason for the order. |
| Dominion |  |  |  | The following measurements are not defined. Should this be something that is stated as it is defined by the Entities supplying the Demand Response Services? - Instantaneous Demand - Maximum Demand - Average Demand Baseline calculation types: - Maximum Demand - Average Demand - Regression Measurements: - Maximum Demand - Average Demand - Regression |

Table A

| General Characteristics of a Demand Response Event | Advance Notification |
| --- | --- |
|  | Deployment Period |
|  | Reduction Deadline |
|  | Ramping Requirement |
|  | Release/Recall |
|  | Normal Operations |
| Measurement of Load | Telemetry |
|  | After the fact measurement |
|  | Meter Accuracy |
|  | Details of Meter/Equipment Standards |
|  | Meter Data Reporting Deadline |
|  | Meter Data Recording Interval |
|  | Clock / Time Accuracy |
|  | Validating, Editing & Estimating Method |
| Statistical Sampling | Statistical Sampling Method |
|  | Sample Design & Selection |
|  | Sampling Precision and Accuracy |

Table B

| Performance Evaluation Criteria | Baseline Window |
| --- | --- |
|  | Calculation Type |
|  | Use of Statistical Sampling |
|  | Exclusion Rules |
|  | Baseline Adjustments |
|  | Adjustment Window |
|  | Use of Real-Time Telemetry |
|  | Use of After-The-Fact Metering |
|  | Performance Window |
|  | Measurement Type |
|  | Highly Variable Loads |
|  | On-Site Generation Requirements |
|  | Special Processing Rules |
|  | Apply Operability Factor |

See detail to Table B on next page

Table B (OPTION/DETAIL)

| MAXIMUM BASE LOAD EVALUATION REQ.13.3.4.1 | METER BEFORE / METER AFTER REQ.13.3.4.2 | BASELINE EVALUATION REQ.13.3.4.3 | METERING GENERATOR OUTPUT EVALUATION REQ.13.3.4.4 |
| --- | --- | --- | --- |

| Performance Evaluation Criteria | Baseline Window |  | .1 | .1 | .1 |
| --- | --- | --- | --- | --- | --- |
|  | Calculation Type |  | .2 | .2 | .1 |
|  | Use of Statistical Sampling |  | .3 | .3 |  |
|  | Exclusion Rules |  | .4 | .4 |  |
|  | Baseline Adjustments |  | .5 | .5 |  |
|  | Adjustment Window |  | .6 | .6 |  |
|  | Use of Real-Time Telemetry | .1 | .7 | .7 | .2 |
|  | Use of After-The-Fact Metering | .2 | .8 | .8 | .3 |
|  | Performance Window | .3 | .9 | .9 | .4 |
|  | Measurement Type | .4 | .10 | .10 | .5 |
|  | Highly Variable Loads |  | .11 | .11 |  |
|  | On-Site Generation Requirements |  | .12 | .12 |  |
|  | Special Processing Rules |  |  |  | .6 |
|  | Apply Operability Factor |  | .13 |  |  |