This document contains a compilation of the comments submitted in response to recommendation WEQ 2010 AP Item 6 (b) / REQ Annual Plan Item 9(b); Requirements Specifications for Common Scheduling Mechanism for Energy Transactions – for NIST PAP04. The comments were individually posted and are available for download from the NAESB website at http://www.naesb.org/retail_request.asp and http://www.naesb.org/weq_request.asp.

|  | Company | Category | Cite | Suggested Change |  | Task Force Response |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | NAESB WEQ Standards Review Subcommittee (“SRS”) | General Comment |  | The SRS understands that for this document OASIS is referencing the “Organization for the Advancement of Structured Information Standards.” In the current WEQ Business Practices Standards when OASIS is mentioned it refers to the “Open Access Same-Time Information System.” The task force may want to add some clarifying language so that others reading the recommendation understand that OASIS in this context refers to the organization not the system. |  |  |
| 2 | NAESB WEQ SRS | Proposed Revision (Glossary) | WEQ 000-2 | The terms and definitions do not seem to take into account existing definitions of terms and FERC Order 676-C which requested that NAESB resolve differences within its standards and differences between NERC and NAESB Standards. Adjacent are examples that illustrate inconsistencies with the definitions for the same term. | Facility NERC Definition - A set of electrical equipment that operates as a single Bulk Electric System Element (e.g., a line, a generator, a shunt compensator, transformer, etc.) Recommendation Definition – The location at which connection to the transmission or distribution system is made. Load Serving Entity Glossary Definition - The responsible entity that secures energy and Transmission Service (and related Interconnection Operations Services) to serve the electrical demand and energy requirements of its end-use customer. Recommendation Definition – A role which carries the responsibility of serving end-users and selling electric energy to end-users. System Operator Demand Response Final Action – A System Operator is a Balancing Authority, Transmission Operator, or Reliability Coordinator, whose responsibility is to monitor and control an electric system in real time (based on NERC definition). The System Operator is responsible for initiating Advance Notifications, Deployment and Release/Recall Instructions. Recommendation Definition – An entity which carries the responsibility of administering the demand response process, from Resource enrollment to performance evaluation. |  |
| 3 | NAESB WEQ SRS | Proposed Revision (Glossary) | WEQ 000-2 | Within Definitions of terms there are capitalized terms which are not defined. These include: - Federal - Awards - Schedules |  |  |
| 4 | NAESB WEQ SRS | General Comment |  | There are terms which are capitalized which are not defined in the WEQ Business Practice Standards such as “Demand Response Programs”, “Program Administrator”, “Market Closing”, “Absolute Interval”, Absolute Duration and “Minimum Run Time”. |  |  |
| 5 | NAESB WEQ SRS | General Comment |  | There are acronyms which are not defined such as “XML”, “IETF”, and “DER.” |  |  |
| 6 | NAESB WEQ SRS | Proposed Revision (Format) | Executive Summary | This recommendation, along with the recommendations for PAP03 Requirements Specifications for Common Electricity Product and Pricing Definition and PAP09 Requirements Specifications for Wholesale Standard DR Signals, each contains an Executive Summary listed under the “Recommended Standards” section of the recommendation. Based on the standards numbering it appears that all three recommendations will be included in a new set of standards, WEQ-016. - First, we question whether WEQ-016 should have an Executive Summary. The only Business Practice Standards that have an executive summary is WEQ-014 (WEQ/WGQ eTariff Related Standards). The WEQ-014 standards were approved prior to the SRS review of recommendations. (If the SRS had been reviewing standards at that time, we may have questioned having an Executive Summary in WEQ-014.) - Second, the Executive Summaries in the three recommendations though similar are not identical. With the differences in the Executive Summaries and all three recommendations being included in WEQ-016 it is unclear how a single set of business practices can have three Executive Summaries. If the EC decides to move forward with including an Executive Summary, the SRS recommends that all capitalized terms and acronyms be included in WEQ-000. An option the Smart Grid Task Force may want to consider is to create a separate Business Practice Standard for each PAP recommendation rather than combining them into a single recommendation. The SRS understands that for this document OASIS is referencing the “Organization for the Advancement of Structured Information Standards.” In the current WEQ Business Practices Standards when OASIS is mentioned it refers to the “Open Access Same-Time Information System.” The task force may want to add some clarifying language so that others reading the recommendation understand that OASIS in this context refers to the organization not the system. |  |  |
| 7 | NAESB WEQ SRS | Proposed Revision (Format) | Introduction | Introduction – The SRS questions whether it is appropriate to include an “Assumptions” section in the WEQ Business Practice Standards. ## Assumptions: - We assume as given that common semantics for communicating schedule, interval, and sequence will enhance interoperation between domains and between business entities. The task force may want to consider re-naming this section to “Considerations” and place in an Appendix to the Business Practice Standards or move to Section 4.d of the recommendation form, “Commentary/Rationale of Subcommittee(s)/Task Force(s).” |  |  |
| 8 | NAESB WEQ SRS | Proposed Revision (Format) | WEQ 016-1.1 through WEQ 016-1.1.1 | The standards do not have any text associated with WEQ-016-1 or WEQ-016.1.1. Other than section WEQ-016-1.1.1, there are no additional subsections that contain text. Unless the task force plans to add additional subsections under and WEQ-016.1.1, they may want to consider moving WEQ-016-1.1.1 to WEQ-016.1.1. Note: the Standards Review Subcommittee is also suggesting that Sections WEQ-016-1.2 through WEQ-016-1.2.1 be deleted. (See Below.) If this happens then WEQ-016-1.1.1 could potentially be moved to WEQ-016-1. |  |  |
| 9 | NAESB WEQ SRS | Proposed Revision | WEQ 016-1.1.1 | The term Demand Response Programs is not consistent with how it is formatted sometimes it is “Demand Response Programs” and in one instance it is “Demand Response program”. The term needs to be consistently formatted and also defined. The SRS suggests that the incomplete but representative set of instances found in this section be moved to an Appendix. For the WEQ Business Practice Standards, examples are included in appendices rather than in the main body of the WEQ Business Practice Standards. Also, there are a number of capitalized terms which do not have definitions. The SRS suggest to either lower case or provide definitions. |  |  |
| 10 | NAESB WEQ SRS | Proposed Deletion | WEQ 016-1.2 through WEQ 016-1.2.1 | The Standards Review Subcommittee recommends these sections be deleted. All of the terms listed here were defined in the Business Practices for Measurement and Verification Wholesale Electricity Demand Response Business Practice Standards Final Action. The WEQ Executive Committee made a decision to move to a common glossary so that terms are defined in one place WEQ-000. Additionally the SRS has noticed inconsistencies between the descriptions listed here and the definitions included in the Business Practices for Measurement and Verification Wholesale Electricity Demand Response Business Practice Standards Final Action. If the task force is intending to change the definitions for terms they should show the redlines to the approved definitions. Below are terms that do not match what is approved in the WEQ Business Practices, which have been filed with the Federal Energy Regulatory Commission: - Baseline Window (missing sentence) - Demand Response Event (changed System Operator to Program Administrator and Program Administrator is an undefined term) - Meter Data Reporting Deadline (definition has been modified slightly) - Normal Operations (changed System Operator to Program Administrator) - Performance Window (changed System Operator to Program Administrator) - Release/Recall (changed System Operator to Program Administrator) - Telemetry Interval (changed System Operator to Program Administrator) |  |  |
| 11 | NAESB WEQ SRS | Proposed Revision (Format) | Appendix A | The Standards Review Subcommittee suggests the Abbreviations and Acronyms be deleted from the appendix and only listed in WEQ-000. See comments under “Section WEQ-016-1.2 through WEQ-016-1.2.1” for additional rationale on the SRS suggestion. The Figure 1 in the appendix has no explanation as to what it is and why it is included in the recommendation. The Standards Review Subcommittee suggest that additional language be included so that users of the NAESB WEQ Business Practice Standards understand what is an Entity Relationship Model and what is important to know with this specific Entity Relationship Model. |  |  |
| 12 | Bonneville Power Administration (BPA) | Proposed Revision and Deletion | WEQ 000-1 | Delete section 000-1 (Abbreviation and Acronyms) from page 2. It is duplicated in section 16-A Appendix A – Entity-Relationship Model on page 12. As stated for PAP03, please: - Add “DR for Demand Response” to the Abbreviation and Acronyms. - Add “DER for Distributed Energy Resources” to the Abbreviation and Acronyms. |  |  |
| 13 | BPA | Proposed Revision and Deletion | WEQ 000-2 | Delete section 000-2 (Definition of Terms) from pages 3-5. It is duplicated in section 16-A Appendix A – Entity-Relationship Model on page 13. In addition: - Should there be a list of Actor in this document similar to PAP03 and PAP09? - Should there be a section on Conventions in the document similar to PAP03? |  |  |
| 14 | BPA | Proposed Revision and Deletion | Introduction | Page 6, fourth paragraph, line 2: What does distribution mean in this context? This sentence is unclear. Next sentence: please remove “concerning those transactions.’ This is either a redundant statement or a misplaced object. |  |  |
| 15 | BPA | Proposed Revision | WEQ 016-1.2.1 | Page 9, first paragraph, second sentence, BPA suggests the following change. Replace existing text with underlined text below: “Although some instances may be known by other names…” |  |  |
| 16 | BPA | Proposed Revision | WEQ 016-1.2.1 | Page 9: (Baseline Window) suggest augmenting language with capitalized text - "The window of time preceding and optionally following, a Demand Response Event over which electricity consumption and OUTSIDE AIR TEMPERATURE DATA are collected for the purpose of establishing a Baseline." |  |  |
| 17 | BPA | Proposed Revision | WEQ 016-1.2.1 | Page 9 (Adjustment Window) A baseline will not be calculated in an adjustment window but will be adjusted or modified in an adjustment window. See practice of the morning of adjustment. See also ambient air temp as a factor contributing to morning of adjustment. |  |  |
| 18 | BPA | Proposed Revision | WEQ 016-1.2.1 | Page 9 (Demand Response Event) Program Administrator is not always the dispatcher. A DR event is different than a DR program and it controlling contractual parameters. |  |  |
| 19 | BPA | Proposed Revision | WEQ 016-1.2.1 | Page 9 (Deployment) Deployment connotes a build-out traditionally associated with the creation of a DR resource through the roll-out of a programmatic offer. We suggest use of the term “dispatch” instead. |  |  |
| 20 | BPA | Specific Comment | WEQ 016-1.2.1 | Page 10 (Deployment Period) The term ”Deployment” may be confusing to some in the industry. Here we are talking about resource operation and delivery. This could be fixed in the definition, by explaining what is being deployed. |  |  |
| 21 | BPA | Specific Comment | WEQ 016-1.2.1 | Page 10 (Meter Data Reporting Deadline) This definition is necessary but we also need to define how, in some instances, real-time consumption data is used to verify, in real-time, resource compliance with dispatch instruction. |  |  |
| 22 | BPA | Specific Comment | WEQ 016-1.2.1 | Page 10 (Performance Window) Please clarify which Program Administrator this term applies to: market or utility? |  |  |
| 23 | BPA | Specific Comment | WEQ 016-1.2.1 | Page 10 (Recovery Period) “Required” is too heavy a word. You are simply releasing the resource from its DR obligations. You are not requiring any other types of subsequent action. You don’t have the power or the right. |  |  |
| 24 | BPA | Specific Comment | WEQ 016-1.2.1 | Page 10 (Reduction Deadline) DR will not always be a reduction. Ramp up period will also be a type of demand response. DR does not equal demand reduction. |  |  |
| 25 | BPA | Proposed Revision | WEQ 016-1.2.1 | Page 11 (Telemetry Interval) “Program Administrator, BPA suggests using a different term or clarify the term and add it to the Glossary. |  |  |
| 26 | BPA | Proposed Revision | Figure 1 | Page 16, Figure 1 is inadequate alone; BPA suggests adding some supporting text including what the figure is intended to convey. |  |  |
| 27 | Tennessee Valley Authority (TVA) | General Comment |  | In general, TVA believes that the Smart Grid effort should use as many existing approved communication protocols and industry standards as possible as a launching pad for the development of future standards. An example would be starting with FERC, NERC, and the nine Regional Reliability Organizations-approved naming conventions as well as existing “common” communication protocols (examples: Distributed Network Protocols and IEC 61850) that can appropriately integrated. In addition, TVA would like to know if any thought has been given to how traditional transmission products would hamper or help the Smart Grid effort. What kind of transmission constraints would the Smart Grid effort encounter once operational? Overall, TVA commends NAESB for these recommendations and believes the standards provide a workable framework for producing the granularity needed to integrate Smart Grid efforts into the business model. |  |  |
| 28 | TVA | General Comment | WEQ 000 | Terms and definitions found within this standard should match NERC/NAESB glossaries approved by the FERC. Definitions such as Load Serving Entity, System Operator, and others need to match for industry-wide consistency. |  |  |
| 29 | TVA | General Comment |  | Section WEQ-016 – Sections contain terms that are defined and need to have definitions; such terms include: Demand Response Programs, Program Administrator, Market Closing, Absolute Interval, Absolute Duration, and Minimum Run Time. In addition, there are several acronyms that have not been defined (SML, IETF, and DER). |  |  |
| 30 | TVA | Specific Comment | WEQ 016-1.2.2 | Please note that the Program Administrator may not always be the dispatcher. |  |  |
| 31 | TVA | General Comment | Appendix A | Do standard definitions for Response Method Aggregation, Resource, Scheduling Entity, and Service Provider exist in other approved standards? If so, we believe these should be changed to reflect those. |  |  |
| 32 | TVA | General Comment |  | What is meant by a Demand Response Event? TVA’s definition of a DR event is related to something that is controlled by either the utility or the customer (a planned event). The other two levels TVA deals with are a “steady state” and an automatic demand response state. TVA suggests that sub-definitions for the term Demand Response Event may be appropriate in order to more succinctly define them as either load or market events. |  |  |
| 33 | Honeywell | General Comment |  | Honeywell has reviewed your documents and offers minor comments/edits for all the documents that fall into four categories. - Representation of all 3 customer domains (Residential, Commercial, and Industrial) should be included and explicitly stated when not applicable to all three. - Listings of specific standards setting organizations should not preclude others from participating. - The use cases and examples should include, when appropriate, in-premises energy management systems in residential, commercial and industrial customer domains. - Grammatical corrections. |  |  |
| 34 | Honeywell | Proposed Addition | WEQ 016-001 and Appendix A | # EMS – Energy Management System |  |  |
| 35 | ISO/RTO Council | General Comment |  | # The documents being considered do not contain traditional NAESB Business Practice Standards content. Additional work will be necessary the convert these recommendation documents into Business Practice Standards, as it was a working assumption of the Smart Grid Task Force to deliver requirements only. |  |  |
| 36 | ISO/RTO Council | General Comment |  | # References in these Recommendations to ‘Dispatch”, “Markets”, “Reliability” are made relative to DR and apply to DR resources only, and not Generation resources. NERC’s compliance standards for Generation Resources are typically quite detailed, while compliance standards for DR resources are appropriately determined by the respective system operator specific to the DR product or service and the reliability need being addressed. |  |  |
| 37 | ISO/RTO Council | General Comment |  | # While the recommendations for PAP-03, PAP-04 and PAP-09 posted by NAESB are not business practice standards, they should not be misconstrued as a recommendation to change existing market designs or business rules across ISOs/RTOs; each ISO RTO has its own stakeholder process as the appropriate forum for making rule changes. |  |  |
| 38 | ISO/RTO Council | General Comment |  | # Although not explicitly stated in the PAP documents, compliance with orders from regulatory agencies, as they apply to DR in ISO/RTOs, is presumed. |  |  |
| 39 | ISO/RTO Council | General Comment |  | # It is our understanding that the contents of the documents are being presented as recommendations and are intended to be used neither as implementation templates nor for testing of interoperability. Rather, another step will be taken by the Organization for the Advancement of Structured Information Standards (OASIS) to deliver an information model, preferably reconciled with IEC 61970, which then could be implemented and tested. |  |  |
| 40 | ISO/RTO Council | General Comment |  | # The treatment of the glossary of terms – actors and definitions – is inconsistent across the recommendation documents — within the WEQ as well as the corresponding versions listed under REQ. In one case, the glossary of terms is in the recommendation without the diagram, in another it appears as an appendix, and in a third it appears in both the recommendation section and in an appendix. The highlighted wording regarding how the glossary will be incorporated into the WEQ-000 is unclear. The IRC requests that NAESB staff provide a clearer description to explain how the glossary of terms will be integrated into WEQ-000. |  |  |
| 41 | ISO/RTO Council | General Comment |  | The IRC has identified that the following requirement from PAP04 as the only requirement applicable to wholesale markets and recommends that it be incorporated into the PAP09 wholesale document: “Demand Response Programs employ a combination of absolute dates/times, absolute periods (range) of dates/times, relative dates/times, recurring dates/times, absolute intervals and absolute durations in order to communicate temporal information pertaining to demand response transactions. Demand Response Programs must also accommodate time zone variations, leap years, leap seconds, and the use of daylight savings time. Any calendaring/scheduling standard that is applicable to Demand Response programs must be capable of supporting this range of requirements.” |  |  |
| 42 | ISO/RTO Council | General Comment |  | References to the term “wholesalers” in PAP04 do not apply to ISOs and RTOs, therefore, it is the understanding of the IRC that PAP04 would not apply to ISOs and RTOs. |  |  |
| 43 | ISO/RTO Council | General Comment |  | The IRC recommends that PAP-04 be moved wholly into the REQ, where it can be applied to end-device and/or human communications without impact to or potential conflict with wholesale market operations. |  |  |
| 44 | ISO/RTO Council | Proposed Revision | WEQ 016-1.2.1 | Pg 9: Replace “reducing” with “modifying” |  |  |
| 45 | Midwest ISO | General Comment |  | Midwest ISO is concerned with the next steps for the PAPs once they are approved by the Executive Committee and ratified by the membership. The documents in many cases are intended only to provide examples and as such were not intended to be an all inclusive set of standards. In many cases the examples are not consistent with how some entities operate their markets. We will provide more detail as to where there are differences between the Midwest ISO market and the examples. At a minimum the documents should have some statement explaining that the examples included are not to be considered the full set of examples and that some markets may have implementations that are inconsistent with the examples and sample scenarios provided since the examples were not intended to provide an exhaustive set of standards. Without having this type of clarifying language on the examples, samples, etc., these standards may inadvertently dictate how the markets can operate in the future and as well as impact existing market designs. |  |  |
| 46 | Midwest ISO | Proposed Revision | WEQ 000-2 | Page 3 – Issue with definition of Facility: reads like elemental node for calculating price instead of a aggregated commercial pricing node |  |  |
| 47 | Midwest ISO | Specific Comment | WEQ 016-1.1.1 | Page 8 – The intent is table unclear since it is “an incomplete, but representative set of instances.” |  |  |
| 48 | Midwest ISO | Specific Comment | Figure 1 | Page 16 – Entity Relationship Model – Midwest ISO has concern with the following not being connected: Resource and Facility, Zone and Facility, and Resource and P-node. |  |  |