Parking Lot

- All tags and all imputed tags internal to the BA (using NITs or Point to Point) will have their curtailment impacts determined in the IDC using a Generation to Load Calculation.  This applies to the interim solution as well as change order 310.  It needs to be determined if this is functionality is needed in the Tag All Non-Firm option.

- Should BPS establish an alternate option – i.e. introduce the current prioritization methodologies outlined in the TSP’s current tariffs into the PFV for production (on an interim basis until the larger complicated issues are resolved) to allow the PFV to be used once the necessary testing is complete? Would this provide RC’s the reliability tool they are looking for and TSPs the interim tool to properly and equitably address the NOI issue raised by FERC? (see http://naesb.org/pdf4/weq_bps042811w9.pdf)

- Is the current BPS approach delaying the resolution of the FERC NOI issues? How are the NOI issues currently being addressed? (see http://naesb.org/pdf4/weq_bps042811w9.pdf)

- Is the requirement of “honoring your neighbors’ constraints” a policy issue that cannot be solely addressed at NAESB, and will necessarily need to be raised at FERC? Further, is this concern sufficiently addressed by the NERC MOD Standards? (see http://naesb.org/pdf4/weq_bps042811w9.pdf)

- Depending upon the prioritization method proposed, will the current implementation of the PFV flow impact calculation (Gen to total BA load vs. native and transfer impacts) result in an equitable single “impact” calculation? (see http://naesb.org/pdf4/weq_bps042811w9.pdf)

- Is it appropriate for BPS to design a tool and standard that pre-supposes the elimination of the CMP prior to this proposal being submitted to FERC (by the markets) and for all parties to raise their concerns in the FERC forum? (see http://naesb.org/pdf4/weq_bps042811w9.pdf)

- Flowgate Allocation/Hybrid Option – Would a list be posted on an OASIS site those parties that have seams agreements?

- Flowgate Allocation – Is there a need to do 2 day ahead, day ahead, and hour ahead.

- Flowgate Allocation – If selected need to have more detail discussions on TRM and CBM (are these the same values used in the AFC process)

- Flowgate Allocation - Are less than 5% allocations needed since they can’t be curtailed in the IDC?

- Flowgate Allocation – Should we assign first to curtail proportional curtailment to only those PTP and Network that have a greater than 5% impact?

- Flowgate Allocation/Hybrid Option – Seams Agreement sub-bullets need to be consistent for AFC/ATC (near term and beyond 13 months issue)  Maybe sub-bullets should be deleted.

Resolution:  The two bullets were revised to a single bullet stating:

“For off -path impacts a Coordination Agreement party will utilize the same system conditions including constraints and facility loadings as used by the other parties to the Coordination Agreement  when providing transmission service on its  system.   This is applicable for both short-term and long-term transmission service.” (6/14/11)

- Flowgate Allocation/Hybrid Option – If any party is jurisdictional the agreement will be filed with FERC

Resolution: Language was revised to:

“If all parties are jurisdictional the Coordination Agreement will be filed with FERC.” 6/14/11

- Flowgate Allocation/Hybrid Option – Need further discussion on how Unilateral Seams Agreements would impact the options.  Unilateral seams agreement would provide for last to curtail allocation on the other providers system by the party filing the unilateral agreement.

Resolution – Added the language:

If a party can demonstrate that they are meeting the minimum requirements for a Coordination Agreement and have been unable to execute a Coordination Agreement, the unilateral agreement containing the minimum requirements would be applicable to prevent two-tier curtailment at the time the unilateral agreement is filed with FERC. (06/14/11).

- Flowgate Allocation – How to prevent gaming of the merit order file to achieve maximum allocation on a flowgate?  Include treatment of intermittent resources in the merit order file.

- Flowgate Allocation Option – Highlights for discussion Scenario 1 (with prioritized order)

- Ramp online firm generation with firm transmission service

- Ramp offline non-outage firm generation with firm transmission service

- Scale load down to match firm generation

- Flowgate Allocation/Hybrid Option – Need to have discussion on terminology of seams agreement vs coordination agreement.

Resolution: The subcommittee agreed to use the term “Coordination Agreement” moving forward.  The work paper was updated to reflect the change and a footnote was added to the Motions page to reflect this change. (06/14/11)

- Flowgate Allocation/Hybrid Option – Are there potential tariff conflicts for curtailment of firm services before non-firm service.

- Flowgate Allocation option and Hybrid option:    Is there an expectation that the Firm GTL impacts of Non-Markets and Firm Market impacts of Markets  as calculated by IDC Software applying new BPS rules,  will match (within acceptable range) the  Firm GTL impacts of non-markets and Firm impacts of markets as calculated, “granted”  and used by Tariff calculations.   If not why not.  If there is an expectation, how do we accomplish that?

- Flowgate Allocation/Hybrid Option – If 2 Entities agree through Seams agreements to limit Firm on each others flow gates to a certain level,  how do we incorporate and accomplish that in both hybrid  and allocation option.

- Can Nelson Muller make a statement in the BPS Meeting that the credit for re-dispatch issue can be resolved with software logic to the satisfaction of Market.

1.	Nelson Muller – yes it can be resolved.  There may be multiple viable options that may require decision which option to choose.

2.	Tom Mallinger - To make a viable option, it need to consider (a) BA’s have 30 minutes to meet their relief obligation according to the market flow threshold field test recommendation to NERC, (b) next hour relief obligations and tag curtailments will not be issued until after 30 minutes BA relief obligation window closes for the current hour, (c) the frequency and/or timing of GTL data exchange under CO 283 may need to be adjusted to accommodate credit for redispatch timing requirements, and (d) the ORS is currently pursuing changes to the tag curtailment timing requirements from 10 to 15 minutes which makes the time when the next-hour curtailments are issued by the IDC critical to implement the curtailments.

3.	Nelson Muller – The next hour tag curtailments are sent out by the IDC no earlier than 35 minutes past the hour.

- How will the IDC track reciprocity between entities?  We need to explain how this would work if there is reciprocity between some entities and not all entities.  How will changing of reciprocity be tracked over time?  (example is what happens if a new Coordination Agreement is signed that then requires reciprocity with those who have signed agreements with one of the entities of the new Coordination Agreement?)

- Need to provide an example of what happens when going from a TLR level 3 to TLR level 5 with credit for redispatch?  When you provide 27MW of relief through redispatch of firm should the firm go up by 27 MW while the non-firm goes down by 27?