##### August 20, 2026

FROM:		Jonathan Booe, NAESB Executive Vice President & COO

RE:	WEQ/RMQ Business Practices Subcommittees: Distributed Energy Resources (DER)

Since the previous NAESB Update Call, the WEQ and RMQ Business Practices Subcommittees (BPS) have held three additional joint meetings to continue development of NAESB Business Practice Standards to support the integration and interoperability of DER and DER aggregation registries.  During their meeting in June, the participants confirmed the subcommittees' approach to develop an underlying data standard to support interoperability between registries and related systems before continuing efforts to consider the development of a DER Entity Registry.  To identify the data fields to be addressed by the standard, the subcommittees are using the 2023 WEQ BPS DER Aggregation Use Case Work Paper as an initial starting point to establish a baseline of the information that should be included in industry registries. Participants have also discussed the potential use of the Common Information Model (CIM) and generally agreed that, while the standard should not require use of the CIM, developing an optional mapping to the CIM would support interoperability for entities that choose to use it.  Currently, the subcommittee has been contemplating whether the standard should be intended to address both entity-level and device-level registration.

At the subcommittees’ last meeting in August, Collaborative Utility Solutions presented a work paper proposing a minimum data set for DER device registration which utilized the 2023 work paper and was based on experience of supporting DER registration processes for utilities.  The processes was largely based on the California Energy Commission's DER device database.  As a next step, the participants discussed the potential to completely map the proposed data elements to the previously identified DER Aggregation Use Case Work Paper and the CIM, and considered whether the standard should incorporate data fields consistent with NERC Reliability Standard MOD-032-2.  Throughout the process, the participants have agreed that the standard should remain implementation and technology-neutral to ensure broad application across markets and jurisdictions.

In order the be included in Version 004.1 of the NAESB WEQ Business Practice Standards, the WEQ and RMQ BPS will need to adopt a recommendation by September 15, 2026.  Participants plan to continue refining the data element table and its mapping to the CIM and to seek additional input from ISO/RTO stakeholders ahead of the next meeting.