FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	Number: 2012 WEQ Annual Plan Item 5(a)

Title: Add AFC and TFC Values to the “System_Attribute” Data Element

Submitted By:	IESO, MISO, PJM, and SPP

Date:	February 17, 2012

The ISOs/RTOs listed above agree with the February 10, 2012, Wholesale Electric Quadrant’s Standards Review Subcommittee’s comments on consistency concerns with WEQ-013-3.3.1.

Beyond these concerns we offer the following observation for WEQ-003 OASIS Data Dictionary. With the additions of TFC, FAFC – Firm Available Flowgate Capability, and NFAFC – Non-firm Available Flowgate Capability as defined values in SYSTEM_ATTRIBUTE the defined values for SYSTEM_ELEMENT_TYPE should also be modified since these new values are specific to flowgates.  Currently, SYSTEM_ELEMENT_TYPE only has defined values for PATH and LOAD_ZONE which correspond to the existing defined values in SYSTEM_ATTRIBUTE.  FLOWGATE should be added to SYSTEM_ELEMENT_TYPE.