FORMAL COMMENTS

Quadrant: 		Wholesale Electric Quadrant

Recommendation: 	2012 AP Item 5.e – Support Crediting Redirect Requests with the Capacity of the Parent Reservation

Submitted By: 		JT Wood on behalf of Southern Company

Date: 			February 13, 2012

On behalf of Southern Company I am providing the WEQ Executive Committee these comments for consideration based on the review of the request for formal comments submitted for 2012 AP Item 5.e – Support Crediting Redirect Requests with the Capacity of the Parent Reservation.

With the term “shall” being written into the standards added (001-9.1.3.1 and 001-10.3.1.1), Transmission Providers will be required to incorporate the redirect effect onto the Parent Reservation path before the effect of the redirect path is finished. In our opinion this would have a dire impact on the Transmission Providers’ ability to maintain control of the affected paths and queue. This would require that the Parent Reservation path incorporate the affected MWs being redirected before the redirected path can be evaluated. This would increase the possibility of having to recall the MWs if the redirected path was refused or counteroffered. Resulting in mass confusion on how many MWs were actually granted or who owns the MWs. This does not even address if the MWs granted on the Parent Reservation path are then ultimately resold or possibly redirected again onto another path. This appears to be a massive recall and unwind problem. Our suggestion would be to change the term “shall” to the term “may”. This would allow the Transmission Providers some leeway in processing their queue.

Thanks for your consideration,

JT

Proposed Changes:

001-9.1.3.1	The evaluation of the request to Redirect on a firm basis may incorporate the reduction of the capacity of the Parent Reservation by the amount of the capacity requested for the time period of the Redirect on a firm basis.

001-10.3.1.1	The evaluation of the request to Redirect on a non-firm basis may incorporate the reduction of the capacity of the Parent Reservation by the amount of the capacity requested for the time period of the Redirect on a non-firm basis.