Formal Comments

Quadrant:                 	Wholesale Electric Quadrant

Recommendations: 	Standards Request R12010 Requirements for Scheduling Interchange in Fifteen Minute Intervals

Submitted By:     	ERCOT, IESO, ISO New England, MISO, New York ISO, and SPP

Date:                          	April 5, 2013

To address potential reliability issues, the ISOs/RTOs listed above recommend inserting the additional redlined statement into Default Scheduling Intervals section (004-xx).

004-xx 	DEFAULT SCHEDULING INTERVALS

Unless otherwise stated in applicable Governing Documents, each Balancing Authority and Transmission Service Provider shall support default transaction start and transaction stop times as follows: xx:00, xx:15, xx:30, and xx:45.

Reliability requests may be requested for any minute of the hour.