General Comments

- The documents being considered do not contain traditional NAESB Business Practice Standards content.   Additional work will be necessary the convert these recommendation documents into Business Practice Standards, as it was a working assumption of the Smart Grid Task Force to deliver requirements only.

- References in these Recommendations to ‘Dispatch”, “Markets”, “Reliability” are made relative to DR and apply to DR resources only, and not Generation resources. NERC’s compliance standards for Generation Resources are typically quite detailed, while compliance standards for DR resources are appropriately determined by the respective system operator specific to the DR product or service and the reliability need being addressed.

- While the recommendations for PAP-03, PAP-04 and PAP-09 posted by NAESB are not business practice standards, they should not be misconstrued as a recommendation to change existing market designs or business rules across ISOs/RTOs; each ISO RTO has its own stakeholder process as the appropriate forum for making rule changes.

- Although not explicitly stated in the PAP documents, compliance with orders from regulatory agencies, as they apply to DR in ISO/RTOs, is presumed.

- It is our understanding that the contents of the documents are being presented as recommendations and are intended to be used neither as implementation templates nor for testing of interoperability.  Rather, another step will be taken by the Organization for the Advancement of Structured Information Standards (OASIS) to deliver an information model, preferably reconciled with IEC 61970, which then could be implemented and tested.

- The treatment of the glossary of terms – actors and definitions – is inconsistent across the recommendation documents — within the WEQ as well as the corresponding versions listed under REQ. In one case, the glossary of terms is in the recommendation without the diagram, in another it appears as an appendix, and in a third it appears in both the recommendation section and in an appendix. The highlighted wording regarding how the glossary will be incorporated into the WEQ-000 is unclear.  The IRC requests that NAESB staff provide a clearer description to explain how the glossary of terms will be integrated into WEQ-000.

- It is unclear how the data requirements work beginning in Phase 2 will be integrated with these recommendations if they are being passed through the standards approval process separately. This is of particular concern since PAP-03 and PAP09-Retail have partial lists of data requirements in the current recommendations. For consistency, the IRC recommends that all data requirements be removed from the Recommendations for PAPs 03/04/and 09 until the SGTF has completed Phase 2, where the data requirements will be identified for all three PAPs.

PAP-SPECIFIC RECOMMENDATIONS

PAP-03

- "The term “wholesalers” in PAP03 should be modified to clarify whether it refers to energy marketers, energy service providers or ISOs and RTOs. Without this clarification, it is unclear to whom the proposed PAP03 standards apply

- The use cases are very short.  More elaboration needs to be given to the definitions and the samples should be elevated to fully described, testable use cases.

PAP-04

- The IRC has identified that the following requirement from PAP04 as the only requirement applicable to wholesale markets and recommends that it be incorporated into the PAP09 wholesale document:

“Demand Response Programs employ a combination of absolute dates/times, absolute periods (range) of dates/times, relative dates/times, recurring dates/times, absolute intervals and absolute durations in order to communicate temporal information pertaining to demand response transactions. Demand Response Programs must also accommodate time zone variations, leap years, leap seconds, and the use of daylight savings time. Any calendaring/scheduling standard that is applicable to Demand Response programs must be capable of supporting this range of requirements.”

- References to the term “wholesalers” in PAP04 do not apply to ISOs and RTOs, therefore, it is the understanding of the IRC that PAP04 would not apply to ISOs and RTOs.

- The IRC recommends that PAP-04 be moved wholly into the REQ, where it can be applied to end-device and/or human communications without impact to or potential conflict with wholesale market operations.

PAP-09 Retail

- As previously recommended in the IRC’s informal comments in November 2009, the administration of DR products and services should be excluded from the scope of the retail use cases.  Currently, language states that these processes will not be automated.  If this is the case, they should not be included in a document that ultimately will lead to a machine-to-machine communication specification.  Additionally, the processes for automating customer registration (as opposed to device enrollment) are likely to be handled in the future by a NAESB working group with a more global (i.e., not DR-centric) perspective. The IRC recommends removing the following sections:

  - REQ.14.3.2.4.1 Administrate DR Program

  - REQ.14.3.2.4.1.2 Create DR Program

  - REQ.14.3.2.4.1.3 Update DR Program

  - REQ.14.3.2.4.1.4 Remove DR Program

  - REQ.14.3.2.4.2 Administrate Customer for DR

- Our members believe that additional descriptions of the business processes are needed. The existing illustrations consist of Use Case Diagrams, which identify the Actors involved and the hierarchy of processes, and Sequence Diagrams, which identify the ordered messages that may be exchanged among the actors during the execution of the business processes. Activity Diagrams would better show the conditional flows and iterations that are common to these business processes and make the testing of use cases easier.  Furthermore, alignment with the four governing business processes outlined in Figure 1 of the Wholesale document (page 12) would be extremely helpful.  In fact, we would very much like to see integration with the wholesale business process Activity Diagrams, which have wholesale-retail integration points identified for further development by interested parties.  IRC members will be made available to support such integration definition efforts should members of the REQ be interested in pursuing this activity in Phase 2.

- The document defines DR-specific data elements (such as "Minimum Duration"), whereas the Wholesale document reuses generation/supply data elements (such as "Minimum Run Time").  These philosophies should be reconciled. See pp. 33-35, 39, and 40 for examples. As stated in cross-PAP recommendation E, this can be resolved by following the IRC recommendation that all data elements be removed from the current recommendations and submitted at a later date, when the Phase 2 data requirements work is complete.

PAP-SPECIFIC RECOMMENDATIONS (DETAILED EDITS)

Common Introduction Language

- Replace “United States of America with some overlaps to Canada” with “North America”

- 000-1: Replace “Reliability Authority (RA)” with “Regional Reliability Authority (RRA)”

- 000-2: For Response Method Aggregation, edit as follows: “…interval level consumption, e.g. a site an RMA may also be a physical entity that may have with its own meter…”

PAP-03

- Pg. 6 & Pg. 12: Replace “Demand Reduction” with “Demand Modification”

- Pg. 9: need to reconcile difference among TDSP / UDC / UDO

- Pg. 10: Definition of CPP is incorrect.  Recommend the following change: “…at which time electric prices may reflect the costs of electricity at the wholesale level are administratively adjusted to incentivize customers to actively modify their electricity usage.”

- Pg. 10: Definition of PTR.  Recommend the following change: “An incentive rate in which the utility pays a rebate to Customers to who reduced demand during peak periods on critical days.”

PAP-04

- Pg 9: Replace “reducing” with “modifying”

PAP-09 Retail

- Pg 15:  REQ.14.3.2.3: Use Case Overview - End-to-end business process flow should be consistent with Wholesale DR Signals document

- Pgs 17, 37, 45, 53, 58: Eliminate specific references to wholesale markets

- Pg 17: change “interruption” to “modification” (2x places)

- Pg. 30: Definition for Maximum Duration.  Change “The maximum amount of time the asset/resource is capable of delivering power (megawatts) modifying its electricity usage”.

- Pg 30: the Parent-Resource ID concept needs to be reconciled with the terminology and hierarchical structure of resources used in the wholesale document.

- Pg 31: the Source-Authentication concept needs to be reconciled with the approach to security used in the wholesale document

- Ph 37: revise text as follows “The Bidder may be a Customer bidding with either an energy retailer (e.g., LSE, ESP), a Service Provider (e.g., CSP, DRP), or a power marketer (i.e., wholesale market participant). The Bidder may also be a Service Provider bidding up to a LSE or power marketer. “

- Pg 38: recommend proper use of bids and offers, i.e. bids are to buy and offers are to sell

- Pg 44 & 53: replace “shed” with “modify” (2x place)

- Pg 45: the concept of a “number signifying the reliability of the grid” has no basis in any reliability standards with which the IRC members are acquainted

- Pg 55: replace “de-energize” with “modification”

- Pg 58 – DR Execution – Retail Time Pricing (RTP): Replace this section with the following text: “Provide real-time or dynamic pricing (RTP) to retail customers so that customers can vary their demand based on pricing signals.  RTP represents retail electricity rates that vary as a function of time.“

PAP-09 Wholesale

- Pg. 9 – unresolved reference should be fixed