Formal Comments Submitted by the Standard Review Subcommittee

Quadrant:	Wholesale Electric Quadrant

Recommendations:     2011 Annual Plan Nos. 2.a.iii.1 through 2.a.iii.3: Service

Across Multiple Transmission Systems

Submitted By:	WEQ Standards Review Subcommittee

Date:	June 8, 2011

Under the Standards Review Subcommittee (SRS) Scope of Work, which was approved by the SRS on May 18, 2010, the SRS agreed to review recommendations and if subcommittee deemed appropriate, they would submit advisory comments to the Executive Committee (EC) for consideration.  As stated in the Scope of Work these comments are “not intended to change the scope of the Business Practices or recommendation, but to provide consistency and uniformity across all WEQ Business Practices.”

- In Section 013.2.6.9, the third paragraph, last sentence:  there seems to be language missing to fully address when a Coordinated Request is no longer part of a Coordinated Group.

- In Section 013.2.6.9, the fourth paragraph, first sentence:  there seems to be language missing to fully address adding Coordinated Requests to a Coordinated Group.

- The SRS is also attaching editorial changes to the clean version of the recommendation posted for formal comments.

- There are existing requirements for pre-confirmed reservations that when the WEQ Business Practice Standards are reviewed in total may be in conflict with the new standards for Coordinated Requests.  For example:

(existing requirement) WEQ-001.4.9.1 Preconfirmed requests for short-term firm and non-firm point-to-point service shall not be allowed to be WITHDRAWN by the Transmission Customer unless counteroffered by the Transmission Provider, after which the Transmission Customer shall be allowed to withdraw the request.

(new requirement) WEQ-001.4.9.4 The Transmission Customer shall be permitted, but is not required, to withdraw any preconfirmed Coordinated Request in the Coordinated Group when the Transmission Customer has notified the Transmission Provider that one or more of the other Coordinated Requests in the Coordinated Group was denied or granted at a lower capacity than requested.

- Recommend running spell check on the document and consistently use either “preconfirmed” or “pre-confirmed.”

SRS Editorial Changes to Clean Version of Recommendation

2011 Annual Plan Nos. 2.a.iii.1 through 2.a.iii.3: Service

Across Multiple Transmission Systems

- Section 000-1, SAMTS abbreviation; the only time the abbreviation is used is in a section header and to reference requirements in WEQ-001-xx.  Suggest deleting the abbreviation and making changes noted in WEQ-001-xx as noted later in these comments. If the decision is to keep SAMTS as an acronym then “Service Across Multiple Transmission Systems” should be either lower cased or Service Across Multiple Transmission Systems needs to be a defined term since it is capitalized.

- Section 000-2, Coordinated Group; Depending on the decision on how to address the SAMTS abbreviation above conforming changes to the definition which uses the lower case “service across multiple transmission systems.”

- Section 001-xx.1.8; period is missing at the end of the sentence

- Section 001-xx.3.4.2, last line; extra space after “xx.3.3”

- Section 001-xx-3.4.2.1; request should be capitalized in both instances since “Coordinated Request” is a defined term

- Section 001-xx.3.4.2.2, line 3; extra space between “identify” and “the”

- Section 001-xx.3.4.3.1, line 2; extra space between “Provider” and “may”

- Section 001-xx.3.5.2, line 3; “n” should be “in”

- Section 001-4.10, line 10; extra space between “other” and “final”

- Section 002-4.3.6.4.1, third paragraph, line 2; extra space between “Proposed,” and “the”

- Section 003-0, general comment; Most of the new data elements reference specific Business Practice Standards.  Adding these types of references is inconsistent with the other data elements and creates additional work to maintain the cross references.

- Section 003-0 STATUS, data element; there is a type in the CONFIRMED definition - “exits” should be “exist”

- Section 013-2.6.1, last paragraph, line 4; extra space between “of” and “Coordinated”

- Section 013-2.6.2, last paragraph, line 4; extra space between “of” and “Coordinated”.  Also misspelling in last line, “ib” should be “in”.

- Section 013-2.6.3, last paragraph, line 4; extra space between “of” and “Coordinated”.  Also misspelling in last line, “ib” should be “in”.

- Section 013-2.6.5.1, last paragraph, line 4; extra space between “of” and “Coordinated”.  Also misspelling in last line, “ib” should be “in”.

- Section 013-2.6.9, third paragraph, line 5; misspelling “additiional” should be “additional”.

- Section 013-2.6.9, third paragraph, line 13; misspelling “Provider’s” should be “Providers”.