1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

|  | Accept as requested |  | Change to Existing Practice |
| --- | --- | --- | --- |
| X | Accept as modified below |  | Status Quo |
|  | Decline |  |  |

2.  TYPE OF DEVELOPMENT/MAINTENANCE

| Per Request: |  | Per Recommendation: |  |
| --- | --- | --- | --- |
| X | Initiation | X | Initiation |
|  | Modification |  | Modification |
|  | Interpretation |  | Interpretation |
|  | Withdrawal |  | Withdrawal |
|  | Principle |  | Principle |
|  | Definition |  | Definition |
| X | Business Practice Standard | X | Business Practice Standard |
|  | Document |  | Document |
|  | Data Element |  | Data Element |
|  | Code Value |  | Code Value |
|  | X12 Implementation Guide |  | X12 Implementation Guide |
|  | Business Process Documentation |  | Business Process Documentation |

3.  RECOMMENDATION

SUMMARY:	On November 13th 2012 the Electric Industry Registry (EIR) was implemented. The Business Practice Standards listed below are intended to compliment the EIR application.

Recommended Standards:

# 000-1	ABBREVIATIONS AND ACRYONYMS

The abbreviations and acronyms listed in the following table are used in the NAESB WEQ Business Practice Standards and shall have the meaning specified in the table.

| Abbreviation / Acronym | Meaning |
| --- | --- |
| GLN | Global Location Number |
| ERO | Electric Reliability Organization |
| RRO | Regional Reliability Organization |
| PKICA | Public Key Infrastructure Certificate Authority |

# 000-2	DEFINITION OF TERMS

The terms listed in the following table are used in the NAESB WEQ Business Practice Standards and shall have the definitions specified in the table.

| Term | Definition |
| --- | --- |
| Application Service Provider | An EIR Entity signifying a third party that manages and distributes software-based services and solutions to customers across a wide area network from a central data center. |
| DUNS Number | A nine digit unique identifier issued by Dun and Bradstreet that is used to identify a business |
| Electric Reliability Organization (ERO) | The generic name given by the US Congress to the independent entity that would be given the authority to develop and enforce mandatory standards for the reliable operations and the planning of the bulk power system throughout North America as per US Energy Policy Act of 2005. |
| Global Location Number (GLN) | A thirteen digit structure identifier used to uniquely identify any legal, functional or physical Entity. |
| Market Operator | An EIR Entity responsible for the implementation of an organized market recognized by the FERC. |
| Compliance Registry | A registry that lists the entities’ functional roles as defined by NERC |
| Observer | An EIR Entity in the EIR that allows entities the ability to view the data contained in the EIR. |
| Electric Industry Registry (EIR) Entity | The main administrative object within the Electric Industry Registry is an Entity. All operations allowed in EIR are performed by users operating as a legitimate industry participant that has been recognized and approved within the EIR software. |
| Code-Role pair | A unique combination of an EIR entity code (as selected by an Entity) and an EIR entity role (i.e. PSE or BA). An Entity can have several Code-Role pairs if that Entity performs several functions within the electric utility industry. |
| Regional Reliability Organization (RRO) | An EIR Entity that ensures that a defined area of the Bulk Electric System is reliable, adequate and secure. |
| Registry Administrator | An EIR Entity whose role is to create and maintain base objects (not actual registry data), oversee the publication of the registry, monitor the operations of the software, view all object summaries in the system, and perform approval actions on data objects as needed. |
| Public Key Infrastructure Certificate Authority (PKICA) | An EIR entity that administers certificates to be used in the EIR that has been approved by NAESB as an Authorized Certification Authority according to the NAESB PKI Business Practice Standards (WEQ-012). |

# Electric Industry Registry

## INTRODUCTION

These Business Practice Standards define business requirements for those entities, which create, modify, and access information in the EIR.

## APPLICABILITY

North American Energy Standards Board, ERO, Regional Entities, RCs, BAs, PSEs, Transmission Service Providers, NAESB approved Authorized Certification Authorities, Application Service Providers, Market Operators, Registry Administrator, and Observers.

## BUSINESS PRACTICE REQUIREMENTS

### xxx-1	REGISTRATION

The following specifies the entities that can be registered in the EIR and minimum prerequisites for entering information into the registry.

#### xxx-1.1	EIR Entity Descriptions

The following roles and descriptions are with respect to the EIR.  Not all EIR roles are currently present in the e-Tag specification.  For example, Observer is not part of the e-Tag specification, but is an EIR role.

There may be circumstances where an EIR Entity will register in a role for which they are not registered in the Compliance Registry.

##### xxx-1.1.1	NAESB and the ERO are required to register in the EIR as well as all NERC/FERC approved regional entities.

The NAESB role has the ability to view all object summaries, modify certificate authority access, and provide approvals as described in Business Practice Standard WEQ-xxx-4, xxx-4 APPROVALS. .

The ERO has the ability to provide approvals as described in Business Practice Standard WEQ-xxx-4, xxx-4 APPROVALS. .

The RRO role has the ability to define itself as a RRO.  It supports the registration of RCs, BAs, PSEs, and Transmission Service Providers.

##### xxx-1.1.2	Entities that provide the reliability assessment and emergency operations coordination for a group of BAs will be required to register as RCs.

The RC role has the ability to define itself as an RC.  It supports the registration of BAs.

##### xxx-1.1.3	Entities that support Interconnection frequency and maintain load-interchange-generation balance will be required to register as BAs.

The BA role has the ability to register application service URLs, define Source/Sink points associated with a PSE, and provide approvals as described in Business Practice Standard WEQ-xxx-4,  st.  The Physical Path relationship between BA and PSE is defined by the hierarchy of the EIR.

##### xxx-1.1.4	Entities that administer a transmission tariff and may provide Transmission Service to Transmission Customers will be required to register as Transmission Service Providers.

The Transmission Service Provider role has the ability to register application service URL’s and define POR/POD points.  The Physical Path relationship between TSP and POR/POD is defined by the hierarchy of the EIR.

##### xxx-1.1.5	Entities that purchase or sell energy, capacity, and Interconnected Operations Services will be required to register as PSEs.

The PSE role has the ability to register application service URL’s and define source/sink points associated with a BA. The Physical Path relationship between BA and PSE is defined by the hierarchy of the EIR.

A market operator that serves as a source or sink for a transaction shall not be considered to be a PSE simply due to serving in this role.

##### xxx-1.1.6	Entities that are responsible for the implementation of an organized market as defined by FERC will be required to register as Market Operators.

xxx-1.1.7	NAESB approved Authorized Certification Authorities will be required to register as PKICAs.

The PKICA role issues digital certificates for those requesting access to the EIR and supports the registration of Entity Code-Role pairs.  The PKICA role has no direct relation with the e-Tag Specification.

##### xxx-1.1.8	Entities that provide e-Tag and/or OASIS services for themselves or on behalf of other Entities will be required to register as Application Service Providers.

The Application Service Provider role has the ability to define certain application service URLs to be used by their client in registration.  Currently, the EIR supports the following application service URLs: tag agent, tag approval, tag authority, tag forwarding, and OASIS.  The e-Tag specification explains the functions of each tagging application service URL.  NAESB Business Practice Standard WEQ-002 explains the functions of the OASIS application service URL.

##### xxx-1.1.9	Entities registering as an Observer will have read-only access rights.

#### xxx-1.2	Registration Prerequisites

A registering EIR Entity is required to have a digital certificate from a NAESB Authorized Certification Authority for each user who will be accessing the EIR.

The digital certificate must have an assurance level of basic or higher in accordance with Business Practice Standard WEQ-012.

A registering EIR Entity should have either a DUNS Number or GLN. If an EIR Entity does not have either number, contact the NAESB office.

#### xxx-1.3	EIR Registration and Renewal Fees

For each new Code-Role pair, an EIR Entity is required to pay the initial registration fees.  EIR Entities are required to pay an annual renewal fee for each registered Code-Role pair.

An EIR Entity will not receive any credit when terminating a Code-Role pair prior to their annual renewal date.

A Code-Role pair fee will be carried forward in the event an EIR Entity modifies a Code-Role pair.

#### xxx-1.4	Contact Information

An EIR Entity is required to provide valid contact information when registering. If an EIR Entity is a combination of multiple companies, a representative should be designated for that EIR Entity.

The “24 Hour Contact” is a required contact.

Each Code-Role pair must register at least one other contact.

Each EIR Entity is required to have at least one individual assigned the user security role of “Entity Admin”.  It is recommended to have at least two individuals with the “Entity Admin” security role.

#### xxx-1.5	Application Information

All application service URLs must be of the type HTTPS://

Only BAs may register e-Tag authority service URLs.

Each BA in the EIR must register an e-Tag Authority Service, with the exception of local BAs that are registered as BAs within an ISO or RTO with business rules that preclude the need for e-Tag Authority Service.

Only Transmission Service Providers may register their respective OASIS URLs.

### xxx-2	ONGOING DATA MAINTENANCE

It is recommended that registered EIR Entities update their contact information within (7) business days of change.

Each EIR Entity is initially limited to a default of 20 (twenty) active users.  Each EIR Entity administrator is responsible for maintaining active users.  Any users no longer requiring access to the EIR should be set to inactive.  If additional users in excess of the default limit need to be included in the EIR, contact the NAESB office.

Registered EIR Entities with an active Code-Role pair will be required to maintain valid digital certificates from NAESB approved Authorized Certification Authority for each of its active users of the EIR.  The digital certificate must have an assurance level of basic or higher in accordance with Business Practice Standard WEQ-012.

#### xxx-2.1	Objects

Products, market re-dispatch Flowgates, and market re-dispatch resources can only be modified by a Registry Administrator.  If modifications are required to these objects, contact the NAESB office.

### xxx-3	PUBLICATION

#### xxx-3.1	Automatic Publication

The automated publication will be published at 00:01 CST on days which contain On-Peak hours as established by NAESB, in accordance with Business Practice Standard WEQ-007, Appendix A.

#### xxx-3.2	Emergency Change Publication

An emergency change request can only be submitted by an EIR security role of “Entity Admin” or a Registry Administrator.  If the emergency change request cannot be successfully submitted, contact the Registry Administrator.

Each emergency change request must contain user contact and payment information.

Each EIR Entity requesting an emergency change publication will be charged a fee upon submission of the emergency change request.

NAESB will have approval rights on the emergency change request.

An EIR Entity will not receive any payment credit if the emergency change request is denied.

An approved emergency change request will publish a new active and pending publication.

An emergency active publication will consist of all currently active and approved records, all approved pending records for the pending publication, and all approved modifications recently submitted.

An emergency pending publication will consist of all approved and effective records for tomorrow.

An alarm notification will be activated in the EIR via email instructing Application Service Providers, the NAESB e-Tagging vendor distribution email list, and any EIR users with an emergency change publication alarm subscription that a new emergency change publication has been generated.

### xxx-4	APPROVALS

All items in the EIR will be given an approval time of 7 calendar days.  The effective start date must equal the greater of the following two dates: current date or requested effective start date.  Registry publication of an approved role/object will begin on the effective start date.  Modifications to minor data fields such as contact information do not require approvals.

| Information | Submitted By | Approval by | Approval Time | Default Action |
| --- | --- | --- | --- | --- |
| Application | Any user | NAESB | ≤ 7 Days | Denied |
| ERO | ERO | NAESB | ≤ 7 Days | Denied |
| EIR Entity | Any NAESB Approved Applicant | NAESB, ERO | ≤ 7 Days | Denied |
| RRO | RRO | NAESB, ERO | ≤ 7 Days | Denied |
| ASP | ASP | NAESB, ERO | ≤ 7 Days | Denied |
| PKICA | NAESB approved independent Authorized Certification Authorities | NAESB | ≤ 7 Days | Denied |
| RC | RC | NAESB, ERO | ≤ 7 Days | Denied |
| BA | BA | NAESB, ERO | ≤ 7 Days | Denied |
| Transmission Service Provider | Transmission Service Provider | NAESB, ERO | ≤ 7 Days | Denied |
| Market Operator | Market Operator | NAESB, ERO | ≤ 7 Days | Denied |
| PSE | PSE | NAESB, ERO | ≤ 7 Days | Denied |
| Observer | Any NAESB approved applicant that wants read-only access | NAESB, ERO | ≤ 7 Days | Denied |
| Interconnection | Registry Administrator | NAESB, ERO | ≤ 7 Days | Denied |
| Control Zone | Balancing Authority | N/A | Auto Approved | N/A |
| Source/Sink | Balancing Authority | N/A | Auto Approved | N/A |
|  | Purchasing-Selling Entity | BA | ≤ 7 Days | Denied |
| POR/POD | Transmission Service Provider | N/A | Auto Approved | Approved |

### xxx-5	DELEGATION

A delegation of EIR data entry and approval responsibilities can be performed between two EIR Entities.  The child EIR Entity is the entity responsible for submitting a delegation request.  The parent EIR Entity is responsible for accepting the delegation request and executing any EIR actions on the child’s behalf.  This is referred to as an impersonation by the parent of the child EIR Entity.

A child EIR Entity can only have one active parent EIR Entity.  A parent EIR Entity can have many active child EIR Entities.

| Child EIR Entity | Action | Parent EIR Entity |
| --- | --- | --- |
| NAESB | Delegate to | N/A |
| RA | Delegate to | N/A |
| ERO | Delegate to | NAESB |
| RRO | Delegate to | Other RRO and ERO |
| Application Service Provider | Delegate to | Other Application Service Provider |
| PKICA | Delegate to | Other PKICA and NAESB |
| RC | Delegate to | Other RC |
| BA | Delegate to | Other BA and Market Operator |
| Transmission Service Provider | Delegate to | Other Transmission Service Provider, BA, and Market Operator |
| PSE | Delegate to | Other PSE, BA, and Market Operator |
| Market Operator | Delegate to | Other Market Operator and BA |
| Observer | Delegate to | N/A |

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:  To develop an Electric Industry Registry Business Practice Standard.

b.  Description of Recommendation: A new EIR Business Practice Standard and additional definitions and acronyms to WEQ 000.

c.  Business Purpose: Provide guidance for the use of the EIR.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s): This standard was developed to support NAESB WEQ Annual Plan Item 2013 3d.

Meeting Minutes

- January 5 – 6, 2012

- February 28 – 29, 2012

- March 29 – 30, 2012

- May 8 – 9, 2012

- June 12, 2012

- July 31 – August 1, 2012

- September 5 – 6, 2012

- October 31 – November 1, 2012

- December 13 – 14, 2012

- January 3, 2013

- February 5 – 6, 2013

- March 5, 2013

- May 7 – 8, 2013

- June 11 – 12, 2013

- July 9 – 10, 2013