1.  RECOMMENDED ACTION:	EFFECT OF EC VOTE TO ACCEPT RECOMMENDED ACTION:

| X | Accept as requested | X | Change to Existing Practice |
| --- | --- | --- | --- |
|  | Accept as modified below |  | Status Quo |
|  | Decline |  |  |

2.  TYPE OF DEVELOPMENT/MAINTENANCE

| Per Request: |  | Per Recommendation: |  |
| --- | --- | --- | --- |
|  | Initiation |  | Initiation |
|  | Modification |  | Modification |
|  | Interpretation |  | Interpretation |
|  | Withdrawal |  | Withdrawal |
|  | Principle |  | Principle |
|  | Definition |  | Definition |
| X | Business Practice Standard | X | Business Practice Standard |
|  | Document |  | Document |
|  | Data Element |  | Data Element |
|  | Code Value |  | Code Value |
|  | X12 Implementation Guide |  | X12 Implementation Guide |
|  | Business Process Documentation |  | Business Process Documentation |

3.  RECOMMENDATION

SUMMARY:

The recommendation provides for an interim solution for establishing transmission service priorities for intra-BA delivery of generation to load for those entities that do not have a regulatory-approved market-based congestion management process using flowgate allocations to assign firm and non-firm market flow priorities.  This recommendation is intended to be an interim solution for establishing generator priorities in support of the NERC IDC Change Order 283 (scheduled to move into a staging environment on November 1, 2010) and will not be used for production TLR curtailments.  The Business Practices Subcommittee is submitting this recommendation with the understanding that the standards will be held in abeyance and not filed with the Commission.  The subcommittee anticipates a final solution will be developed by November 1, 2011.

ASSUMPTIONS:

- It is not expected that the changes in this recommendation to the NAESB Business Practices by themselves will require changes to how current FERC-approved OATTs are administered.

- The assignment of firm and non-firm transmission service priorities for generators within a BA shall follow that Transmission Service Provider’s transmission tariff under which that generator operates.

- The Final Solution for Parallel Flow Visualization will be filed with FERC and will replace these interim solution Business Practice Standards.

Recommended Standards:

000-1	ABBREVIATIONS AND ACRONYMS

The abbreviations and acronyms listed in the following table are used in the Business Practice Standards and shall have the meaning specified in the table.

| Abbreviation / Acronym | Meaning |
| --- | --- |
| SDX | System Data Exchange |

000-2	DEFINITION OF TERMS

The terms listed in the following table are used in the Business Practice Standards and shall have the definitions specified in the table.

| TERM | DEFINITION |
| --- | --- |
| Intra-BA Tag | Information describing a physical Transaction and its participants sourcing and sinking within the same BA using RFI format. |

WEQ-008 Transmission Loading Relief  - Eastern Interconnection Standards

Business Practice Requirements

008-1	General Requirements Regarding use of Interconnection-wide TLR procedures

008-1.7	Reporting TRANSMISSION SERVICE Priorities for use by the IDC

The following requirements provide options for reporting transmission service priorities to the IDC in the staging environment.  These options will have a sunset date of November 1, 2011.

008-1.7.1	Assignment of transmission service priorities can be done via a generator priority assignment or a market flow assignment.

008-1.7.1.1	Generator Priority Assignment

The BA shall identify the transmission service priority for all generators located in their BA and modeled in the IDC.  Firm and non-firm transmission service priorities associated with generators shall be submitted via the SDX and/or Intra-BA Transactions.  The default IDC treatment of generator transmission service priority level is firm.

008-1.7.1.1.1 	Generator Priorities Submittal via the SDX

Generator priorities may be submitted via the SDX.  The transmission priority for the generator will be submitted as either a percentage or MW value according to the timing requirements of the SDX data updates.

008-1.7.1.1.2	Generator Priorities Submittal via Intra-BA Transactions

BAs may use Intra-BA Transactions to represent non-firm PTP and secondary network service . A generator MW output provided via the SDX will be subtracted by the scheduled MW of the tags mapped to the generator, whether these are Intra-BA Transactions or e-Tags. Intra-BA Transactions will follow the same update requirements as NERC Interchange Transactions.

008-1.7.1.2	Market Flow Assignment

For those entities that have a regulatory-approved market-based congestion management process using flowgate allocations to assign firm and non-firm market flow priorities (which are comparable to the generator assignment priorities for those entities not using flowgate allocations) a default of firm will be used by the IDC.

4.  SUPPORTING DOCUMENTATION

a.  Description of Request:

WEQ 2010 AP Item

1. 	Develop business practice standards as needed to complement reliability standards

a.	Parallel Flow Visualization/Mitigation for Reliability Coordinators in the Eastern Interconnection.

i. 	Develop interim solution for Parallel Flow Visualization to support November 1, 2010 implementation (into the IDC Staging Environment) of IDC Change Order 283.

b.  Description of Recommendation:

The recommendation provides a mechanism for establishing generator transmission priorities for those entities that do not have a regulatory-approved market-based congestion management process using flowgate allocations to assign firm and non-firm market flow priorities.

c.  Business Purpose:

Provide an interim solution for submitting priorities to support the IDC Change Order 283, which will be implemented in the IDC staging environment on November 1, 2010.

d.  Commentary/Rationale of Subcommittee(s)/Task Force(s):

On July 8, 2010, the WEQ BPS Leadership met with NAESB Management, WEQ Leadership and NERC staff to discuss the Parallel Flow Visualization project and the need for NAESB to provide priorities to NERC by November 1, 2010.  The WEQ BPS Leadership was encouraged to develop an interim solution if they felt a final solution could not be reached and vetted through the NAESB standards process by November 1, 2010.  The WEQ BPS agreed to develop an interim solution during the July 15-16, 2010, meeting with the understanding that the interim solution would be in a staging environment, would not be used for production TLR curtailments, and would have a sunset date of November 1, 2011.

Supporting Documents

July 2, 2010, letter from Andy Rodriquez to Rae McQuade

July 12, 2010, letter from BPS Co-Chairs to WEQ BPS Exploder List

July 15-16, 2010 meeting minutes

July 23, 2010 meeting minutes

IDC Change Order 283 Revision 3.0

Interim Solution Work Paper

Motions from  the WEQ BPS meeting for Parallel Flow Visualization

The following options are currently under consideration for the final solution

- Tag All Non-firm

- Generator Prioritization

- Flowgate Allocation

The WEQ BPS passed a motion on July 15, 2010, to establish a November 1, 2011, sunset date for the Standards being submitted in this recommendation.

The staging environment is the IDC test environment that will be used to determine whether the NERC IDC Change Order 283 should be moved into production.