FORMAL COMMENTS (LATE)

Quadrant:	Wholesale Electric Quadrant

Recommendations: 	WEQ 2010 AP Item 1.a.i – Interim Solution for Parallel Flow Visualization

Submitted By:	WEQ BPS Co-Chairs (Jim Busbin and Ed Skiba) on behalf of the WEQ BPS

Date:	September 20, 2010

The WEQ BPS met on September 15, 2010 and reviewed the formal comments submitted for the Parallel Flow Visualization Interim Solution recommendation.  The WEQ BPS is providing the WEQ Executive Committee these late comments for consideration based on its review.

Midwest ISO/PJM/SPP Comments

- The BPS discussed the Midwest ISO/PJM/SPP comments.  The following motion was made:

The BPS request the EC act in accordance of paragraph 2 of the comments submitted by the Midwest ISO, PJM & SPP.

The motion failed a balance vote 2.5 to 5.5

Entergy Comments

- The BPS is supportive of the Entergy Comments for sections WEQ-008-1.7 and WEQ-008-1.7.1.1.1 with the following changes:

  - WEQ-008-1.7 - The following requirements provide options for reporting transmission service priorities to the IDC during the testing of Change Order 283 for the IDC. These options will be used only for testing NERC Change Order 283. This Business Practice Standard will not be filed with FERC and will have a sunset date of November 1, 2011. Once this Business Practice Standard has reached the sunset date, participating entities will cease to have any obligations or requirements associated with this Business Practice Standard.

The WEQ BPS suggests changing “recommendation” to “Business Practice Standard.”

  - WEQ-008-1.7.1.1.1 - Generator priorities may be submitted via the SDX.  The transmission priority for the generator will be submitted as either a percentage of generator maximum output capability or MW value according to the timing requirements of the SDX data updates.

The WEQ BPS suggests adding the words “maximum” and “capability.”

The vote to support these changes was: 12 in support, no opposition and 2 abstentions.

- The BPS is supportive of the Entergy Comments for section WEQ-008-1.7.1.1.2 with the following changes:

  - WEQ-008-1.7.1.2 BAs may use Intra-BA Transactions to represent firm and non-firm PTP and network service from designated Network Resources and network service sources not designated as Network Resources. The generator MW output provided via the SDX will be subtracted by non-firm Intra-BA Transactions and the non-firm and firm e-Tags scheduled MW of the tags mapped to the generator, to determine the generator output using Firm Transmission Service. Intra-BA Transactions will follow the same update requirements as NERC Interchange Transactions.

The WEQ BPS added “network services” to the first sentence.

A number of changes were made to the second sentence to support the changes made in the first sentence.  The original sentence was “A generator MW output provided via the SDX will be subtracted by the scheduled MW of the tags mapped to the generator, whether these are Intra-BA Transactions or e-Tags.”

In the motion to support changes to this section, the WEQ BPS did not include the following sentence suggested by Entergy.   “The transmission service associated with generator capacity dynamically transferred to a Receiving BA will be submitted to the IDC by the Receiving BA using an Intra-BA Tag.”

The vote to support these changes was: 11 in support, no opposition, and 2 abstentions.

- Based on the formal comments the BPS submitted to change the term “Intra-BA Tag” to “Intra-BA Transaction” in WEQ-000, the WEQ BPS recommends no action is needed on adding a new term for Intra-BA Transaction.

Southern Company Comments

- Through the changes the BPS supported related to the Entergy comments it was determined that no action was needed on the Southern Company comments.

WEQ SRS Comments

- The WEQ BPS by a vote (11 in support, no opposition, and 2 abstentions) recommend that the Executive Committee include the following changes offered by the WEQ SRS:

  - WEQ-008-1.7.1.1.2 - At the end of the first sentence in this section, space between last word and period needs to be deleted.

  - WEQ-008-1.7.1.2 - A comma needs to be inserted between the parenthetical ending “allocations) and “a default….”

  - To be consistent with the existing Business Practice Standards the section titles should use the following conventions prior to sending the document out for membership ratification:

    - XXX-1.1.1.1	Level 4 Title (Proper Case, Arial 11)

    - XXX-1.1.1.1.1	Level 5 Title (Proper Case, Arial 11, Bold, Underline, Italics)

These changes should be applied to Sections 008-1.7.1.1, 008-1.7.1.1.1, 008-1.7.1.1.2, and 008-1.7.1.2.

EPSA Comments

- The WEQ BPS reviewed the EPSA comments and determined no additional guidance to the EC was needed on these comments.