FORMAL COMMENTS

Quadrant:	Wholesale Electric Quadrant

Recommendation: 	WEQ 2009 AP Item (1.a) R05020; WEQ 2009 AP Item (3.a.vii) Coordinate Interchange WEQ-004

Submitted By:	Midwest ISO (Nicholas Browning and Ed Skiba)

Date:	October 8, 2009

The Midwest ISO is requesting the Executive Committee consider the following comment in their review of this recommendation.  There appears to be inconsistencies between the redlined and clean version of the WEQ-004 standards that were posted for formal comments.

In the redline version the text following information is included twice but is not listed twice in the clean version. In the redlined version the information is included under Appendix A sections A and D.  In the clean version the text only appears in Section D of Appendix A.  Midwest ISO recommends deleting the text from section A in the redlined version.

Using Multiple Transmission Reservations to Support a Single Leg of an Interchange Transaction

The use of multiple transmission reservations to support a single leg of an Interchange Transaction is known as transmission stacking.  There are two types of transmission stacking:

- Vertical stacking, in which a Requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain net level of transmission capacity, and

- Horizontal stacking, in which a Requesting Purchasing-Selling Entity combines multiple reservations to achieve a certain transmission capacity coverage over time.

The following diagrams illustrate these concepts more fully.  In both cases, the assumed need is 100 MW of transmission capacity for hours 06:00 through 22:00.

Reservation 12345

(50MW from 6:00

–

22:00)

Reservation 67890

(50MW from 6:00

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Vertical Stacking

Reservation 12345

(100 MW from 6:00

–

14:00)

Reservation 67890

(100 MW from 14:00

–

22:00)

TIME

06:00

22:00

14:00

CAPACITY

100MW

50MW

0MW

Horizontal Stacking

Should a Requesting PSE elect to utilize stacking, including any combination of the two stacking types, to support their Interchange Transaction, they must understand the following requirements:

- Stacks MUST be described through fully qualified profiles for each reservation being used.

- At no point may the coverage described by the stack be less than the transmission capacity needed for the Transaction’s energy flow.