From: Annabelle Lee, Nevermore Security 
Sent: Wednesday, September 30, 2026 10:39 AM
Subject: Re: NAESB WEQ Request for Formal Comments – Due October 15, 2026

Rae/Jonathan -

I have comments on the 2026 WEQ Annual Plan Item 1.b, Attachment 1 – NAESB Cybersecurity Addendum. As stated in the Addendum: Product compliance with ISO/IEC 27001 (Information Technology), IEC 62443 (Industrial Automation and Control Systems), ...

- 62443 is a family of standards. Is the intent to require compliance with all the included standards? There are several of them.

- 62443 and 27001 are specific standards (family of standards). There are many that are applicable to cybersecurity that are not included in this list. Why were these specific standards selected? Also, these standards are more commonly used/required in Europe and not the US.

THANKS...

Annabelle

Annabelle Lee

Chief Cyber Security Specialist

Nevermore Security

www.NevermoreSecurity.com