Formal comments submitted by Southern Company Services

Formal Comments for 2008 WEQ Annual Plan Item 1.a.ii – "Continuous Support of TLR Procedure in Alignment with NERC Efforts on Phase II and Phase III"

Discussion:

Item 1: Page 3, Recommended Standards, Item (2)

WEQ-008-3.5.3 The issuance of a TLR Level 4 shall result in the curtailment, in the current hour and the next hour, of all Interchange Transactions using Non-Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold that impact the Constrained Facilities.

Comments to Item 1:

- The Standards for TLR Level 5a and 5b respectively indicate in Step 1 that load mitigation is concerned with Constrained Facilities and Flowgates. In the Standard for TLR Level 4, mitigation is only concerned with Constrained Facilites. This does not appear to be consistent. Flowgates should be a part of TLR Level 4 Standard.

Item 1: Page, Recommendation Standards, Item (2) recommended redline:

WEQ-008-3.5.3 The issuance of a TLR Level 4 shall result in the curtailment, in the current hour and the next hour, of all Interchange Transactions using Non-Firm Point-to-Point Transmission Service that are at or above the Curtailment Threshold that impact the Constrained Facilities and Flowgates.