Formal Comments to the NAESB Business Practices Subcommittee - Submitted by the Tennessee Valley Authority on:

2008 WEQ Annual Plan Item 1.a.ii – "Continuous Support of TLR Procedure in Alignment with NERC Efforts on Phase II and Phase III"

008-3.6.2.1 	Step 1 -- The Reliability Coordinator shall assist the Transmission Operator(s) in identifying known re-dispatch options that are available to the Transmission Customer that will mitigate the loading on the Constrained Facilities or Flowgates.

008-3.6.2.1.1	If such re-dispatch options are deemed insufficient to mitigate loading on the Constrained Facilities or Flowgates, the Reliability Coordinator shall continue to implement these re-dispatch options while simultaneously implementing other actions as described in this requirement.

Comment:

To improve clarity of this business practice, the redispatch options that the Transmission Customer has available should be explained.  The redispatch options the Transmission Customer has are the redispatch options that were identified and sold as part of the transmission service.  If transmission service has been sold to a Transmission Customer that provides for redispatch service, then the Transmission Operator will make that available to the Transmission Customer, and if implemented, presumably the Transmission Customer will be charged for that redispatch service.  If the Transmission Customer has not purchased the right for redispatch service, then it is not available to the Transmission Customer.  If the Transmission Customer has purchased that service, and if implementation solves the constraint, then proceeding to Steps 2 and 3 to implement TLR 5 is not needed.